  - Production of E. coli DH5α competent cells.

Note: All steps handling living cells should be performed in a clean laminar flow hood and with the Bunsen burner on. Alternative: use commercially available competent cells.

  - Inoculate 5 mL of sterilized Luria-Bertani (LB) – 0.02 mg/mL nalidixic acid broth with freshly grown E. coli DH5α culture from a petri dish. Grow culture overnight at 37 ºC and 220–250 rpm.

  - Dilute culture to get 100 mL with an optical density 600 nm (OD600nm) of 0.05. Grow the culture at 37 ºC and 220–250 rpm until it reaches OD600nm = 0.45-0.55

  - Transfer the culture to ice-cold sterilized bottles. Keep the culture on ice from now on. Centrifuge 10 min at 5,836 x g and 4 ºC. Discard supernatant.

  - Resuspend the cellular pellet with 20 mL of ice-cold sterilized 100 mM calcium chloride (CaCl2) solution by vortexing. Leave culture on ice for 2 h.

  - Centrifuge 10 min at 5,836 x g and 4 ºC. Discard supernatant.

  - Resuspend the cellular pellet with 2 mL of ice-cold sterilized 100 mM CaCl2 solution by vortexing. Add 2 mL of 40% glycerol solution and mix well by vortexing.

  - Aliquot 100 μL of the sample in sterilized tubes of 1.5 mL volume. Keep at -80 ºC until use.

  - Transformation of E. coli DH5α competent cells.

Note: All steps handling living cells should be performed in a clean laminar flow hood and with the Bunsen burner on. Alternatively, use electroporation for bacterial transformation for CAPRRESI protocol. If commercially available competent cells are used then follow manufacturer's guidelines.

  - Thaw E. coli DH5α competent cells on ice.

  - Add 3-5 μL of purified plasmid DNA (150–300 ng/μl) and mix well. Keep on ice for 20 min.

  - Place the samples at 42 ºC for 1 min.

  - After heat shock, place the samples on ice for 5 min.

  - Add 1 mL of sterilized LB broth to the samples. Put samples at 37 ºC and 220-250 rpm for 30-60 min.

  - Plate 100 μL of the transformed culture into solid LB broth supplemented with appropriate antibiotics.

  - Plasmid DNA purification from E. coli DH5α.

Note: Nucleic acids extraction could also be done using commercially available kits.

  - Inoculate 5 mL of sterilized liquid LB broth with the desired strain. Add appropriate antibiotics. Use freshly grown culture plates.

  - Incubate sample at 37 ºC and 220-250 rpm until culture reaches OD600nm = 0.6-0.8 (takes approximately 6–8 h).

  - Transfer 1 mL of the culture into 1.5 mL tubes, centrifuge 1 min at room temperature and 18,407 x g. Discard supernatant. Repeat until the entire culture has been centrifuged.

  - Add 1 mL of Tris-EDTA (TE) 10:1 pH 8.0 solution and resuspend cell pellet by vortexing. Centrifuge 1 min at room temperature and 18,407 x g. Discard supernatant.

  - Resuspend cell pellet in 100 μL of Solution I by vortexing.

  - Add 200 μL of Solution II. Mix gently by inversion.

  - Add 200 μL of Solution III. Mix gently by inversion. Put samples on ice for 5 min.

  - Centrifuge for 10 min at 4 ºC and 18,407 x g. Transfer supernatant to a new tube.

  - Add 1 mL of absolute ethanol. Mix by vortexing. Freeze sample at -20 ºC for 10 min.

  - Centrifuge samples for 10 min at 4 ºC and 18,407 x g. Discard supernatant. Dry samples in a vacuum concentrator for 10 min at medium temperature. Make sure to eliminate all traces of ethanol.

  - Add 120 μL of sterilized water. Resuspend pellet by vortexing.

  - Add 15 μL of 1 M magnesium chloride (MgCl2) solution. Mix by vortexing. Put samples on ice for 10 min.

  - Centrifuge 2 min at room temperature and 18,407 x g. Transfer supernatant to a new tube.

  - Add 300 μL of absolute ethanol and 15 μL of 3 M sodium acetate (CH3CO2Na) solution. Mix by vortexing. Freeze samples at -20 ºC for 10 min.

  - Centrifuge samples for 10 min at 4 ºC and 18,407 x g. Discard supernatant.

  - Resuspend pellet in 1 mL of 70% ethanol solution. Centrifuge 2 min at room temperature and 18,407 x g. Discard supernatant. Dry samples in a vacuum concentrator for 10 min at medium temperature. Make sure to eliminate all traces of ethanol.

  - Resuspend pellet in 50-100 μL of sterilized water.

  - Genomic DNA purification.

Note: Nucleic acids extraction could also be done using commercially available kits.

  - Inoculate 5 mL of sterilized liquid LB broth with the desired strain. Add appropriate antibiotics. Take the inoculum from freshly grown culture plates.

  - Incubate samples at the right temperature and agitation until cultures reach early stationary phase. For example, grow E. coli DH5α at 37 ºC and 220–250 rpm until OD600nm = 0.6-0.8.

  - Transfer 1 mL of culture to 1.5 mL tubes. Centrifuge samples for 1 min at 9,391 x g. Discard supernatant. Repeat until the entire culture has been centrifuged.

  - Resuspend cell pellet in 1 mL of Tris-EDTA (TE) 50:20 pH 8.0 solution by vortexing.

  - Centrifuge samples for 1 min at 9,391 x g. Discard supernatant.

  - Resuspend cell pellet in 400 μL of TE 50:20 pH 8.0 solution by vortexing.

  - Add 50 μL of 10% sodium dodecyl sulfate (SDS) solution and 50 μL of proteinase K solution [2.5 mg/mL]. Mix gently by inversion. Incubate samples at 56 ºC for 1 h.

  - Transfer cell lysate to a new tube using a sterilized No. 20 syringe. Pass samples through the syringe 3 times.

  - Pass samples through a sterilized No. 25 syringe two more times.

  - Add 500 μL of phenol:chloroform:isoamyl alcohol 24:24:1 solution. Mix well by vortexing.

  - Centrifuge samples for 10 min at 9,391 x g. Recover aqueous phase using a micropipette. Repeat previous step.

  - Recover the aqueous phase and add 2 volumes of chloroform:isoamyl alcohol 24:1 solution.

  - Recover the aqueous phase and add 1/10 volume of 3 M potassium acetate (CH3CO2K) solution and 2 volumes of absolute ethanol. Mix by vortexing. Centrifuge samples for 10 min at 4 ºC and 9,391 x g. Discard supernatant.

  - Resuspend pellet with 1 mL of 70% ethanol using vortex. Centrifuge for 2 min at room temperature and 9,391 x g. Discard supernatant. Repeat one more time.

  - Dry samples in a vacuum concentrator for 10 min at medium temperature. Make sure to eliminate all traces of ethanol. Resuspend pellet in 100 μL of sterilized water.

  - Colony PCR.

Note: This technique is useful to identify candidate transformant colonies for subsequent sequencing reaction. This method does not represent a final verification of the integrity of the sequences.

  - Number colony stripes on the petri dish. Number microcentrifuge tubes and fill them with 100 μL of TE 10:1 10 mM sodium chloride (NaCl) solution.

  - Take a part of the culture stripe with a sterilized toothpick. Suspend it in its corresponding tube. Vortex samples.

  - Heat samples at 95 ºC for 10 min in a thermoblock.

  - Centrifuge samples at room temperature for 2 min and 18,407 x g.

  - Number new tubes and transfer corresponding supernatants.

  - Use 5 μL of these supernatants as DNA template for a 50 μL PCR. Include DNA template controls: Negative control - empty plasmid where constructions will be inserted; Positive control - DNA sequence containing the desired amplicon (e.g. total genomic DNA).