## Sheet1
Material/Equipment | Company | Comments | Methods
| Catalogue # |  | Section #
Hanks Balanced Salt Solution (HBSS) | Various |  | 1
Dissection buffer | Prepared in-house | 15 mM HEPES, 27.8 mM glucose, 58.4 mM sucrose in HBSS, pH 7.4 and autoclaved | 1, 3
Basal Medium Eagle (BME liquid) | Sigma-Aldrich | Can be purchased either as liquid, or as a powder
| Cat# B1522 | Other suppliers are available | 1
(500 mL bottle)
Basal Medium Eagle
(BME powder) | Sigma-Aldrich
Cat# B9638-10X1L
US Qualified heat inactivated foetal calf serum (FCS) | Life Technologies | Other suppliers available | 1
Cat# 16140071
Culture media | Prepared in-house | BME supplemented to 5-15% FCS, 2 mM L-glutamine, 10 mM D-glucose, 100 IU/mL penicillin, 100 µg/mL streptomycin | 1, 3, 4
(5-15% FCS BME)
SigmaCote | Sigma-Aldrich | Used to coat spinner flasks as per manufacturer’s directions | 1
Cat# SL2-100mL
Nitex nylon mesh (200 µm) | Sefar Inc. | The nylon mesh bags are custom ordered and made to fit a 100 mL beaker. The bags are rinsed in distilled water prior to autoclaving and use. | 1,3
111 Calumet St.
Depew, New York
USA 14043
Scissors | Various | Sterile | 2
Large toothed forceps | Various | Sterile | 2
Anaesthetic system | E-Z Anesthesia | Other suppliers available | 2
P.O. Box 3544 Palmer, PA USA 18043
EZ-7000 Classic System
Isoflurane | Baxter Corp. | Other suppliers available | 2
Mississauga, ON
Canada
Sprague-Dawley rats | Charles-River | Other suppliers available
Timed pregnant | St. Constant, QC
Canada
Incontinence pads | Various |  | 2
60 and 100 mm disposable culture dishes | Various | Sterile | 1, 2, 3
Biohazard bags | Various |  | 2, 3
70% ethanol spray bottle | Various | Used throughout the procedures | 1, 2, 3, 4
Gloves, masks | Various |  | 1, 2, 3, 4
Haemocytometer | Various |  | 3
Refrigerated centrifuge | Various | Set at 300 x g, 4 0C | 3
Curved scissors (small) | Various | Sterile | 3
Curved forceps (small) | Various | Sterile | 3
Ice bucket | Various |  | 3
Glass rod | Various | Sterile | 3
Pasteur pipettes | Various | Sterile | 3
100 and 500 mL beakers | Various | Sterile | 3
15 and 50 mL disposable centrifuge tubes | Various | Sterile | 3
Microscope | Various |  | 3, 4
Laminar flow hood | Various |  | 3, 4
Humidified CO2 incubator | Various | Set at 7% CO2 and 37 oC | 3, 4
10 and 25 ml disposable pipettes | Various | Sterile | 3, 4
Magna Flex 125 mL Spinner Flasks | VWR | With adjustable impellers. | 3, 4
Cat# 62402-240
Variomag Biosystem 4 Direct Stirrer | Fisher Scientific | Stirrers from different sources may have different rotational radii | 3, 4
Cat# 04979234
Variomag Biomod 40B 115V | Fisher Scientific |  | 3, 4
Cat# FS5P97 08789
24 well multi-well culture dishes | Various | For routine microscopic assessment of aggregates | 4
Dialysis tubing | BioDesign Inc. of | “BioDesignDialysis Tubing” (100 foot roll, 1.13 inch wet diameter, 6.45 mL/cm volume). | 5
| New York | 8000 Dalton cut-off
| PO Box 1050 | Sterilized and impermeable to bacteria.
Carmel, New York, USA 10512
Cat# D106
Hollow polypropylene balls | Precision Plastic Ball Co. | Spheres custom prepared for placement into Advanced Blast Simulator (ABS) | 5
2 inch diameter | 10129 Pacific Ave | ~1 mm wall thickness
Franklin, IL, USA 60131
Cat # 25002.000MPP
Piezoresistive sensors | Millar SPR-407 |  | 5
Microscope | Zeiss Axiovert 40 CFL |  | 4
NeuN antibody | Millipore | Dilution = 1:200 | 5
Cat# MAB377
Glial Fibrillary Acidic Protein (GFAP) antibody | EMD Millipore Corp | Dilution = 1:500 | 5
Cat# AB5804
Iba1 antibody | Wako Chemicals USA | Dilution = 1:500 | 5
Richmond, VA, USA
Cat# 019-19741
Myelin Basic Protein (MBP) antibody | EMD Millipore Corp | Dilution = 1:50 | 5
Cat# MAB382
Phosphorylated Akt | Cell Signaling Technology | Dilution = 1:500 | 5
antibody | MA, USA
Cat# 9271
Akt antibody | Cell Signaling Technology | Dilution = 1:1000 | 5
Cat# 9272
* All materials coming into contact with the brain tissue to be cultured, or in culture should be sterile.