Editorial comments:

Thank you for the careful Peer Review revisions that were made to the manuscript. The following editorial comments need to be addressed in order to finalize your manuscript.

• 1.4.1.2-1.4.1.3: Is the agarose allowed to harden? If so, please add the time and temperature.

Addressed when and at what temp agarose will harden.

• 1.10: Confocal imaging: Please provide all parameters and setting used in your studies for imaging (e.g. the channel settings, filters, wavelength, gain, offset, z-stack details, time, etc.). Please highlight this step and provide a reference for confocal microscopy.

Channel settings including emission filter wavelengths, gain, and offset were added to the pre-existing z-step information. There are no live movies in this manuscript and therefore no settings for the dimension of time are required.  A reference has been provided for confocal microscopy.

• 1.11.1: Please add details on how to remove the outer layer. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol. If possible, please provide a reference for compilation of Z-stacks.

More detail has been added. Directions now show z-projection and z-stack trimming as a single step with reference added.

• 1.11.3: Please add stepwise detail on how to create a merged image. How is DAPI channel omitted?

Details have been added on how to merge and omit the DAPI channel. 
• 1.12.13: How are the averages determined?

The method for calculating average microtubule bundle length has been included.

• 2.3.2: Please mention the developmental stage used in your studies. Please move this step (control-untreated) to after the nocodazole treatment steps.

Guidelines for using the 4-5 somite developmental stage are provided and updated to reflect that the fixation of control and washout embryos occur at comparable times.

• 2.3.3: Please provide examples of the younger and older embryo stages and the incubation times.

These general guidelines for stages other than 4-5 somites were omitted because they have not been fully determined through experimentation.

• After you have made all of the recommended changes to your protocol (listed above), please adjust the highlighting to identify 2.75 pages or less of text (which includes headings and spaces) that should be visualized to tell the most cohesive story of your protocol steps. Please see JoVEs instructions for authors for more clarification. Remember that the non-highlighted protocol steps will remain in the manuscript and therefore will still be available to the reader.

After copying all highlighted text into a new document, it was determined that the total length is under 2.5 pages with 1 inch margins.

• Highlighting: Please note that several steps in section 1.12 were highlighted to ensure logical flow.

Highlighting was accounted for in the final page count.

• The highlighted section exceeds our 2.75 page limit. Some of your shorter protocol steps can be combined so that individual steps contain 2-3 actions and maximum of 4 sentences per step.

Some steps were combined to comply with section limits. Highlighted text was copied into a new document to verify < 2.5 page length.

• Please note that to qualify as a protocol section, each section must have at least 3 steps. Please remove the sub-headings for sections 1.3, 1.5, 1.8, and 1.9 (washing-mounting sections).

Steps have been edited to comply with this requirement

• Tables 3 and 4 legends: Please fix the symbols.

Symbols have been corrected.

• Table 4 is discussed in the Results and Legends sections, but is missing. Please upload Table 4.

Table 4 will be uploaded with the manuscript.

• References: Please abbreviate the journal titles (use ISO4 abbreviation).

References have been updated to include abbreviated journal titles.

• Please take this opportunity to thoroughly proofread your manuscript to ensure that there are no spelling or grammatical errors. Your JoVE editor will not copy-edit your manuscript and any errors in your submitted revision may be present in the published version.

The manuscript has been proofread.