Submission ID #: 55943

Editor Name: Bridget Colvin
Videographer Name: Anouk Paulissen
Film Date: 
Submission Link: http://www.jove.com/files_upload.php?src=17062663
Authors and Affiliations: Guido Weide1,2, Stephan van der Zwaard1, Peter A. Huijing1, Richard T. Jaspers1*, and Jaap Harlaar2*
*These authors jointly supervised this work

1Laboratory for Myology, Department of Human Movement Sciences, Faculty of Behavioural and Movement Sciences, Vrije Universiteit Amsterdam, Amsterdam Movement Sciences
2Department of Rehabilitation Medicine, VU University Medical Center Amsterdam, Amsterdam Movement Sciences
Title: 3D Ultrasound Imaging: Fast and Cost-Effective Morphometry of Musculoskeletal Tissue
Corresponding Author: 
Richard T. Jaspers 

r.t.jaspers@vu.nl
Tel: +31 20 59 88463

Co-authors: g.weide@vu.nl, s.vander.zwaard@vu.nl, p.a.j.b.m.huijing@vu.nl, j.harlaar@vumc.nl 
A. Microscopy: Does your protocol involve video microscopy? N
B. Does your protocol include software usage: Y 
If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C. Which steps of your protocol will viewers benefit most from having filmed? 
2.1., 2.3., 2.4., 3.1., 3.4., 3.5.
D. What is the single most difficult aspect of this procedure and what do you do to ensure success?  
3.1 Preventing the subject from moving. Prior to the examination we instruct the subject not to move, in addition we use lashing straps to prevent small involuntary movements. 

3.1/3.4 Minimizing tissue deformation. We apply ample amount of ultrasound gel to minimize tissue deformation. 

E. Will the filming need to take place in multiple locations? N
1. Introduction 
(Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words. 
A. Experimental Goal: (read by voice talent at JoVE)
The overall goal of this methodology is to perform a 3D in vivo morphological assessment based on an ultrasound analysis of human muscle tissue. (Intro)
B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)  
1.1. Richard Jaspers: This method is a promising technique for answering key questions in the healthcare and sports medicine fields about the diagnosis and follow-up of muscle injury after treatment or training.
1.2. Jaap Harlaar: 
The advantage of this technique is that measuring the muscles by 3D ultrasound is a fast and cost effective alternative to magnetic resonance imaging.

C.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)  
1.3. Guido Weide: This 3D ultrasound technique provides a non-invasive method for the determination of the muscle volume, fascicle length and cross-sectional area of specific muscle fibers of interest. 
1.4. Peter Huijing: To understand the basic relationship between muscle morphology and mechanics, we perfected this technique using morphological determinants on cadaver muscles and muscle mechanics in situ. 

Jaap Harlaar: Visual demonstration of this method is critical as obtaining 3D ultrasound images requires many steps that need to be taken.

E.  Ethics title card: (for human subjects or animal work, does not count toward word length total)
1.5. Procedures involving human subjects have been approved by the medical ethics committee of the VU medical center, Amsterdam, the Netherlands.
Protocol: (read by voice talent at JoVE)
2. M. Gastrocnemius Medialis (GM) Subject Positioning and Bony Landmark and Region of Interest (ROI) Localization
2.1. To assess the gastrocnemius medialis muscle, or GM (Pronounce: G-M), first have the subject lie prone on an examination table with both feet over the edge of the table [1-WIDE-TXT].
2.1.1. Few seconds Talent directing Subject to lie down/few seconds Subject lying down (TEXT: See text for m. vastus lateralis measurement details)
2.2. Place a support under the tibia to align the lower leg horizontally [1-MED] and fix the thigh to the examination table with padded lashing straps to prevent knee extension during the experiment [2-CU].
2.2.1. Few seconds Talent placing support
2.2.2. Few seconds thigh being strapped to table 
2.3. Fit the foot of the leg to be scanned into a custom-made footplate [1-MED] and connect a custom-made torque wrench with a goniometer attached to the footplate [2-CU-TXT].

2.3.1. Few seconds Talent fitting foot into footplate

2.3.2. Few seconds goniometer being attached to footplate (TEXT: See text for footplate/torque wrench construction details)
2.4. Find the footplate angle corresponding to the appropriate externally applied torque [1-CU-TXT] and use an extendable rod connected to the table to fix the footplate in the corresponding appropriate orientation [2-MED].

2.4.1. Few seconds footplate angle being adjusted (TEXT: e.g. 0 Nm)

2.4.2. Few seconds Talent fix footplate in appropriate orientation

2.5. Then identify the most prominent dorsal aspects of the medial and lateral femur epicondyles and the centers of the malleoli of the tibia and fibula by palpation [1-MED-over the shoulder] and mark their locations with a surgical skin marker [2-CU].

2.5.1. Few seconds Talent palpating leg

2.5.2. Few seconds last location being marked, with first two locations already marked visible in frame

2.6. Identify the most superficial points of the medial and lateral femur condyles using ultrasound, and mark using a surgical skin marker 

3. 3D Ultrasound Examination and Voxel Array (Va) Reconstruction
3.1. Instructing the subject not to move during the examination [1-WIDE], apply ample ultrasound gel on the region of interest [2-CU] and open the frame grabber software on the measurement computer [2-MED-over the shoulder-TXT].

3.1.1. Few seconds Talent instructing subject not to move

3.1.2. Few seconds gel being applied
3.1.3. Talent at computer, opening software (TEXT: e.g. WinDV)

3.2. “It is essential for the patient to remain still during the measurement procedure to prevent movement artifacts in the 3D ultrasound images.” [1-MED-interview style]
3.2.1. Guido Weide, speaking the above interview style (looking just off-camera)
3.3. Click “capture” to begin the ultrasound image acquisition [1-SCREEN] and subsequently press the button on the synchronization device to initiate and activate the motion capture data acquisition [2-MED].

3.3.1. *To be provided by Authors: Record being clicked

3.3.2. Talent clicking capture 
3.4. The synchronization device located close to the ultrasound probe will be activated [1-CU], creating a distinct artifact in the ultrasound image upon motion capture initiation [2-CU/LM].

3.4.1. Shot of activated synchronization device

3.4.2. Shot of artifact in US image OR Fig1A_withoutandarrow.png: please add arrow as in original Figure 1A

3.5. Exerting minimal pressure while maintaining the image quality, place the ultrasound probe proximal to the femur condyles on the medial aspect of the thigh [1-MED] and sweep the probe at a constant speed in the proximodistal direction along the medial border of the GM [2-CU-TXT].

3.5.1. 10-12 seconds Talent placing probe

3.5.2. Few seconds probe being swept along medial border of GM (TEXT: Maintain visibility w/in anatomical cross-sectional images of medial border of GM/Achilles tendon to calcaneus)
3.6. Using the gel from the previous sweep, add additional, 0.5-cm, overlapping sweeps until the entire region of interest has been scanned [1-CU] and the medial border of the muscle is completely imaged [2-SCREEN-TXT].
3.6.1. Few seconds new sweeps being performed 
3.6.2. *To be provided by Authors: Shot of complete image of medial border (TEXT: Repeat sweep if subject moves during examination)

3.7. “It is important to apply ample ultrasound gel to prevent tissue deformation as a result of excessively exerted probe pressure while obtaining the ultrasound images.” [1-MED-interview style]
3.7.1. Guido Weide, speaking the above interview style (looking just off-camera)
3.8. When all of the images have been acquired, use a custom-script to reconstruct a single 3D ultrasound voxel array from an individual sweep over a specific region of interest by bin-filling [1-LM] and in-painting of the array [2-LM].

3.8.1. Supplemental_File_1.png: no animation
3.8.2. Supplement_File_2.png: no animation
3.9. Then use the same voxel array coordinate system to reconstruct all of the individual sweeps covering one larger region of interest to merge multiple sweeps [1-SCREEN-TXT].

3.9.1. *To be provided by Authors: Image of reconstruction of larger region of interest (TEXT: See text for full Va reconstruction details)

4. Muscle Morphology Variable Measurement

4.1. To measure the muscle volume, first load the 3D ultrasound image of interest in the Medical Interaction Toolkit [1-WIDE].
4.1.1. Talent at computer, loading 3D image, with monitor visible in frame
4.2. Set the slicing to “Coupled crosshair rotation” [1-LM] and align the axes with muscle or bony structures to precisely [2-LM] retrieve the coordinates of the origin, insertion [3-LM], and distal end of the muscle belly [4-LM].
4.2.1. step 4.2 A crosshair_align axes.avi: 00:00-00:07 (enough action to go with narrative)

4.2.2. step 4.2 B find origin.avi: 00:20-00:27 (enough action to go with narrative) (TEXT: Origin)
4.2.3. step 4.2 C Find distal end muscle belly.avi: 00:19-00:24 (enough action to go with narrative) (TEXT: Insertion)
4.2.4. step 4.2 D find insertion.avi: 00:40-00:45 (enough action to go with narrative) (TEXT: Distal muscle belly)
4.3. Open the “segmentation tool” and create a “new segmentation”, outlining the muscle boundaries identified in a cross-section halfway along the muscle belly [1-LM].
4.3.1. step 4.3 start new segmentation: enough animation to go with narrative
4.4. Press “A” on the keyboard to add a manual segmentation [1-MED-TXT], clicking the left mouse button and moving the cursor along the muscle boundaries [2-LM].

4.4.1. Talent pressing A (TEXT: Press “S” to remove segmentation parts)
4.4.2. step 4.4to4.6 fast forward play maybe.avi: 00:08-00:18
4.5. To segment a new cross-section, press the “A” or “S” button according to the last selected mode [1-CU] to move the crosshair to other cross-sections along the muscle belly and trace the next muscle boundary as just demonstrated [2-LM-TXT].

4.5.1. Letter being pressed

4.5.2. step 4.4to4.6 fast forward play maybe.avi: 00:27-00:42 (can show just part of new section being traced as appropriate for narrative) (TEXT: Repeat segmentation/muscle x6)
4.6. When all of the segments have been selected, set “Interpolation” to “Enable” [1-SCREEN] and review the proposed segmentations of the muscle boundaries in all of the cross-sections along the muscle belly length [2-MED-over the shoulder-TXT].

4.6.1. *To be provided by Authors: Interpolation being set to enable

4.6.2. Few seconds Talent at computer, reviewing segmentations, with monitor visible in frame (TEXT: Add additional segmentations where proposed interpolated segmentation does not match muscle boundary as necessary)

4.7. Press “Confirm for all slices” [1-MED] and select the plane in which the segmentations were made [2-LM].
4.7.1. Talent pressing “confirm for all slices”

4.7.2. step 4.7 (loading,ut middle secion).avi: 00:04-00:11 (enough action to go with narrative) 
4.8. Save the binary volume as a nearly raw raster data file [1-LM] and use a custom-script to calculate the labeled volume size [2-LM].
4.8.1. step 4.8_A save nrrd: enough action to go with narrative

4.8.2. step 4.8_B calculate volume.avi: show only “wait a few seconds” for 1-2 and skip rest of waiting time to be able to show beginning and end of video 
4.9. Then locate the orientation of the mid-longitudinal fascicle plane of the muscle belly, containing the full length of fascicles [1-SCREEN].

4.9.1. *To be provided by Authors: Few seconds orientation being located

4.10. From the mid-longitudinal plane, measure the fascicle length at a pre-defined standardized position between the origin and the distal end of the muscle belly and segment the muscle boundaries [1-SCREN]. 
4.10.1.  *To be provided by Authors: Few seconds fascicle length being measured and muscle boundaries being segmented
4.11. Place a line halfway through the region of interest and rotate the line until it matches the direction of the underlying fascicles [1-LM].
4.11.1.  *To be provided by Authors: Line being placed, then few seconds line being rotated

4.12. The intersection of the line with the muscle boundaries will represent the estimate of the fascicle length [1-LM].
4.12.1.  Use 4.11.1. please add vertical line as similar to green line in Figure 3B or other appropriate indicator of region of interest line and muscle length measurement area

5. Results: Representative Cadaver Validation Data
5.1. This image of a male human cadaver illustrates an atrophied state of the quadriceps muscle halfway along the thigh at death [1-LM], making identification of the boundaries of individual heads of the quadriceps muscle difficult [2-LM-TXT] compared to those identified in the quadriceps muscle of a sedentary, 30-year old male [3-LM] or a 30-year old male athlete [4-LM].
5.1.1. Fig4A_withoutA.png: please outline/indicate atrophied muscle on bottom right side of image
5.1.2. Fig4A_withoutA.png: TEXT: Death age: 81 years

5.1.3. FIG4_ABC.png: please outline/indicate entire middle image

5.1.4. FIG4_ABC.png: please outline/indicate entire right image

5.2. The validities of the fascicle length [1-LM], as well as the muscle volume, were confirmed with significant and high correlations by the 3D ultrasound method [2-LM] compared to the physical dissection data for the same tissues [3-LM], with a high intra-rater reliability for the 3D ultrasound method-derived measurements [4-LM], confirming that the 3D ultrasound approach is a valid and reliable tool for the volume and fascicle length assessment of human vastus lateralis and gastrocnemius medialis muscles [5-LM].
5.2.1. table1.xlsx: please indicate 3DUS fascicle length data column
5.2.2. table1.xlsx: please indicate 3DUS volume data column

5.2.3. table1.xlsx: please indicate both Dissection data columns

5.2.4. table1.xlsx: please indicate both 3DUS data columns OR no animation

5.2.5. table1.xlsx: no animation
6. Conclusion 
(said by authors on camera):
6.1. Richard Jaspers: Following this procedure, performance measurements and moment-angle characteristics can be assessed to address optimal joint angles and fascicle lengths. 

6.2. Jaap Harlaar: This technique is ready to be implemented as a routine evaluation of muscle function in patients with neuromuscular diseases or suffering from sarcopenia 
6.3. Guido Weide: This 3D ultrasound imaging technique could also potentially be used to measure the morphology of other tissues, such as bones, tendons and blood vessels. 
6.4. Richard Jaspers: After its development, this technique paved the way for researchers in the neuromuscular disease field to assess how muscle morphology may limit mobility and in sport physiology to assess the morphological determinants of sprint and endurance performance of athletes. 

Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

0123_ Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

0123_ Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

Figure1A_withoutandarrow.png

Supplemental_File_1.png

Supplement_File_2.png

Fig4A_withoutA.png: TEXT: Death age: 81 years

FIG4_ABC.png

Table1.xlsx

step 4.2 A crosshair_align axes.avi

step 4.2 B find origin.avi

step 4.2 C Find distal end muscle belly.avi

step 4.2 D find insertion.avi

step 4.3 start new segmentation

step 4.4to4.6 fast forward play maybe.avi:

step 4.7 (loading,ut middle secion).avi

step 4.8_A save nrrd
step 4.8_B calculate volume.avi

General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions in the email accompanying the finalized script.

�We would like to be involved in the progress of finding a suitable voice talent. 


�Authors: These introductory statements were edited for length and/or clarity.


�Use Take 3, take 2 is wrong. 


�Split in two sections, both are important! Section 1.4.1 (history) and 1.4.2 (how this technique allows us to perform use it now)


�These statements must be completed by different authors than those who gave the required statements.


�Potential screencapture of Nm visualization on the measurement computer (step2.4.1.avi)


�We have added a scene 2.6. Identify femur condyles with US. This is step 3.2.1.2. of the manuscript. This has been removed, however this is a critical step, for probe placement in step 3.5.1!





�This section is more important, compared to 2.5. 


�Use Take 2, Take 1 does not have the US image popping up in the WinDV software


�See file step3.3.1.avi


�We have made a screen capture of the distinct artifact . step3.4.2.avi


�See file 3.6.2.avi


�See image 3.9.1.png


�We have made recordings of both pressing A and S. For you to pick, of course depending on which mode (Add/Substract) was last used in the edited video shown at step 4.4


�This is already provided. With avi covering step 4.4-4.6. you can find it at 3:12. 


�Step 4.9 to 4.11 has been capture in one screen recording session. I think it is better if you add a green line overlaying the fascicle in the final shot (as requested by you in step 4.12).  FYI: The fascicle is the diagonal line. 


�Authors: These statements have been edited for their length and/or clarity.


�Do not use take 1. You can use take 2 or 3. 





( 2017, Journal of Visualized Experiments


