## Sheet1
Table 1: Plasma sample quality control (QC) steps
Step | Test | Description | Acceptance criteria
QC1 | Spectrophotometric evaluation of haemolysis | Plasma samples are measured at different wavelength of absorption of hemoglobin and the signals are integrated into haemolysis score. | Hemoglobin absorption peaks at 414nm was normalized on the value at 375nm and a cut-off of 1.4 was settled to define haemolysed samples.
QC2 | MicroRNA expression levels and correlation with expected values | 24 miRNAs are measured by real-time PCR. Each miRNA expression level is correlated to historic measurements. | Samples with Pearson’s correlation factor < 97.5% indicate potential technical QC issues.
QC3 | Molecular signature of haemolysis | 4 haemolysis specific miRNAs and 4 non-hemolysis specific miRNAs are measured and ratios (16 totals) are evaluated. | Haemolysis is present when at least 8 of the 16 ratios are above the set thresholds.