## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Lightning Generator, including EMI shielded chambers, lightning rig and associated control and safety systems | Cardiff University | N/A | Designed, developed and constructed by Cardiff University
60mm diameter tungsten electrodes with copper mountings | Unknown | N/A | Available from any specialist electrode / high voltage equipment manufacturer
Spectrograph, including chassis, camera, optic fibre and control software | Andor | Chassis: SR-303i-B-SIL
Camera: DU420A-BU2
Optic Fibre: 249309 SR-OPT-8018-9RX
Software: Solis v4.25
Mercury argon calibration source | Ocean Optics | HG-1
Anaylsis software | Microsoft | Excel 2016

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=