## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Oligosaccaharide Standards
Mannose | Sigma-Aldrich | CAS 3458-28-4
Mannobiose | Megazyme | CAS: 14417-51-7
Mannotriose | Megazyme | CAS: 28173-52-6
Mannotetraose | Megazyme | CAS: 51327-76-5
Mannopentaose | Megazyme | CAS: 70281-35-5
Mannhexaose | Megazyme | CAS: 70281-36-6
Glucomannan (Konjac; Low Viscosity) | Megazyme | P-GLCML
Other specialty chemicals
8-Aminonaphthalene-1,3,6-trisulfonic acid | (Molecular probes) Thermo | A350
2-picoline borane | TCI | B3018
40 % acrylamide/Bis-acrylamide (29:1 acrylamide:Bis) | Bio-rad | 1610146
Sepcialty Equipment
Gel casting kit | Hoefer | SE660 kit | 18x24 cm glass plates, 0.75 mm spacers
Cooling recirculating water bath | Hoefer | RCB20-plus 115v | Needs to be able to maintain temperature at ~10 C
G:Box Chemi XRQ Imaging System | Syngene | 05-GBOX-CHEMI-XRQ | Order with filters appropriate to fluorphore, and transilluminator should be fitted with long-wave UV light bulbs
High Voltage Power Pack | Thermo | EC1000XL | 1000V
Vacuum centrifuge(Speedvac) | Savant | SPD131
Vertical Gel electrophoresis system | Hoefer | SE660
Glycosyl hydrolases
These can be obtained from companies e.g. Megazyme (https://www.megazyme.com/) or Prozomix (http://www.prozomix.com/), or can be expressed in house by requesting the plasmid from the relevant research group.
Lab supplies
15 ml Centrifuge tube ( Falcon Centrifuge Tubes, Polypropylene, Sterile, Corning) | VWR | 21008-918
50 ml Centrifuge tube ( Falcon Centrifuge Tubes, Polypropylene, Sterile, Corning) | VWR | 21008-951
Software
Gel imaging software ( Genesys) | Syngene

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=