TITLE:

Visual Detection of Multiple Nucleic Acids in a Capillary Array

AUTHORS: Jianwei Chena,c,d,†, Ning Shaoa,c,d,†, Jiaying Hub,†, Rong Lib, Yuanshou Zhua,c,d, Dabing Zhangb,f, Shujuan Guoa,c,d, Junhou Huie, Peng Liue, Litao Yangb and Sheng-ce Taoa,c,d

a Key Laboratory of Systems Biomedicine (Ministry of Education), Shanghai Center for Systems Biomedicine, Shanghai Jiao Tong University, 800 Dongchuan Road, Shanghai 200240, China. E-mail: taosc@sjtu.edu.cn

b Collaborative Innovation center for biosafety of GMOs, National Center for the Molecular Characterization of Genetically Modified Organisms, School of Life Sciences and Biotechnology, Shanghai Jiao Tong University, Shanghai 200240, China. E-mail: yylltt@sjtu.edu.cn

c State Key Laboratory of Oncogenes and Related Genes, Shanghai 200240, China

d School of Biomedical Engineering, Shanghai Jiao Tong University, Shanghai

200240, China

e Department of Biomedical Engineering, Collaborative Innovation Center for Diagnosis and Treatment of Infectious Diseases, School of Medicine, Tsinghua University, Beijing 100084, China

f Key Laboratory of Crop Marker-Assisted Breeding of Huaian Municipality, Jiangsu Collaborative Innovation Center of Regional Modern Agriculture and Environmental Protection, Huaian 223300, China

† These authors contributed equally to this work.

EMAIL ADDRESSES:

Sheng-Ce Tao taosc@sjtu.edu.cn

Jianwei Chen chenjw17@mails.tsinghua.edu.cn

Ning Shao shaoning064@163.com

Jiaying Hu doubleluyao@163.com

Rong Li lirong190805020@163.com

Yuanshou Zhu 115415910008@sjtu.edu.cn

Dabing Zhang zhangdb@sjtu.edu.cn

Shujuan Guo gsj0215@126.com

Junhou Hui junhou_0816@hotmail.com

Peng Liu pliu@mail.tsinghua.edu.cn

Litao Yang yylltt@sjtu.edu.cn

CORRESPONDING AUTHOR:

Litao Yang and Sheng-ce Tao

KEYWORDS:

Capillary array; LAMP; Multiplex nucleic acid detection; Genetically modified organisms (GMO); Easy-to-operate; Visual detection.

SHORT ABSTRACT:

This protocol describes the fabrication of a small ready-to-use cassette that can be applied for visual detection of multiple nucleic acids in a single easy-to-operate test. In this approach, a capillary array was used for multiplex and highly-efficient detection of GMO targets.

LONG ABSTRACT:

Multi-target, short time, and resource-affordable methodologies for the detection of multiple nucleic acids in a single easy-to-operate test are urgently needed in disease diagnosis, microbial monitoring, as well as genetically modified organism (GMO) detection and forensic analysis. we have described the platform called CALM (Capillary Array-based Loop-mediated isothermal amplification for Multiplex visual detection of nucleic acids). Herein, we described the improved fabrication and performance processes. In this platform, we apply a small ready-to-use cassette assembled by capillary array for multiplex visual detection of nucleic acids. In this method, the capillary array is pre-treated into hydrophobic and hydrophilic pattern before fixing loop-mediated isothermal amplification (LAMP) primer sets in capillaries. After assembly of the loading adaptor, LAMP reaction mixture is loaded and isolated into each capillary due to capillary force by a single pipetting step. The LAMP reactions are performed in parallel in the capillaries. The results are visually read out by illumination with a hand-held UV flashlight. Using this platform, we demonstrate monitoring of 8 frequently appearing elements and genes in GMO samples with high specificity and sensitivity. In summary, the platform described herein is intended to facilitate detection of multiple nucleic acids. We believe it will be widely applicable in fields where high-throughput nucleic acid analysis is required.

INTRODUCTION:

Low-cost, short-time, and easy-to-use systems for the simultaneous detection of multiple nucleic acids are urgently needed in a wide range of fields, such as clinical diagnostics1-3, GMO detection4-6, microbial monitoring7-9, forensic analysis10,11, and especially  point-of-care tests (POCTs), where the resource is usually limited12-14.

Polymerase chain reaction (PCR), including its derivative methods real-time PCR and multiplex PCR, is the most widely applied techniques for detection in these fields. However, these methods typically only detect one target in one test15, they are dependent on electricity, and sophisticated professional equipment.

Another promising technology for detecting nucleic acids is Loop-mediated isothermal amplification(LAMP), which was first described in 200016. LAMP is a high-efficient DNA detection method, theoretically, it can amplify from 1 copy to 109 copies of amplicons within one hour, and the LAMP reaction is performed at constant temperature, i.e., between 60 – 65 ℃. Successful amplification will produce a large amount of the insoluble byproduct pyrophosphate and cause a change in turbidity17, which could be directly readout by naked eye. A color change can also be observed by the addition of metal ions or fluorescent dyes such as Calcein18,  Nucleic acid dye 19 and hydroxyl naphthol blue20. Because of the high sensitivity and convenience of operation, LAMP is being widely applied in nucleic acid detection.

Currently, there are mainly two strategies for multiplex LAMP assays. One is to perform multiple LAMP assays by having multiple LAMP primer sets in one tube21-23. However, the multiplicity and the amplification efficiency would be limited by the intrinsic interference and competition among different primer sets. Also it’s difficult to identify the different LAMP products in the same reaction. Another strategy is based on physical isolation. Different primer sets were isolated into individual miniaturized compartments, and multiple LAMP reactions are then performed simultaneously24,25. These approaches, which are generally based on microfluidic chips, provide a potential solution for high-throughput LAMP reaction. However, the manufacture of the chips and the multiplex pre-coating of primer sets are complicated, which may increase the cost and decrease the reproducibility.

Recently, a few studies have described performing LAMP reactions in capillaries to bypass the complicated fabrication of microfluidic chips and have achieved low-cost detection26,27. However, with regards to high-throughput analysis, these capillaries are similar to miniature versions of PCR strip tubes, because the samples and reaction reagents (including the different primer sets) must be individually prepared and delivered to different reaction units within capillaries. To achieve parallel and multiplex analysis, additional equipment, for example a multichannel syringe pump, is required for parallel loading of samples or reagents.

To overcome the limitations associated with the current methods for multiplex detection of nucleic acids, we have developed a miniaturized platform which combines visual LAMP technology with a capillary array. This platform is multi-target, compact-size, low-cost, and easy-to-operate28. Herein, we described the details of how to fabricate the capillary array and perform the LAMP reactions in the array. The protocol described here has been standardized using genetically modified organism (GMO) detection as a model. Importantly, this protocol can also be used in high-throughput detection of other nucleic acid targets.

PROTOCOL:

Note: This protocol assumes that the stainless steel mold bearing the shape for the desired micro-channels and the loading adaptor have already been made (3D files are provided as Supplemental Files 1 and 2). This protocol also assumes that plant DNA isolation has already been carried out.

1. Fabrication of the capillary array based ready-to-use cassette

1.1) Clean the stainless steel mold

1.1.1) Wash the stainless steel mold by detergent, ethanol and deionized water to remove the potential contaminants. Dry the mold by nitrogen.

1.2) Clean the capillaries

1.2.1) Wear safety goggles, lab uniform and chemical protective gloves.

1.2.2) Place capillaries into a beaker. Clean the capillaries with 30 mL acetone for 5 min to remove organic matter, and then wash the capillaries with deionized water.

Caution: Handle acetone in fume cupboard.

1.2.3) Pour 10 mL of H2O2 into beaker and then add 30 mL of H2SO4 into H2O2 with slow shaking to prevent overheating. Make sure that the solution (piranha solution) completely covers capillaries for at least 30 min.

Caution: Be careful on handling piranha solution (H2SO4/H2O2 = 3: 1, v/v). If piranha solution is spilled out, wash away solution quickly with a large amount of water and then wipe with paper towel.

Note: Thorough cleaning of capillaries is one of the key point to assure the success of the LAMP reaction. It is necessary to shake the beaker during the cleaning process to remove the bubbles in capillaries, and the clean time can also be extended when required.

1.2.4) Wash away the piranha solution with a large amount of water. Wash capillaries with ethanol and deionized water for 5 min each. Dry the capillaries in a drying oven.

1.3) Pour polydimethylsiloxane (PDMS)

1.3.1) Weight out PDMS base and curing reagents with the ratio of 1:1 in a 50Ml tube. (Typically) mix 5 g of elastomer base to 5 g of elastomer curing agent.

1.3.2) Stir the mixture thoroughly for about 5 min with a glass rod.  Place the tube with PDMS in the vacuum bell jar for 30 min for de-gassing.

1.3.4) Pour the PDMS slowly into the cylinder of the stainless mold. Allow PDMS to cure for 3 h in a drying oven at 60 ℃.

Note: Be careful to avoid air bubbles when pouring PDMS. After pouring PDMS, allow it stand for 5 min for natural removal of bubbles out of PDMS.

1.4) Remove the mold from PDMS

1.4.1) After curing the PDMS, remove the mold by pulling out the mold with cylinder. Remove PDMS from the cylinder by cutting the margin of mold with a scalpel.

1.4.2) Wash PDMS three times with ethanol and deionized water. Dry the PDMS support with nitrogen.

1.5) Treat the lower surface of the PDMS support to be hydrophobic. Soak the PDMS support in super-hydrophobic coat for 1 s. Dry it for 10 min at room temperature.

1.6) Insert the capillary into the PDMS support

1.6.1) Insert the cleaned 4 mm capillaries into the holes of the PDMS support and leave 0.5 mm of the capillaries outside the top surface of the PDMS support. Make sure the ends of capillaries are on the same level.

1.7) Treat the outer surface of the capillaries and top surface of PDMS support to be hydrophobic.

1.7.1) Add 15 μL super-hydrophobic coat onto the top surface of PDMS support. Note that the coating immediately spreads all over the top surface (including the top surface of the PDMS support and the outer surfaces of the exposed part of the capillaries) by capillary force.

1.7.2. Air dry the super-hydrophobic modified capillary array.

1.8) Fix primer into capillary array

1.8.1) Prepare primer solution. Weight out 0.65 g chitosan (molecular formula: (C6H11NO4)n) and dissolve it into 50 mL deionized water by adjusting pH to 4.5-5.5 with acetic acid to achieve a chitosan concentration of 1.3%. Prepare primer components mix as per Table 1. See Supplementary Table 1 for primers.

[Place Table 1 here]

1.8.2) Add 1.6 μL mixture of one set of primers to fill one corresponding capillary of the capillary array according to a pre-designed order.

Note: The remaining two blank capillaries were set as negative controls.

1.8.3) Anchor array in a transparent well of a standard flat bottom 96-well plate and dry the array at 60 ℃ for at least 2 h.

1.9) Assemble the cassette as follows. Put a loading adaptor onto the top of anchored array. Make sure the dish of the adapter just covered the exposed parts of all the ten capillaries. See Figure 1.

[Place Figure 1 here]

2. Performance of LAMP reaction in Capillary array

2.1) Prepare the reaction mix

2.1.1) Prepare LAMP reaction mix as per Table 2.

[Place Table 2 here]

2.1.2) Add reagents to mixture according the order as in Table 2, and vortex the reaction mixture for 5 s after adding calcein. Gently invert the tube 20 times after Bst polymerase is added.

2.2) Load the reagents and seal the cassette

2.2.1) Pipette 20 μL LAMP reaction mixture with a standard 100-μL tip. Insert the tip into the inlet of the loading adaptor to lock it. Gently inject the reaction mixture into the dish of adaptor; the reaction mixture will quickly fill the dish and then load the capillaries automatically through capillary force.

2.2.2) Remove the adaptor with the locked tip and seal the well by a PCR-compatible transparent sealing film.

Note: Only the capillaries touching the reaction mixture in the hydrophilic dish could be filled. So make sure the upside of all the capillaries are of the same height. See Figure 2

[Place Figure 2 here]

2.3) Incubate the capillary array in an incubator at 63 ℃ for 1 h.

3. Result Readout and data analysis

3.1) Acquire images of the fluorescence emission.

3.1.1) Fix a UV filter on the top surface of a small hand-held UV LED flashlight to filter the visible light.

3.1.2) Excite the dissociated calcein to emit fluorescence by the UV flashlight. Capture images from the top of the capillary array by either a digital camera or a smartphone.

3.1.3) When taking an image, ensure that the area of capillaries is zoomed in as much as possible to get clear images.

3.2) Analyze the results

3.2.1) Open the image by image analysis software and then select “Image>Mold>Grayscale>Yes” and “Image>Mold>16bit>Yes”. Select “File>Save as>format>TIFF” to convert the image to 16-bit TIFF format.

3.2.2) Extract the value of fluorescence intensity

3.2.2.1) Open the microarray analysis software. Drag the 16-bit TIFF format image into the interface of the software and then select the wavelength of “532nm” and a color of “green” to display the image.

3.2.2.2) Create a new block to locate the fluorescence signal from the capillaries. Select “Tools>New blocks” and input the number of columns and rows as “1;1” and “2;5” in the ‘blocks’ and ‘features’ interfaces separately.

3.2.2.3) Right click and select “Features” model and then adjust the location and diameter to fit the fluorescence area of capillaries. Select “Analyze” to extract the value of fluorescence intensity.

3.2.2.4) Select “File>save settings as” to save the blocks documents and select “File>save results as” to save the fluorescence intensity results. Calculate the SNR to define whether LAMP is successfully performed in the capillaries.

Note: Signals of the capillaries were obtained by recording the gray values of the spots and signal to noise ratios (SNRs) were defined as ratios of mean values of foreground signals of the targets to average mean values of foreground signals of the two negative controls. The cutoff to determine positive signals was set as SNR> 2.

REPRESENTATIVE RESULTS:

In this method, it’s important to prevent cross-contamination among different capillaries during the sample loading. For this purpose, chitosan is introduced, which could retain the primers in individual capillaries. To test whether it works or not, we pre-fixed the ADH1 (endogenous reference gene of maize) primer set in the capillary cassette with the pattern of “T” and “U” as illustrated in figure 3a. As expected, only the capillaries contain primer set showed positive signals (figure 3b).

[Place Figure 3 here]

To further evaluate the ability to monitoring GMO, we chose seven frequently-used transgenic

elements which cover ~75% of the commercialized GMO events, i.e., P-CaMV35S, bar, cp4 epsps, P-FMV35S, pat, T-nos and nptII (figure 4, layout) which correspondence to the capillaries number 1-7. And one endogenous reference gene for maize (ADH1). To show the specificity of this method, three GM events (MON863, MON89034 and 59122,) were selected and applied to CALM. To analysis the results, fluorescence images were taken by camera and analyzed as described in protocol steps. Expected results were obtained for all the tests (figure 4), for examples, for the GM maize MON863, positive signals were obtained for capillaries 1, 6, 7, and 8, which correspond to targets P-CaMV35S, T-nos, nptII, and the endogenous reference gene ADH1, respectively.

[Place Figure 4 here]

To test the performance of our method in real world application, two practical maize samples were selected for analysis by CALM. Then the results were compared with that of real-time PCR and results were consistent. (figure 5)

[Place Figure 5 here]

Figure Legends:

Figure 1. The cassette fabrication and assembly. (a) Stainless mold and the PDMS support. The mold consists of 3 parts: cylinder, dam board and pillar plate. (b) The schematic of PDMS support fabrication and assembly of the capillary cassette. The whole process contains 5 steps (1. PDMS pouring, 2. Mold removing, 3. Capillary inserting and surface coating, 4. primer fixing and 5. cassette anchoring). 1, Pour PDMS into cylinder of the mold; 2, Push out the dam board to remove the mold from PDMS support; 3, Coat the down surface of PDMS support and then insert the capillaries into PDMS support, lastly coat the up surface of PDMS support and exposed capillaries. The thick blue line indicates super-hydrophobic coat; 4, Load primer set into individual capillaries. 5, Anchor the capillary array in a single 96-well plate and install a sample loading adaptor onto it. The details have been described in the protocol (1.1-1.9).

Figure 2. The diagram of sample-loading using the loading adaptor. The picture showed loading process employing blue solution as an example. Insert the tip into inlet and inject the sample into adaptor slowly, and then remove the adaptor with locked tip.

Figure 3. Examples of capillary result. (a) The layout of the capillary array. The green spots indicate that ADH-1 primer sets are pre-fixed in capillaries. (b) The fluorescent photographs of the two capillary arrays after LAMP. The green color presented the positive LAMP amplification. The test was performed in duplicates. Successful amplification only presented in primer-fixed capillaries and without contamination among blank capillaries.

Figure 4. The specificity for monitoring GMOs. The detection of different DNA samples, i.e., MON863, MON89034, 59122, mix of all the above three GM events (GMO mix), Non-GM maize and pure water (no template control, NTC). 1–8: Capillaries pre-fixed with LAMP primer sets of P-CaMV35S, bar, cp4 epsps, P-FMV35S, pat, T-nos, nptII, and ADH-1, individually. 9–10, two no-primer controls. The test was performed in duplicates and we found that all the results were consistent with expectations. See Supplementary Table 2 for data analysis.

Figure 5. The results of the testing of two maize samples. 1–8: Capillaries pre-fixed with LAMP primer set of P-CaMV35S, bar, cp4 epsps, P-FMV35S, pat, T-nos, nptII, and ADH-1, individually. 9–10, two no-primer controls. The test was performed in duplicates and then the results were compared with that of real-time PCR and results were consistent. See Supplementary Table 3 for comparison results. See Supplementary Table 2 for data analysis.

Table 1. The components of LAMP primer fixing reagents. The components of LAMP primer fixing mix are listed in the left column of the table, and the volume of each components is listed in the right column.

Table 2. The reaction system of the capillary array-LAMP. The components of reaction system of capillary array LAMP components are listed in left column, and the volume of each components is listed in the right column.

Supplementary Table 1. List of LAMP primer sequences.

Supplementary Table 2. Data analysis of the LAMP array experiments.

DISCUSSION:

The CALM platform demonstrated here, which combines the LAMP technology with a capillary array, enables the simultaneous detection of multiple GMO-related gene targets in a single, highly effective and easy-to-operate test.

To successfully perform the multiplex LAMP reactions in the cassette, three critical points need to be noticed. Firstly, the same height of the upside of the capillaries and the hydrophilic and hydrophobic pattern of the capillary array are critical for simultaneously loading reagents into all the capillaries. The capillaries should be aligned by a plate after initial inserting into PDMS support to ensure all of them can touch the loaded reactions mixture in the dish of the loading adaptor. When treating the capillary array with super-hydrophobic coat, do not allow the coat soaked into the inner surface of the capillaries. Treat the outer surface of capillaries by just loading coat on the top surface of the top PDMS support allowing the coating to spread the outer surfaces of the upside parts of the capillaries. If it occasionally happens that not all the capillaries are filled with the reagents, load reagent directly into specific capillary could be applied.

Secondly, be careful with the preparation of LAMP reagents. The whole process should be gently and quickly carried out on ice, due to the relatively low reaction temperature of LAMP and fragility of Bst polymerase. It’s advised to shake the reaction tube with LAMP mixture gently instead of vortex the tube violently after adding Bst polymerase. An inappropriate handling may cause failure of the reaction. In this experiment, ADH1(endogenous reference gene of Maize) is set as the positive control and two capillaries without primers are set as blank controls. So, if LAMP mixture is correctly handled, the positive control would show green and blank control would keep unchanged after test is performed.

Thirdly, due to the high efficiency of LAMP reaction, false positive or carryover contamination may happen if there is a trace amount of DNA amplicon exists in the environment. So always bear in mind that the operating process of pre-reaction and post-reaction should be strictly separated in different areas and the LAMP products should be tightly sealed and discarded after analysis.

Also a blank control should be set for indicating the correct performance of the LAMP.

Intrinsically, CALM is a universal multi-target nucleic acids detection method with good flexibility and expandability. LAMP reactions performed in capillaries can be easily substituted by other type of isothermal amplification methods, such as rolling circle amplification (RCA)29, and recombinase polymerase amplification (RPA)30. it can also be applied in other detection fields, such as pathogen detection27 and disease diagnosis31.

In current form of this method, although primer sets are pre-fixing with chitosan, the process of LAMP mixture preparing is still need when perform the test, which would lower the simplicity of the method. To regard of this, we would try to preload all the reagents of LAMP in capillary and then what the users need is just to pipette the sample into cassette. And lack of nucleic acid extraction maybe another limitation for our method, but we have now developing a mobile-based machine which would combine the extraction of nucleic acids, automatic image taking and data analysis to make the real “sample-in and results-out”

In summary, we have developed the CALM platform by integrating multiplex LAMP with a capillary array. As a general nucleic acid detection method, CALM may also have potential in a wide range of other nucleic acids analysis applications.

ACKNOWLEDGMENTS:

This study was funded in part by National Natural Science Foundation of China Grants (31370813, 3147670, 31670831 and 31600672,), the National Transgenic Plant Special Fund (2016ZX08012-003, 2016ZX08012-005), Program for New Century Excellent Talents in University, the National Key Research and Development Project of China (2016YFA0500601) and China Postdoctoral Science Foundation (2016M591667).

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES

1	Urdea, M. et al. Requirements for high impact diagnostics in the developing world. Nature. 444 Suppl 1 73-79, doi:10.1038/nature05448, (2006).

2	Yager, P., Domingo, G. J. & Gerdes, J. Point-of-care diagnostics for global health. Annu Rev Biomed Eng. 10 107-144, doi:10.1146/annurev.bioeng.10.061807.160524, (2008).

3	Opota, O., Jaton, K. & Greub, G. Microbial diagnosis of bloodstream infection: towards molecular diagnosis directly from blood. Clin Microbiol Infec. 21 (4), 323-331, doi:10.1016/j.cmi.2015.02.005, (2015).

4	Guo, J. et al. MPIC: A High-Throughput Analytical Method for Multiple DNA Targets. Anal Chem. 83 (5), 1579-1586, doi:10.1021/ac103266w, (2011).

5	Shao, N. et al. MACRO: a combined microchip-PCR and microarray system for high-throughput monitoring of genetically modified organisms. Anal Chem. 86 (2), 1269-1276, doi:10.1021/ac403630a, (2014).

6	Kamle, S. & Ali, S. Genetically modified crops: detection strategies and biosafety issues. Gene. 522 (2), 123-132, doi:10.1016/j.gene.2013.03.107, (2013).

7	Galvin, S., Dolan, A., Cahill, O., Daniels, S. & Humphreys, H. Microbial monitoring of the hospital environment: why and how? Journal of Hospital Infection. 82 (3), 143-151, doi:10.1016/j.jhin.2012.06.015, (2012).

8	Sciancalepore, A. G. et al. Microdroplet-based multiplex PCR on chip to detect foodborne bacteria producing biogenic amines. Food Microbiol. 35 (1), 10-14, doi:10.1016/j.fm.2013.02.010, (2013).

9	Saxena, G., Bharagava, R. N., Kaithwas, G. & Raj, A. Microbial indicators, pathogens and methods for their monitoring in water environment. J Water Health. 13 (2), 319-339, doi:10.2166/wh.2014.275, (2015).

10	Hopwood, A. J. et al. Integrated Microfluidic System for Rapid Forensic DNA Analysis: Sample Collection to DNA Profile. Anal Chem. 82 (16), 6991-6999, doi:10.1021/ac101355r, (2010).

11	Estes, M. D. et al. Optimization of multiplexed PCR on an integrated microfluidic forensic platform for rapid DNA analysis. Analyst. 137 (23), 5510-5519, doi:10.1039/c2an35768b, (2012).

12	Niemz, A., Ferguson, T. M. & Boyle, D. S. Point-of-care nucleic acid testing for infectious diseases. Trends Biotechnol. 29 (5), 240-250, doi:10.1016/j.tibtech.2011.01.007, (2011).

13	Peeling, R. W. & Mabey, D. Point-of-care tests for diagnosing infections in the developing world. Clin Microbiol Infec. 16 (8), 1062-1069, doi:10.1111/j.1469-0691.2010.03279.x, (2010).

14	Perkins, M. D. & Kessel, M. What Ebola tells us about outbreak diagnostic readiness. Nat Biotechnol. 33 (5), 464-469 (2015).

15	Li, Y. et al. A universal multiplex PCR strategy for 100-plex amplification using a hydrophobically patterned microarray. Lab Chip. 11 (21), 3609-3618, doi:10.1039/c1lc20526a, (2011).

16	Notomi, T. et al. Loop-mediated isothermal amplification of DNA. Nucleic Acids Res. 28 (12), doi:10.1093/nar/28.12.e63, (2000).

17	Mori, Y., Nagamine, K., Tomita, N. & Notomi, T. Detection of loop-mediated isothermal amplification reaction by turbidity derived from magnesium pyrophosphate formation. Biochem Biophys Res Commun. 289 (1), 150-154, doi:10.1006/bbrc.2001.5921, (2001).

18	Tomita, N., Mori, Y., Kanda, H. & Notomi, T. Loop-mediated isothermal amplification (LAMP) of gene sequences and simple visual detection of products. Nat Protoc. 3 (5), 877-882, doi:10.1038/nprot.2008.57, (2008).

19	Iwamoto, T., Sonobe, T. & Hayashi, K. Loop-mediated isothermal amplification for direct detection of Mycobacterium tuberculosis complex, M-avium, and M-intracellulare in sputum samples. J Clin Microbiol. 41 (6), 2616-2622, doi:10.1128/Jcm.41.6.2616-2622.2003, (2003).

20	Goto, M., Honda, E., Ogura, A., Nomoto, A. & Hanaki, K. Colorimetric detection of loop-mediated isothermal amplification reaction by using hydroxy naphthol blue. Biotechniques. 46 (3), 167-172, doi:10.2144/000113072, (2009).

21	Iseki, H. et al. Development of a multiplex loop-mediated isothermal amplification (mLAMP) method for the simultaneous detection of bovine Babesia parasites. J Microbiol Methods. 71 (3), 281-287, doi:10.1016/j.mimet.2007.09.019, (2007).

22	Liang, C. et al. Multiplex loop-mediated isothermal amplification detection by sequence-based barcodes coupled with nicking endonuclease-mediated pyrosequencing. Anal Chem. 84 (8), 3758-3763, doi:10.1021/ac3003825, (2012).

23	Shao, Y., Zhu, S., Jin, C. & Chen, F. Development of multiplex loop-mediated isothermal amplification-RFLP (mLAMP-RFLP) to detect Salmonella spp. and Shigella spp. in milk. Int J Food Microbiol. 148 (2), 75-79, doi:10.1016/j.ijfoodmicro.2011.05.004, (2011).

24	Fang, X., Chen, H., Yu, S., Jiang, X. & Kong, J. Predicting viruses accurately by a multiplex microfluidic loop-mediated isothermal amplification chip. Anal Chem. 83 (3), 690-695, doi:10.1021/ac102858j, (2011).

25	Stedtfeld, R. D. et al. Gene-Z: a device for point of care genetic testing using a smartphone. Lab Chip. 12 (8), 1454-1462, doi:10.1039/c2lc21226a, (2012).

26	Liu, D., Liang, G., Zhang, Q. & Chen, B. Detection of Mycobacterium tuberculosis using a capillary-array microsystem with integrated DNA extraction, loop-mediated isothermal amplification, and fluorescence detection. Anal Chem. 85 (9), 4698-4704, doi:10.1021/ac400412m, (2013).

27	Zhang, Y. et al. Point-of-Care Multiplexed Assays of Nucleic Acids Using Microcapillary-based Loop-Mediated Isothermal Amplification. Anal Chem. 86 (14), 7057-7062, doi:10.1021/ac5014332, (2014).

28	Shao, N. et al. Visual detection of multiple genetically modified organisms in a capillary array. Lab Chip. 17 (3), 521-529, doi:10.1039/c6lc01330a, (2017).

29	Lizardi., P. M. et al. Mutation detection and single-moledule counting using isothermal rolling-circle amplification. Nat Genet.  (1998).

30	Piepenburg, O., Williams, C. H., Stemple, D. L. & Armes, N. A. DNA detection using recombination proteins. Plos Biol. 4 (7), 1115-1121, doi:10.1371/journal.pbio.0040204, (2006).

31	Opota, O., Jaton, K. & Greub, G. Microbial diagnosis of bloodstream infection: towards molecular diagnosis directly from blood. Clin Microbiol Infect. 21 (4), 323-331, doi:10.1016/j.cmi.2015.02.005, (2015).