Editorial comments:

Generic steps cannot be filmed. Please specify all reagents or parameters in each step.

To fulfill the request of the Editor we provide an example molecule to be used in the protocol. However, in general the protocole will be the same with any molecule of similar properties.

1.1.1: Please specify the luminescent compound and solvent.

Emitter and solvent specified in a note.

1.1.3: Please specify the wavelength.

Wavelength range added in a note.

1.2.1: Please specify the sample.

Sample type specified. Sample production method included. All in a note.

2.2.2: Please include all parameters in the step.

All parameters included.

2.2.3: Please specify the settings.

Setting specified.

2.2.4: Please specify the settings.

Setting specified.

2.2.5.1: Please specify the delay settings.

Delay settings specified.