JOVE FINAL SCRIPT: APPROVED FOR FILMING
Submission ID #: 56800
Scriptwriter Name: Maja Fiket
Link: http://www.jove.com/files_upload.php?src=17324048
Authors and Affiliations: Qian Liu1,2,3, Zhaoyan Jiang3, Aihua Gu1,2
1 State Key Laboratory of Reproductive Medicine, Institute of Toxicology, Nanjing Medical University, Nanjing, China

2 Key Laboratory of Modern Toxicology of Ministry of Education, School of Public Health, Nanjing Medical University, Nanjing, China

3 Center of Gallbladder Disease, Shanghai East Hospital, Institute of Gallstone Disease, Tongji University School of Medicine, Shanghai, China

Title: Experimental Protocol for Detecting Mitochondrial Function in Hepatocytes Exposed to Organochlorine Pesticides
Corresponding Authors: 

aihuagu@njmu.edu.cn
zhaoyanjiang@gmail.com
Co-author:

qianliu@njmu.edu.cn
A.  Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)___No______  

B.   Software Usage: Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___Yes_____ 

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (Please do not list entire sections.) ____2.2, 2.7, 3.4, 4.1._________
Authors, please answer this question with the steps listed here in the protocol section for use by the videographer.
2.2.1.Talent starts pipetting and making the solution.

2.7.1.Talent starts adding ATP buffer to the plate, buffer in shot visible if possible.

3.4. Analyze the JC-1-stained cells via flow cytometry to detect green and red fluorescence.

4.2. Running the OCR software.
D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) ___4.1., Pre-experiment to determine the number of cells and concentration of the prepared reagents
Authors, please answer this question with the steps listed here in the protocol section for use by the videographer.
4.1.1.Talent seeding the cells onto 96-well plate. TEXT: 4500 cells/100 µL/ well.
E.  Will the filming need to take place in multiple locations? (Y/N) __Yes_____ If yes, how far apart are the locations? _____1km_______________________
1. Introduction 
Required Interview Statements: (Said by you on camera. Don’t forget to smile!)  
1.1. Qian Liu: This method can help answer key questions in the mitochondrial function field, such as ATP level and oxygen consumption rate. [1]
1.1.1. Interview style: Qian Liu saying the above 
1.2. Qian Liu: The main advantage of this technique is that it is easy to perform, and it allows for the specific evaluation of cellular mitochondrial function. [1]
1.2.1. Interview style: Qian Liu saying the above

E.  Ethics title card: (for human subjects or animal work, does not count toward word length total)
1.9. All experiments and the experiment protocols were performed in accordance with relevant guidelines and regulations and approved by the local Ethical Committee of Nanjing Medical University. 
Protocol: (read by voice talent at JoVE)
2. Mitochondrial Fluorescence Intensity and Cellular ATP Detection 
2.1. To start this experiment, seed 20,000 HepG2 (pronounce hep-G-2) cells in a glass bottom Petri dish. [1-TXT] Add β-hexachlorocyclohexane (beta-hexa-chloro-cyclo-hex-ane) or β-HCH (beta–H-C-H) … [2-TXT] and incubate at 37 degrees Celsius, and 5% CO2 for 24 hours. [3]
2.1.1. Talent seeds the cells on the dish. TEXT: HepG2 cells in DMEM with Pen-Strep and 10% FBS for entire experiment. Videographer, authors indicated this step is important.
2.1.2. Talent adds β-HCH to the dish. TEXT: 10, 100 ng/mL β-HCH
2.1.3. Talent places the dish in the incubator.
2.2. Prepare 1-millimolar mitochondrial green fluorescent probe solution by adding anhydrous DMSO (D-M-S-O) to DMEM (D-M-E-M) cell culture medium. [1] Then add 1 milliliter per dish of this solution to the cells in glass bottom Petri dishes, [2-TXT] and incubate at 37 degreed Celsius for 45 minutes. [3]
2.2.1. Talent starts pipetting and making the solution.

2.2.2. Talent pipettes the solution to the Petri dish. TEXT: Final concentration 200nM

2.2.3. Talent places the dish in the incubator.
2.3. After incubation, remove the mitochondrial green fluorescent probe solution from the cells. [1] Add 1 milliliter per dish freshly prepared 37-degree Celsius DMEM cell culture medium [2-TXT].
2.3.1. Talent starts removing the solution from the cells.

2.3.2. Talent adds DMEM to cells. TEXT: Keep the dishes at 37 ºC prior to imaging.
2.4. To detect green fluorescence in mitochondria, observe the cells under a confocal microscope. [1-TXT]
2.4.1. Talent places the dish under the microscope. TEXT: 10x magnification; Max excitation: 490 nm, max emission: 516 nm
2.5. To evaluate levels of cellular ATP, seed 20,000 HepG2 cells in 6-well plates. [1] Add β-HCH… [2-TXT] and incubate at 37 degreed Celsius for 24 hours. [3]
2.5.1. Talent seeds the cells to a 6-well plate. Film multiple usable takes, as shot will be repeated later.
2.5.2. Talent starts adding β-HCH to the 6-well plate. TEXT: 10, 100 ng/mL β-HCH
2.5.3. Talent places the plate in the incubator.
2.6. Add 200 microliters of lysis buffer to the cells in each well, [1-TXT] centrifuge at 12,000 x g for 5 minutes at 4 degrees Celsius, [2] and proceed with collecting supernatant as described in the text protocol. [3] [4]
2.6.1. Talent starts adding lysis buffer to wells. TEXT: For all buffers and solutions see the text protocol.

2.6.2. Talent places the 6-well plate in the centrifuge and shuts the lid.
2.6.3. Talent starts collecting the supernatant and pipetting it into new tubes. 

2.6.4. Talent starts adding the supernatant to 96-well plate. Please move shot 2.6.4 after shot 2.7.1.
2.7. Add 100 microliters ATP detection buffer to the plate… [1-TXT], add 100 microliters of collected cell supernatant to a 96-well plate at room temperature [2], and proceed to detect cellular ATP by a luminometer [3] as described in the text protocol [4]. 
2.7.1. Talent starts adding ATP buffer to the plate, buffer in shot visible if possible. TEXT: See text protocol to calculate ATP concentration. Videographer, authors indicated this step is important
2.7.2. Talent starts adding the supernatant to 96-well plate (move from above).
2.7.3. Talent in front of the luminometer loading the plate.

2.7.4. SCREEN: 56800_screenshot_1: 0:03-0:20. Video editor, you can speed up this screen capture. Specific operation of software.
3. Mitochondrial Membrane Potential Measurements 
3.1. For assessment of mitochondrial membrane potential, grow HepG2 cells in 6-well plates with addition of β-HCH, as previously described. [1-TXT] Collect the cells by digesting them with 0.5 mL 0.25 % EDTA for 1 minute at 37 °C. [2] Add 1 mL DMEM to stop digestion… [3] and transfer digested cells to 1.5-milliliter tubes. [4]. 
3.1.1. *Use 2.5.1. TEXT: 2 x 104 cells with β-HCH, at 37 °C, 5% CO2, 24 hours
3.1.2. Talent adds EDTA. Show solution label if possible.
3.1.3. Talent adds DMEM. Show solution label if possible.
3.1.4. Talent starts transferring cells into a tube.
3.2. Centrifuge the tubes at 1000 x g for 3 minutes… [1] and then discard the supernatant. [2] Dilute the cell-pellet with 0.5 milliliters cell culture medium… and 0.5 milliliters JC-1 mitochondrial membrane potential dye… [3] and incubate for 20 minutes at 37 °C. [4] 
3.2.1. Talent places the tubes in the centrifuge, shuts the lid and starts it. Film centrifuge settings if possible.

3.2.2. Talent discards the supernatant.

3.2.3. Talent adds solutions to the pellet and pipettes it to mix. 
3.2.4. Talent places the tubes in 37 °C incubator.
3.3. Next, centrifuge the tubes at 600 x g for 3 minutes at 4 °C… [1] and then wash the cell pellet according to the text protocol. [2] After centrifuging the washed pellet… [3-TXT] remove the supernatant… [4] and resuspend the pellet in 0.5 milliliters of JC-1 dyeing buffer. [5] 
3.3.1. Talent places the tubes in the centrifuge, shuts the lid and starts it. Film settings if possible. 

3.3.2. Talent starts washing cells.

3.3.3. Talents removes the tube from the centrifuge TEXT: 600 x g, 3 min, 4 °C
3.3.4. Talent removes supernatant.
3.3.5. Talent adds the buffer to the pellet and starts pipetting to resuspend. 
3.4. Analyze the JC-1-stained cells via flow cytometry to detect green and red fluorescence. [1] When the JC-1 monomer is detected, [2] set the excitation light to 490 nanometers, and the emission light to 530 nanometers. [3] 
3.4.1. Talent loads cells into a flow cytometer. Videographer, authors indicated this step is important
3.4.2. LM: Fig 9-5-1. JC-1 monomer on screen. Video editor: emphasize the part with R2. 
3.4.3. LM: Fig 9-5-2. Video editor: emphasize the parts circled in red here.
3.5. When the JC-1 polymer is detected, [1] set the excitation light to 525 nanometers, and the emission light to 590 nanometers. [2]
3.5.1. LM: Fig 9-5-3. JC-1 polymer on screen. Video editor: emphasize the part with R3.
3.5.2. LM: Fig 9-5-4. Video editor: emphasize the parts circled in red here.
4. Oxygen Consumption Rate (OCR) Measurements
4.1. To analyze oxygen consumption rate, seed HepG2 cells in 96-well cell culture plate at density of 4500 cells per 100 microliters per well. [1-TXT] After 24 hours incubation at 37 degrees Celsius, [2] make sure that cells in each well are covered with the medium. [3]
4.1.1. Talent seeding the cells onto 96-well plate. TEXT: 4500 cells/100 µL/ well Videographer, video editor, authors indicated this step as critical!
4.1.2. Talent places the plate into the incubator.

4.1.3. Show the plate close to show that there is medium covering the cells.
4.2. Before running the OCR software, load the microplate with cartridge and the cell culture plate into extracellular flux analyzer as described in the text protocol [1]. Open the OCR software, in the Apps drop-down menu choose Cell Mito Stress Test Kit and click on the Start App button. [2]
4.2.1. Talent adds the plate and the cartridge into the analyzer 56800_screenshot_2 01:24
4.2.2. SCREEN: 56800_screenshot_2 00:00-00:08 Talent opens the OCR software, opens the Apps, choses Cell Mito Stress Test Kit, and then clicks on the Start App button. 
4.3. Next, click on the Run Stress Test button. When the Cell Stress Test Setup screen appears, enter the number of cells seeded per well in the Cell Seeding number box and the average OCR in the Average Basal OCR box [1]. Enter the final working concentration for each reagent [2-TXT] and then inject the reagents. [3]
Videographer, authors indicated this step is important
4.3.1. SCREEN: 56800_screenshot_2 00:09-00:17 Talent clicks on the Run Stress Test button, then on the Cell Stress Test Setup screen enters the number of cells in the box. Talent enters the average OCR in the Average Basal OCR box. 
4.3.2. SCREEN: 56800_screenshot_2 00:18-00:30 Talent then enters the final working concentration for ATP coupler, then ETC Accelerator, Mito Inhibitors A and B. TEXT: Prior to optimization determine average basal OCR value.
4.3.3. Talents injects the reagents.
4.4. Click the Next button. When the group info screen appears, assign a group to unassigned wells by choosing a color and giving a name. Then click on appropriate wells. [1]
4.4.1. SCREEN: Talent clicks on the Next button, and then chooses a color and gives name on the group info screen that appears and clicks on appropriate wells, repeating that for different wells. 56800_screenshot_2 00:30-01:08
4.5. Click the Next button, and in the Stress Test Injection Layout screen that appears, click on Start to run the stress test on the Analyzer. [1] After the completed run, follow the prompts in the software, [2] and then remove [3] and discard the cartridge and cell plate. [4] 
4.5.1. SCREEN: 56800_screenshot_2 01:08-01:15 Talent clicks on the Next button, and then on the Start when the Stress Test Injection Layout screen appears. 
4.5.2. SCREEN: 56800_screenshot_2 01:16-02:16 Program is running on the screen. After 2:06 talent clicks on OK, then on continue. Video editor you can speed 1:16-2:05. 
4.5.3. SCREEN: 56800_screenshot_2 01:17-02:20 Talent clicks on Eject plate and then on continue. 
4.5.4. Talent removes the cartridge and cell plate. 56800_screenshot_2 02:21-02:22
5. Results: Evaluation of Mitochondrial Function in Hepatocytes Exposed to β-HCH
5.1. Average intensity of mitochondrial green fluorescent staining decreased in HepG2 cells exposed to β-HCH. [1-LM] This shows that there is a decrease in mitochondrial number and increase in damaged mitochondria consistent with the increase in pesticide concentration. [2-LM]
5.1.1. 56580_Liu_Fig 2B Editor: Please emphasize words FITC fluorescence when VO says: “Average intensity of mitochondrial green fluorescent staining”. Please emphasize the 3 bars in the graph one by one when VO says “decreased in HepG2 cells exposed to β-HCH”. 
5.1.2. 56580_Liu_Fig 2A Editor: Please emphasize the 3 figure panels one by one from top to bottom during this narration. 
5.2. Furthermore, ATP levels in HepG2 cells decreased with the increased concentrations of β-HCH exposure, showing the decreased function of mitochondria in these cells.

5.2.1. 56580_Liu_Fig 3 Editor: Please emphasize word ATP when VO says: “ATP levels in HepG2 cells”. Please emphasize the 3 bars in the graph one by one when VO says “decreased with the increased concentrations of β-HCH exposure, showing the decreased function of mitochondria in these cells”. 
5.3. After JC-1 staining for mitochondrial membrane potential or MMP, flow cytometry showed high red/green JC-1 florescence in intact HepG2 cells. This was due to a presence of red-fluorescent JC-1 aggregates, which are sign of high MMP. [1-LM] In cells treated with β-HCH, red/green JC-1 florescence decreased due to a presence of green-fluorescent JC-1 monomers, sign of low MMP. [2-LM]
5.3.1. 56580_Liu_Fig 4 Editor: Please zoom into panel B and then emphasize first bar in the graph when the VO says “high red/green JC-1 florescence in intact HepG2 cells”  
5.3.2. 56580_Liu_Fig 4B Editor: Please emphasize second and third bar in the graph when the VO says “red/green JC-1 florescence decreased due to a presence of green-fluorescent JC-1 monomers, sign of low MMP”. 
5.4. Finally, oxygen consumption rate also decreased with the increased concentrations of β-HCH exposure, further showing that this pesticide impairs proper mitochondrial function.

5.4.1.  56580_Liu_Fig 5A Editor: Please emphasize the top pink curve when the VO says: “Finally, oxygen consumption rate”, then emphasize the two bottom curves, blue and red, when the VO says: “also decreased with the increased concentrations of β-HCH exposure”. 
6. Conclusion (said by authors on camera)
6.1. Qian Liu: While attempting this procedure, it’s important to remember to seed cells at appropriate density. [1]
6.1.1. Interview style: Qian Liu saying the above
6.2. Qian Liu: After its development, this technique paved the way for researchers in the field of mitochondrial function to explore relevant mechanisms in some mitochondria-associated diseases. [1]
6.2.1. Interview style: Qian Liu saying the above
6.3. Qian Liu: After watching this video, you should have a good understanding of how to detect mitochondrial quantity, capacity, membrane potential and respiratory chain function. [1]
6.3.1. Interview style: Qian Liu saying the above
( 2017, Journal of Visualized Experiments


