Dear JoVE editor & reviewers,

We greatly appreciate your insightful critiques, thank you for the opportunity to revise. We have carefully revised our manuscript; below please see our point-by-point responses to the reviewers' comments (in blue text). To note, some the procedure numbers may be shifted due to the revision.

Thank you do much!

Yuxiang & team

Changes recommended by the JoVE Scientific Review Editor:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

• Formatting:
1. Please keep the current formatting, unless otherwise noted. For additional information please follow the link.

Reply: Yes.

2. Please define all abbreviations at first use.

Reply: Abbreviations are defined at first use.

3. Please use standard SI unit symbols and prefixes such as µL, mL, L, g, m, etc., and h, min, s for time units. Please use a single space between numerical values and their units.

Reply: It has been corrected.

4. Please use ‘Figure #’ instead of ‘Fig. #.’

Reply: It has been corrected.

5. For centrifugation force, please use ‘x g’ instead of ‘g’, e.g. ‘300 x g’

Reply: It has been corrected.

• Authors and Affiliations:
1. Please provide all authors’ emails.

Reply: Emails of all authors have been added.

• Keywords:
1. Please remove commercial language (Histopaque)

Reply: The use of the term Histopaque is necessary for this paper. As its use is an important distinction from other protocols using other type of gradients, eg ficoll gradient. We believe in the context of our procedure, Histopaque gradient produces better result than other type of gradient. Also to note the Histopaque has previously used in J. Vis. Exp. 67: e4137 (2012).

• Abstracts: Please re-word the Short Abstract to more clearly state the goal of the protocol. For example, “This protocol/manuscript describes…”
1. Please reword your Short Abstract because of the word limit (50 words).

Reply: It has been improved.

2. Please remove commercial language (Histopaque)

Reply: The use of the term Histopaque is necessary for this paper. As its use is an important distinction from other protocols using other type of gradients, eg ficoll gradient. We believe in the context of our procedure, Histopaque gradient produces better result than other type of gradient. Also to note the Histopaque has previously used in J. Vis. Exp. 67: e4137 (2012).

• Introduction: Please ensure the following points are covered:
1. advantages over alternative techniques with applicable references to previous studies

Reply: Advantages over other techniques has been included within this section. Particularly, the cost effectiveness and reduction of gradient steps.

2. the context of the technique in the wider body of literature

Reply: This technique is an amalgam of several other techniques, where certain integral points were utilized and adapted in our own protocol, these specific techniques were discussed at length. These included the anatomical choice of enzyme delivery, duct clamping, enzyme used, choice of gradient, detailed notation and visial demonstration.

3. information to help readers determine if the protocol is appropriate for their application.

Reply: Information that would help readers determine if the protocol is appropriate for them were included, such as age and sex of mice, whether the mice are diabetic, cost, etc.

• Protocol Detail: Please note that your protocol will be used to generate the script for the video and must contain everything that you would like filmed. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol. Please add more details to the following protocol steps:
1. Please add a blank line between every step and Note in the protocol section.

Reply: Concern has been addressed

2. Please ensure you answer the “how” question, i.e., how is the step performed? (Has been addressed) All steps should be explicitly stated to allow readers to replicate protocol. Alternatively, for steps that will not be filmed, add references to published material specifying how to perform the protocol action.

Reply: Concern has been addressed

3. 1 – Please move all materials listed to Materials Table.

Reply: Concern has been addressed

4. 2 – Please write in imperative tense and add all reagents to Materials Table. Please define ‘fresh’ (e.g. make day of use, good for a few days, etc.) If solutions need to be made during protocol, please integrate where appropriate. The protocol numbering order should reflect the order in which steps are done.

Reply: Written in imperative tense,  “fresh” is defined; numbering order follows how steps are carried out.

5. 3.1 – When were tubes marked? How volume was added to each tube?

Reply: Tubes are marked during preparation, content can be added either by pipetting or pouring in directly form stock solution container.

6. 3.2 – Soak entire surface of tools? Partial? Please explain.

Reply: Tips of tools are soaked in the RNaseZap, areas that will be exposed to direct contact with pancreatic tissue.

7. 3.3 – Please specify size of material cut.

Reply: Size of material is 6” by 6”.

8. 3.7 – Presumably 2 tubes (‘digestion’ and ‘purification’) are labelled per mouse? Please clarify.

Reply: Yes, it has been clarified.

“Label 50 mL tubes for digestion and purification – prepare 2 tubes for each mouse: one

for digestion and the other for islet purification.”

9. 4 Note – Please move this directly below the Protocol section heading on line 88.

Reply: This has been addressed.

10. 4.1 – ‘rinse’ – how? Are they left in the ethanol or water solutions for given amount of time? Please reference Figure 1.

Reply: They are rinsed by dipping and swirling tips in EtOH tube then ddH20. They are not left to soak, rinse only.

11. 4.2 – How was isoflurane added to chamber? How is ‘deep’ anesthetization confirmed? Move on to step 4.3 when mouse stops moving or after a certain amount of time?

Reply: 2 mL of Isofluorane is added to a covered beaker used to anaesthetize mice under ventilation hood.

“Deep anesthetization is based on the observation that breathing become steadily slow and mouse is unreactive to foot pinching.”

12. 4.3 – Please note we cannot show euthanization in our videos. Please un-highlight steps 4.2-4.3. Please provide details how ‘cervical dislocation’ is accomplished. What equipment was used.

Reply: Once the mouse is deeply anaesthetized, the mouse will be sacrificed with cervical dislocation. “Deeply anaesthetized mouse will be placed on stomach, then one hand holds skull and one hand holds shoulder to apply firm pressure to the neck to dislocate the spinal cord from the brain by pulling the tail”.

13. 4.3.1 – This should be re-numbered as 4.4. Was ethanol wiped away? Allowed to evaporate?

Reply: Yes, it has been renumbered, and excess ethanol is wiped away using paper towel.

14. 4.4 – What equipment was used? Location of incision? Length? Was peritoneum also cut at this step?

Reply: Spray 70% alcohol on the entire abdominal area to wet the fur to prevent hair flying under microscope. “Cover glass forceps and curved surgical scissors are used to make incisions. First a horizontal incision is made on the skin (~3cm), pull the skin wide open to expose the abdominal wall. Then a vertical incision (~3-4cm) on the abdominal peritoneum is made to fully expose the pancreas in abdominal cavity.”

15. 4.5 – How is bile duct identified? Directions in up/down/left/right are all relative. Presumably liver is pushed superiorly?

Reply: The concern has been addressed as: Push the superior lobes of the liver to expose the bile duct, which appears as a pale pink color tube. Carefully push the intestines away from the lumbar/iliac region of the abdominal cavity to expose the bile duct and hepatic artery.

16. 4.6 – Please refer to Figure 3 for clarity.

Reply: It has been corrected ad requested.

17. 4.7 – ‘clamp’ – how? With what equipment?

Reply: Appropriate equipment has been noted.

18. 4.8.1/4.12.1/4.16.1/4.26.2/4.33.2 – Please change this to note.

Reply: Concern has been addressed.

19. 4.9 – How is common bile duct identified? It is difficult to identify even in Figure 5. Please refer here to Figure 5 for clarity, although a clearer image is required.

Reply: a clearer picture depicting common bile duct/Ampulla of Vater has been added along with following instructions “Identify the Ampulla of Vater, which is located at the duodenal papilla, formed by the union of the pancreatic duct and the common bile duct. The ampulla of Vater appears swollen when viewed under a dissection microscope and is the entry point to the common bile duct.”

20. 4.11 – Please define slow and steady. How is proper flow rate confirmed?

Reply: Slow and steadily is defined as “enough to feel resistance”. Proper flow rate is confirmed by full inflation of splenic area of pancreas.

21. 4.12 – Please combine with 4.11. How is ‘fully inflated’ confirmed?

Reply: The following note and reference to Figure 6 has been added “NOTE: Inflation can be confirmed by the appearance of open spaces between pancreatic tissue that is filled with solution”.

22. 4.13.1 – ‘remove’ – how? Was incision made with scalpel? Please add equipment used.

Reply: The explanation depicting process of removal of pancreas has been added. “Remove the pancreas using curved and cover glass forceps (see Figure 1): starting from the spleen, pull the pancreas away from spleen and stomach, and then from the duodenum”

23. 4.13.2 – ‘chop’ – what size pieces should be made?

Reply: To increase the surface area of the tissue exposed to the collagenase, pancreases is chopped to small pieces (the size of peas), usually need to chop with scissors for 2-3 minutes.

24. 4.14/4.15/4.15.1 – How is tube rotated in water back? How is ‘homogenously digested’ confirmed?

Reply: Tubes are rotated in shaking water bath by placing them in a rack attached to the shaker. ”Homogeneity of digested pancreas is defined as a sand like appearance.  ~30 seconds of gentle hand-shaking is usually enough; hold the tube to light to examine if the tissue is well homogenized. If not, shake for another ~15 seconds if needed.” This statement has been added to protocol.

25. 4.15.1 – Please integrate with 4.15.

Reply: Concern has been addressed.

26. 4.16.1 – How long can digestion tubes be left on ice for?

Reply: Preferably not longer than 2 hours. Longer than 2 hours the islets may not be healthy.

27. 4.17/4.19//4.25/4.27 – Centrifugation temperature?

Reply: Temperature is not a factor for this step, 22C room temperature is fine.

28. 4.17.1/4.26.1 – Please do not number notes.

Reply: Concern has been addressed.

29. 4.18 – How much STOP solution was added? Please add ‘decanting’ step prior to spinning with STOP solution, since this is the order in which the steps are conducted.

Reply: 40 mL of STOP solution is poured into the tubes containing digested islets and then 20 mL after each spin.   Decanting step is added prior to spinning with solution. ”Once the islets are digested, immediately place the tubes on ice and add 40 mL of STOP solution to terminate the enzymatic digestion. Repeat the washing and centrifugation with 20 mL of STOP solution 2 more times (Decanting the solution after each spin).”

30. 4.20 – What determined 2-3 times?

Reply: Just to ensure that all the collagenase/histopaque/undigested exocrine tissue are removed efficiently.

31. 4.20.1/4.20.2 – Please integrate with 4.20.

Reply: Concern has been addressed.

32. 4.22 – Presumably vortex till homogenous?

Reply: Yes, solution is vortexed at low speed until it becomes homogenous. “Then add 5 mL of room temperature Histopaque-1077 to the 50 mL tube containing the pellet. Vortex briefly at low speed until homogenized.”

33. 4.23 – Was solution mixed?

Reply: Solution is not mixed after initial addition of 5 mL Histopaque.  Clarifications have been added “NOTE: The following steps 4.24-4.25 require the user to remain steady to endure the gradient to form without disruption. Next, add another 5 mL of Histopaque -1077 to the 50 mL tube. Do not vortex/mix.”

34. 4.24. – How was HBSS added drop by drop?

Reply: Clarification added: “Pipette 10 mL of room temp HBSS buffer into the tube (containing Histopaque), drop by drop, to allow a gradient to form.”

35. 4.26 – ‘pre-wet’ – how? Presumably pre-wet not just the outside of the pipette? Is islet layer completely removed? How much HBSS remains to prevent uptake of other layers?

Reply: Following clarification has been added: “After the spin, carefully remove the tubes without disturbing the gradient. Using a pipette gun pre-wetted with cold HBSS (pipette HBSS up and down), pipette out the layer of islets (5-10 mL) formed between Histopaque-1077 and HBSS into the new 50 mL islet collection tube. NOTE: It is necessary to wet the pipette with cold HBSS prior to pipetting the islets to prevent the islets from sticking to the inner walls of the pipette.

How much HBSS remains to prevent uptake of other layers?

In case the islets are visible in the Histopaque layer, pipette out the entire 10 mL of the Histopaque (bottom layer) along with the islet layer formed at the interface into a 50 mL islet collection tube. This will leave about 8-10 mL of top layer HBSS”

36. 4.26.2 – Do any subsequent steps change if bottom layer is collected? If not, is leaving this layer behind important?

Reply: The following has been added to clarify the reviewer’s concern, “NOTE: Collecting both the islet layer and Histopaque layer (bottom layer) can result in the debris contamination, which will make the islet picking more challenging. Collecting both these layers is not necessary if islet layer is well formed.”

37. 4.29.1 – Please integrate with 4.29

Reply: Concern has been addressed.

38. 4.31 – Presumably FBS, INS-1, and penicillin/streptomycin were already added and not further supplemented? Please clarify.

Reply: Yes, the formulation of this media is described which should be prepared beforehand, clarification and reference to this step has been added.

39. 4.32 – Please define ‘gently shaking’. Please specify media on line 229 for washing tube.

Reply: “Gently shake” has been changed to “gently swirl” as it is more accurate description of the procedure used.

40. 4.33.1 – Please integrate with 4.33. Please provide settings used for dissection microscope.

Reply: Magnification of dissection microscope is 12.5X – 16.0X.

41. 4.34 – Please provide reference for freezing protocol.

Reply: Once islets are frozen they cannot be used for in vitro experiments (secretion assays), can only be used for RNA and protein quantification. To collect islets to freeze, collect all islets in 200-500 uL of HBSS buffer, then transfer to 1.5 mL tube, then centrifuge 350g for 1-2 minutes to remove supernatant. Place islet pellet in -20 C for short term storage (several days) or -80 C for long term storage.

• Protocol Language: Please ensure that all text in the protocol section is written in the imperative tense as if you are telling someone how to do the technique (i.e. ‘Do this’, ‘Measure that’, etc.). Any text that cannot be written in the imperative tense may be added as a ‘Note’, however, notes should be used sparingly and supplement the protocol step.

Reply: Concern has been addressed.

• Protocol Highlight: After you have made all the recommended changes to your protocol, please re-evaluate the length of your Protocol section. There is a 10-page limit for the Protocol section excluding figures and tables. Please highlight up to 2.75 pages of text in yellow (including headings and spaces), to identify which steps should be visualized/filmed to tell the most cohesive narrative of the protocol. Please see JoVE’s instructions for authors for more clarification. Remember that the non-highlighted protocol steps will remain in the manuscript and therefore will still be available to the readers.
1. You may highlight portions of a protocol step, but must highlight complete sentences.
2. Notes cannot be filmed and should be excluded from highlighting.
3. Please revise title to reflect highlighted content only.

• Figures/Legends:
1. Figure 3-6 – It may be useful for readers to also label pancreas and duodenum for clarity.

Reply: Figures where it is applicable have had pancreas/duodenum labels added.

2. Figure 3 – Please label the bile duct and hepatic artery bundle separately for clarity.

Reply: Figures where it is applicable have had bile duct/hepatic artery labels added.

3. Figure 4 – Please provide new image as Ampulla of Vater is difficult to identify.

Reply: A better image of the ampulla has been added.

4. Figure 5 – Please provide a different image where the common bile duct is easily identifiable. This may require changing the angle of the light, the angle of the camera, or lower light intensity.

Reply: A better image where the common bile duct is easily identifiable has been added.

5. Figure 8 – Please make scale bars easy to read. Does panel C use the same scale bar?

Reply: Scale bar is the same for all images, scale bar has been added.

• Discussion: JoVE articles are focused on scientific protocols. Thus, the discussion should be similarly focused. Please ensure that the discussion covers:
1. modifications and troubleshooting
2. critical steps within the protocol
3. limitations of the technique
4. significance with respect to existing protocols
5. future applications
6. Please do not use bullets in this section.

• References: Please make sure that your references comply with JoVE instructions for authors. Citation formatting should appear as follows: (For 6 authors or less list all authors. For more than 6 authors, list only the first author then et al.): [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source. Volume (Issue), FirstPage – LastPage, doi:DOI (YEAR).]
1. Please remove ‘&’ when listing authors for a reference.
2. Please abbreviate all journal titles using ISO standard.
3. Please include volume, and issue numbers for all references.

• Commercial Language: JoVE is unable to publish manuscripts containing commercial language, including trademarks (™), registered trademark symbols (®), and company brand names. Please replace all commercial language in your manuscript with generic names that are not company-specific. All commercial products should be sufficiently referenced in the Materials Table. You may add the generic name(s) under the comments section of the Materials Table for clarification. Examples of commercial language in your manuscript include Histopaque, RNaseZap, etc.

• Materials Table: Please revise the table to include supplies, reagents, and equipment. The table should include the name, company, and catalog number of all relevant materials/software in an .xls/.xlsx file. It should include a comments column to clarify generic names in manuscript. Please include items such as surgical tools, all reagents and solutions in steps (1) and (2), 50 mL tubes, RNaseZap, adsorbent pad, isoflurane, dissection microscope, surgical equipment, syringe, needles, 100 mm Petri dish, etc.

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [AUTHOR] et al.[REFERENCE]”

Comments from Peer-Reviewers: 

Reviewer #1: 
Manuscript Summary:
This manuscript provides a simplified mouse islet isolation and purification method that will be of great interest to islet biology field. The protocol described a novel route of injecting collagenase P via the Ampulla of Vater to digest the exocrine tissue, thus greatly reducing the complexity of islet isolation techniques. The protocol is described in details so that it can be easily followed.

Minor Concerns:
In Discussion section, it would be interesting to know how long the isolated islets can be cultured in vitro and how many folds of insulin can be secreted by the isolated islets in response to high glucose stimulation.
Line 40, due combination, missing "to".
Line 42, in This protocol high produces high yield islets, first "high" should be deleted.,
Line 65, et al, missing name

Reply: We appreciate the reviewer’s insightful critiques and comments. Typo errors associated have been corrected. We have only cultured them overnight for insulin secretion experiments.

We noted in revision: The islets isolated from this protocol has been used successfully to study glucose stimulated insulin secretion ex vivo  in our previous publication ((Pradhan, G. et al. Sci Rep. 7:, 979, 2017). 22.2mM glucose induced insulin secretion can be 4-fold higher than that of baseline (3.3mM). These results were achieved after overnight incubation in 5.5mM glucose RPMI-1640 complete media.

The current protocol has not been tested for prolonged incubation (2-7 days). Others have cultured islets for 2-7 days (Do, O. et all. Lepr(db) mouse model of type 2 diabetes: pancreatic islet isolation and live-cell 2-photon imaging of intact islets. J Vis Exp. 99, e52632, 2015; Phelps, E. A. et al. Advances in Pancreatic Islet Monolayer Culture on Glass Surfaces Enable Super-Resolution Microscopy and Insights into Beta Cell Ciliogenesis and Proliferation. Scientific Reports 7: 45961. 2017).

Reviewer #2:
Manuscript Summary:
It is a well written and easy to follow protocol for isolation of pancreatic islets from mice. The protocol is better than existing ones.

Major Concerns:
None

Minor Concerns:
Pay attention to some typos and grammatical in the Abstracts.

Reply: We appreciate the reviewer’s kind comments, we have carefully corrected the typos and grammatical errors we find.

Reviewer #3:
Manuscript Summary:
I have read with great interest the manuscript entitled, "A simplified high-efficacy protocol for isolation of pancreatic islets from mice", by Villarreal and colleagues. The manuscript is well written and easy to read. The authors should address the following one major point and one minor issue.
I am so surprised and disappointed with Figure 2 which shows incorrect pancreas anatomy in mice. The pancreas shown in Figure 2 appears to be human pancreas, not mouse pancreas. The authors should learn the differences in pancreas anatomy between human and mouse. Please read the following 2 published papers.
Changes in the mouse exocrine pancreas after pancreatic duct ligation: a qualitative and quantitative histological study. Arch Histol Cytol. 1995 Aug;58(3):365-74
Structural similarities and differences between the human and the mouse pancreas. Islets. 2015;7(1):e1024405
The authors should definitely replace Figure 2 with the correct one.

Reply: We apologize for the oversight, we greatly appreciate the reviewer’s critique. We have redrawn the schematic diagram based on the papers kindly shared by the reviewer.

My another concern is about warm ischemia. The authors sacrificed the mice with cervical dislocation prior to surgery. This approach is unusual. The most researches sacrifice the mouse after intraductal distension of the pancreas (and just prior to pancreatectomy) by means of cardiac puncture so that the pancreas is subjected to minimum warm ischemia time. The authors should describe why they took the unusual approach.

Reply: The reviewer raises a very good question. In our initial studies, we perfused the pancreas while the mouse was under anesthesia (isofluorane), followed by cutting the hepatic artery and pancreatectomy. In this approach, excision of the perfused pancreas was challenging due to the excessive bleeding from the hepatic artery. Also it was difficult to inject the collagenase into the Ampula of Vater due to the heavy breathing. So, in this protocol we have choose our current approach.

Similar to our protocol, Do et al. sacrificed the mice by either cervical dislocation or CO2 asphyxiation prior to exposing the abdominal cavity for islet perfusion. (Ref: J Vis Exp. 2015; (99): 52632). Further in the paper by Neuman et al., the mouse was completely euthanized by opening the thoracic activity and cutting the aorta before perfusion of the pancreas to isolate islets (Ref: J Vis Exp. 2014; (88): 50374). In the book titled ‘Pancreatic islet isolation: From the mouse to the clinic’ by Miriam Ramírez-Domínguez, the author recommends euthanization of the mouse by cervical dislocation or CO2 before proceeding with the islet isolation.

Reviewer #4:
Manuscript Summary:
This manuscript provides a detailed protocol for isolating pancreatic islets from mice, which is useful to the islet/diabetes research community. Isolating good quality islets is critical and impacts significantly on the quality of the research conducted. While there are several published protocols on islet isolation, this detailed protocol provides an excellent guide for islet isolation. Publication is recommended after addressing the below comments.

Major Concerns:
- A clear time estimate for completing the "procedure" (i.e., steps 4.2 - 4.34) with a specific number of mice (pancreata) should be provided.

Reply: We normally collect islets and a wide range of other central and peripheral tissues from 4-6 mice at a time. Following is the estimated time for collecting pancreatic islets from 6 mice by an experienced technician: 1. Excise and digestion of pancreas can be done in 30 minutes (~5 minutes/mouse) if all materials are prepared beforehand (eg, absorbent pads, syringes filled, 50 ml tubes filled with collagenase etc). 2. Pancreatic excision and digestion can be completed in 45-50 minutes. The centrifugation/washing steps may take 1 hour. 3. The gradient step requires slow, steady application of Histopaque and HBSS, which can take 1-1.5 hours.  4. The last step of islet picking time is highly variable depend on the amount and quality of islets. If digestion and separation are optimal, it normally takes 1-1.5 hours.  (If digestion and separation are poor it will take more time to pick islets because one has to remove exocrine debris from islets, it can take 2-2.5 hrs). Thus normally it takes 3-4 hours in total for an experienced technician to collect islets from 6 mice. Comparing to other protocols involving multiple gradients, our sigle gradient purification procedure reduces the time and labor.

- The authors should comment in the manuscript on the time that would be needed to isolate islets with their method from larger numbers of mice (e.g., >15) as would be commonly needed for transplantation applications.

Reply: For research purpose, we normally not collect islets from mice greater than 8 mice per day to ensure the quality of the islets.  However, if an additional person is available to assist, and there are additional centrifuge and dissecting scope, the group should be able to handle bigger number of mice, the time needed per mouse can be significantly reduced.

- The authors should comment why they combine the hand-picking step with the gradient step? This seems redundant as hand-picking is commonly done to bypass the gradient step...

Reply: In our protocol, we collect the entire volume of the HBSS (8-10ml) and the gradient layer (8-10ml) after carefully pipetting the formed islet layer. This leads to collection of islets that are dispersed in the gradient layer (due to incomplete separation) along with the islet layer, which helps to increase the overall islet yield. As a tradeoff, some debris and undigested exocrine tissue may be pipetted in as well. So, we use an additional step of hand-picking after the gradient step to increase the islet yield, and to obtain high quality islets (devoid of debris or exocrine tissue).

- Data on islet viability after Histopaque should be provided.

Reply: Islet viability using current protocol has been demonstrated in our previous publication (Pradhan, G. et al. Sci Rep. 7:, 979, 2017), we showed that the islets are fully functional in glucose stimulated insulin secretion, as well as RNA and protein expression studies.

- The authors should comment whether islets are found in the pellet during step 4.26.

Reply: Islets can be found on the surface of the pellet but not within the pellet itself.

- In step 4.26.2, the sentence "In case the islets are visible in the Histopaque layer" should changed to the following "In case the separation is incomplete and islets are visible in the Histopaque layer" to indicate clearly that this is a contingency step to recover the islets after failure to separate in the 1st gradient.

Reply: The point is well taken, the text has been revised per reviewer’s suggestion.

- The authors should reduce the emphasis on "high yields" in in the manuscript, as 300-350 islets/mouse is consistent with other isolation methods. Also, claims of simplicity/time-efficiency should also be dampened as the final step of islet hand-picking adds significant time requirements to this method; according to the authors, "it may take roughly an hour to pick 300-350 islets from 1 mouse", thus, the hand-picking step might add a few more hours with the recommended 4-6 mice per isolation, let alone in larger isolations (>10 mice).

Reply: We have turned down our statement accordingly.

Minor Concerns:
- Correct typographic errors in the manuscript to ensure correct execution of the protocol (e.g., line #162).
- Author name is missing in line #65.

Reply: Minor concerns have been addressed.

We greatly appreciate the reviewer’s critical inputs, which has helped us to improve the manuscript dramatically.