## Materials and Suppliers
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Teklad Diets/Harlan Labs Chow | Harlan Labs | 3980X | Standard irradiated chow formulated by Dr. Mario Capecchi in collaboration with Harlan Labs.
Cell-Sorb Plus bedding | Fangman Specialties | 82010 | Autoclave prior to use.
AIMS Tattooing System For Neonates | AIMS | NEO-9 | https://animalid.com/neonate-rodent-tattoo-identification/32. Other animal grade tattoo systems and inks can be used with similar results including the Aramis Micro Tattoo Kit.
Zyfone One Cage 2100 AllerZone Mouse Micro-Isolator System Complete with cage, AllerZone filter top and modular diet delivery system | Lab Products | 82120ZF | Each EE cage requires one of each catalog # 82120ZF, 82100ZF, and 82101ZF, as well as two of 82109ZF. Food is only in one side.
Zyfone One Cage 2100 Life Span Enrichment Device | Lab Products | 82109ZF | Each EE cage requires one of each catalog # 82120ZF, 82100ZF, and 82101ZF, as well as two of 82109ZF. Food is only in one side.
Zyfone One Cage 2100 Cage 13-7/8" Length X 19-1/16" Width X 7-3/4" Depth | Lab Products | 82100ZF | Each EE cage requires one of each catalog # 82120ZF, 82100ZF, and 82101ZF, as well as two of 82109ZF. Food is only in one side.
Zyfone One Cage 2100 AllerZone Micro-Isolator filter top | Lab Products | 82101ZF | Each EE cage requires one of each catalog # 82120ZF, 82100ZF, and 82101ZF, as well as two of 82109ZF. Food is only in one side.
Tunnel | Bio-Serv | K3323 or K3332 | Connect cages together and use for enrichment
Grommet to connect Tunnel to cages | Fabricated by the University of Utah Machine Shop | n/a | Be certain the material is resistant to chewing and autoclavable
Fast-track wheel | Bio-Serv | K3250 or K3251 | Use with mouse igloo and floor
Mouse Igloo | Bio-Serv | K3328, K3570 or K3327 | Use with Fast-track wheel and floor
Mouse Igloo floor | Bio-Serv | K3244 | Use with mouse Igloo and Fast-Track
Mouse Hut | Bio-Serv | K3272, K3102 or K3271
Crawl Ball | Bio-Serv | K3330 or K3329
Bio-hut | Bio-Serv | K3352 | Wood pulp hut used for sheltering and nesting
Adhesive film | VWR | 60941-072 | Use to temporarily cover drilled hole in large cage to prevent mice from escaping
Laminar Flow Ventilated Rack | Techniplast | Bio-C36 | The cabinet we used in this study is not currently supplied. The Bio-C36 is very similar.
1.5 mL Microfuge Tube- RNAse and DNAse free | Any supplier
QIAamp DNA Stool MiniKit | Qiagen | 51504 | This kit supplies reagents for 50 DNA preparations. Stool Lysis Buffer=ASL; Guanidinium Chloride Lysis Buffer= AL; Wash Buffer 1 with Guanidinium Chloride= AW1; Wash Buffer 2= AW2; Elution Buffer with EDTA=AE
Waterbath (capable of heating to 95) | Any supplier |  | For 94 degree incubation of stool samples to lyse cells.
Waterbath (capable of heating to 70 degrees) | Any supplier |  | For 70 degree incubation of stool samples
Ethanol (200 proof) | Sigma Aldrich | E7023
Fluorometer: Qubit | ThermoFisher Scientific | Q33216
Qubit dsDNA broad Range Assay Kit | ThermoFisher Scientific | Q32850
EB Buffer or 10 mM Tris pH 8.5 | Qiagen | 19086
Experiment specific primers | Any Supplier
PCR grade water | Any supplier
2X KAPA HiFi HotStart Ready Mix | Kapa Biosystems | KK2601 | For Amplicon Amplification (1.25 mL allows 100 rxns).
Agarose for running diagnostic gels | Any supplier
TapeStation High Sensitivity D1000 Screen Tape Trace | Agilent | 5067-5583 | TapeStation or Bioanalyzer instruments are common in Institutional Genomics Cores to analyze library quality . Alternatively a Bioanalyzer DNA1000 Chip (Agilent, 5067-1504) can be used.
Agencourt AMPure XP Magnetic Beads | Beckman Coulter | A63880 | Magentic beads For PCR cleanup- 5 mL will clean 250 PCR reactions
Magnetic stand | Life Technologies | AM10027
Library Preparation Guide | Illumina |  | Illumina. 16S Metagenomic Sequencing Library Preparation: Preparing 16S ribosomal RNA Gene Amplicons for the Illumina MiSeq System. https://support.illumina.com/content/dam/illumina-support/documents/documentation/chemistry_documentation/16s/16s-metagenomic-library-prep-guide-15044223-b.pdf.
Unique Dual Indexing | Illumina | Illumina Experiment Manager Software | Freely available at: https://support.illumina.com/sequencing/sequencing_software/experiment_manager/downloads.html
Nextera XT 96 Index Kit | Illumina | FC-131-1002 | Used to add barcodes to amplicons
MicroAmp Optical 96-well reaction plate | Applied Biosystems/ThermoFisher | N8010560
TruSeq Index Plate Fixture | Illumina | FC-130-1005
Adhesive clear plate seal | Applied Biosystems /ThermoFisher | 4360954 | Applied Biosystems/ThermoFisher Microamp adhesive film
Sequencing by MiSeq with v3 reagents and dual 300 bp reads | Illumina | MS-102-3003
PhiX Control Kit | Illumina | FC-110-3001
Proteinase K (600 mAU/ml) | Qiagen | 19131 | Equivalent to 20 mg/ml of proteinase K. Supplied with QiaAmp kit
Data Analysis Tools | Qiime | QIIME software Tools | Installation may differ based on your system and the QIIME website describes several options (http://qiime.org/install/install.html). For this study, MacQIIME software package 1.9.1 was utilized (compiled by Werner Lab, SUNY, http://www.wernerlab.org/software/macqiime
Step 13.2. | Qiime | FastQ Join method | (http://code.google.com/p/ea-utils ). For this study Multiple join paired ends was used http://qiime.org/scripts/multiple_join_paired_ends.html. Aronesty, E. ea-utils: Command-line tools for processing biological sequencing data. Expression Analysis, Durham, NC. (2011).
Step 13.3. | Qiime | De-Novo OTU picking protocol | http://qiime.org/scripts/pick_de_novo_otus.html.
Step 13.3.1. |  | Open Taxonomic Units (OTUs) using Uclust | Edgar, R.C. Search and clustering orders of magnitude faster than BLAST. Bioinformatics. 26 (19), 2460-2461, doi:10.1093/bioinformatics/btq461 (2010).
Step 13.3.1. | Pynast | Pynast | Caporaso, J.G. et al. PyNAST: a flexible tool for aligning sequences to a template alignment. Bioinformatics. 26 (2), 266-267, doi:10.1093/bioinformatics/btp636 (2010).
Step 13.3.1. | Pynast | Pynast_Greengenes | DeSantis, T.Z. et al. Greengenes, a chimera-checked 16S rRNA gene database and workbench compatible with ARB. Appl Environ Microbiol. 72 (7), 5069-5072, doi:10.1128/AEM.03006-05 (2006). Greengenes version 13_8 was used in this study
13.3.1. Note: | Qiime | Multiple Split Libraries | http://qiime.org/scripts/multiple_split_libraries_fastq.html.
13.3.1. Note: | Qiime | Pick de novo OTUs script | http://qiime.org/scripts/pick_de_novo_otus.html
Step 13.2.2. | Qiime | Create a mapping file | http://qiime.org/documentation/file_formats.html.
Step 13.2.2. | Qiime | Validate a mapping file | http://qiime.org/scripts/validate_mapping_file.html.
Step 13.3.3. | Qiime | Link the OTU to sample description to mapping file | http://qiime.org/scripts/make_otu_network.html.
Step 13.3.4. | Qiime | Summarize Taxa through plots | http://qiime.org/scripts/summarize_taxa_through_plots.html.
Step 13.3.5. | Qiime | Biome Summarize table | http://biom-format.org/documentation/summarizing_biom_tables.html In this study, all samples were rarified to 20,000 OTUs followed by analysis using alpha rarefaction script in QIIME.

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=