Submission ID #: 57199
Editor Name: Michael Linnes
Videographer name: Kathy Stannard
Film Date: Dec. 11th, 2017
Link: http://www.jove.com/files_upload.php?src=17445743
Authors and Affiliations: Charlotte A. Scarff1, Martin J. G. Fuller2, Rebecca F. Thompson2, and Matthew G. Iadanza1

1 Astbury Centre for Structural Molecular Biology 2 Astbury Biostructure Laboratory, University of Leeds
Title: Variations on Negative Stain Electron Microscopy Methods: Tools for Tackling Challenging Systems

Corresponding Author: 

Matthew G. Iadanza (M.Iadanza@leeds.ac.uk)

Tel: +44 0113 343 4370

Co-authors:

Charlotte A. Scarff (C.A.Scarff@leeds.ac.uk)

Martin J. G. Fuller (M.J.G.Fuller@leeds.ac.uk)

Rebecca F. Thompson
(R.F.Thompson@leeds.ac.uk)

Questionnaire:

A.  Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)___NO_____   
B.   Software Usage: Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___NO_____ 
Author: Please fill out Question C and D prior to the film date.
C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. ___________________________________________ 
D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) ___________________________ 
E.  Will the filming need to take place in multiple locations? (Y/N)  N
1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words. 
A. Experimental Goal: (read by voice talent at JoVE) 
The overall goal of this video is to demonstrate several different variations on techniques for preparing negative stain transmission electron microscopy samples.
B.  Required Interview Statements: (Said by you on camera. Don’t forget to smile.) 
1.1. Matt Iadanza: Negative stain EM is the best way for rapidly assessing the quality of an EM sample.
1.2. Matt Iadanza: It is important to recognize that different grid preparation techniques work better for different samples.  

1.3. Rebecca Thompson: Which technique works best for any given sample must be determined by trial and error.    

Protocol: (read by voice talent at JoVE) 
2. Adsorbing Samples to the Carbon Substrate 

2.1. To begin, prepare the EM grids using the carbon sheet method [1-MED] and prepare the negative staining reagents as described in the accompanying text protocol.[2-MED-TXT]
2.1.1. Talent sets grids next to microscope slides. 

2.1.2. Talent prepares/mixes reagents. (TEXT: *See accompanying text protocol for details)
2.2. Place a carbon sheet coated EM grid facing up on a microscope slide.[1-ECU]  Set the slide into a glow discharge unit and treat the grid for a minimum of 30 seconds at 10 mA to render the grid hydrophilic. [2-CU]
2.2.1. *Film as written
2.2.2. While filming the chamber, talent activates the glow discharge.
2.3. When finished, remove the sample from the discharge unit. [1-MED] Then, use a pair of negative pressure tweezers to grip the edge of the grid.[2-CU]
2.3.1. *Film as written
2.3.2. *Film as written
3. Staining using the Side Blot Method 

3.1. To stain using the side blot method, first apply 3-5 µL of the sample to the support surface.  Allow the sample to adsorb to the grid surface for 10 seconds to 1 minute… Then, touch the edge of the grid to a sheet of filter paper and allow capillary action to pull off the liquid. [1-CU-TXT]
3.1.1. Talent applies the sample to the grid, waits 5 seconds, then touches the edge of the grid to filter paper. (TEXT: *Optimize the adsorption time for individual samples.)
3.2. Next, place 50 µL drops of ultrapure water or an appropriate volatile buffer solution on a sheet of laboratory film. [1-CU]
3.2.1. *Film as written
3.3. Gently touch the carbon surface of the grid to the drop and lift off a small droplet onto the surface of the grid… Then, touch the edge of the grid to a sheet of filter paper and allow capillary action to pull off the liquid. [1-CU-TXT]
3.3.1. Talent touches the grid to a drop, lifts it, and then touches the edge of the grid to a sheet of filter paper. (TEXT: Repeat until sample has been thoroughly washed)

3.4. Next, place two 50 µL drops of staining reagent on a sheet of laboratory film.  [1-MED-TXT] Gently touch the carbon surface of the grid to the drop and lift off a small droplet onto the top surface of the grid.  [2-CU]
3.4.1. Talent places drops on the film. (TEXT: *See the accompanying text protocol for reagent preparation details)
3.4.2. *Film as written
3.5. Rebecca Thompson: “If the stain migrates to the back of the grid, then the carbon film on the grid has been broken and it should be discarded.”[1-INT]
3.5.1. Talent says the above statement interview style
3.6. After 10 to 15 seconds, touch the edge of the grid to a sheet of filter paper and allow capillary action to draw off the liquid. Repeat this staining step one more time and then allow the grid to air dry. [1-CU]
3.6.1. Talent draws off the liquid and repeats the staining step before placing the grid to the side to dry.
4. Staining using the Flicking Method 

4.1. To stain the sample using the flicking method, grip the edge of the grid with a pair of negative pressure tweezers and apply 3 to 5 µL of sample to the support surface. [1-CU]
4.1.1. Talent grips the grid and adds sample to the surface.
4.2. Holding the tweezers in one hand, angle the grid so that it is at approximately 45° facing away and rapidly flick the wrist to ‘flick off’ [1-MED] the majority of the droplet that is on top of the grid.[2-CU]
4.2.1. Talent flicks their wrist

4.2.2. Closeup showing the result of the “flick”.
4.3. Then, use a glass Pasteur pipette to apply a drop of wash solution to the support surface. [1-CU] ‘Flick off’ the drop and repeat a few times to wash the sample. [2-MED]
4.3.1. *Film as written
4.3.2. *Film as written
4.4. Next, apply a drop of staining reagent to the support surface and again ‘flick off’ the droplet.  Repeat this staining step 1 to 3 times depending on stain depth that is required for visualization of the specimen. [1-CU]
4.4.1. Talent adds drop of stain to the surface, flicks it off and repeats.
4.5. Remove excess stain by touching the torn edge of a piece of filter paper to the edge of the grid and then allow the grid to air dry. [1-CU]
4.5.1. Talent touches the edge to filter paper and sets grid to air dry.

5. Staining using the Rapid Flushing Method 

5.1. To stain the sample using the rapid flushing method, first draw 30 to 70 µL of stain into the tip of a 200 µL pipette.  [1-CU]
5.1.1. *Film as written 
5.2. Turn the volume dial to draw up 5 µL of air, then draw up 5 to 30 µL of the wash reagent followed by another small air gap before another 5 µL of sample. [1-CU]
5.2.1. Talent draws up the solutions in the order listed
5.3. Grip the edge of a grid with a pair of negative pressure tweezers and angle the grid approximately 45° facing away. [1-CU] In one swift motion, eject the entire contents of the pipette tip across the face of the carbon-coated EM grid. [2-ECU]
5.3.1. *Film as written
5.3.2. *Film as written
5.4. Remove excess stain by touching the torn edge of a piece of filter paper to the edge of the grid and allow the grid to air dry.  [1-CU]
5.4.1. *Film as written
6. Results: The Ideal Negative Stain for EM is Sample Dependent  
6.1. The ideal choice for a negative stain is highly sample dependent. The most commonly used stain is uranyl acetate, but lanthanide stains can also used. [1-LM]
6.1.1. Figure 1 all panels (Video Editor: Label the panels (A) 1% Uranyl Formate (B) 2.5% Thulium Acetate (C) 2.5% Erbium Acetate (D) 1% Uranyl Acetate (E) 2.5% Gadolinium Acetate, and (F) 2.5% Samarium Acetate. Highlight panel D with the words “uranyl acetate” and panels E/F with “lanthanide stains”.)

6.2. For deeply embedded samples, lanthanide based stains Thulium Acetate and Erbium Acetate produced negative staining of equivalent quality to Uranyl Acetate as judged by the apparent contrast and sharpness of the stained particles, with Thulium Acetate producing clearer, and crisper images than Erbium Acetate. [1-LM]
6.2.1. Figure 1b,c,d (Video Editor: Highlight the 3 panels that are mentioned and rearrange them on the screen so that Figure 1b is on the left, Figure 1c is in the middle, and 1d is on the right, appearing larger than before.  Retain their labels as: (B) 2.5% Thulium Acetate (C) 2.5% Erbium Acetate (D) 1% Uranyl Acetate.  Briefly highlight the appropriate panels when mentioned by the voice talent.)
6.3. The large grain size of Thulium Acetate becomes apparent at high magnification, shown here when a sample of tobacco mosaic virus particles were stained with 1% Thulium Acetate. [1-LM]
6.3.1. Figure 2a (Video Editor: add a label for the scale bar which is = 20 nm)

6.4. Using Thulium Acetate, the 23 angstrom repeat of the tobacco mosaic virus particle is clearly visible by eye. [1-LM] None of the other lanthanide stains tested, were able to resolve this feature. [2-LM]
6.4.1. Figure 2a (Video Editor: add a label for the scale bar which is = 20 nm)

6.4.2. Figure 2b (Video Editor: Label this image “Class Averages”. Label the size of one of the ring repeats as “23 Å”)

6.5. Another difficult sample to image is the muscle derived C-protein.  This sample produces significantly different images depending on the staining method.  When stained with the side blot method, it appears as a globular, collapsed ring-like structure. [1-LM]
6.5.1. Figure 3a/b (Video Editor: Label Figure 3A as “Side Blot Method” and Figure 3b as “Flicking Method”. Add values to the upper panel scale bars of “50 nm”, and values to the lower panel scale bars of “20 nm”. Highlight the lower 3 images of Figure 3a with the last sentence.)
6.6. When grids are prepared by the flicking method the C-protein is observed as a series of domains that resemble beads on a string. This better represents the actual C-protein structure.  [1-LM]
6.6.1. Figure 3a/b (Video Editor: Label Figure 3A as “Side Blot Method” and Figure 3b as “Flicking Method”. Add values to the upper panel scale bars of “50 nm”, and values to the lower panel scale bars of “20 nm”. Highlight the lower 3 images of Figure 3b.)
2. Conclusion (said by authors on camera) 
2.1. Matt Iadanza: Once mastered, it only takes about a minute to prepare a negatively stained sample.

2.2. Rebecca Thompson: It’s important to remember that samples respond differently to the different staining techniques.  The best method for a new sample needs to be determined experimentally.
2.3. Matt Iadanza: Don't forget that uranyl staining reagents are toxic and slightly radioactive.  Make sure they are disposed of in an appropriate waste stream. 
( 2017, Journal of Visualized Experiments


