## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
NaVX EnSite Precision 3 D cardiac mapping system | Saint Jude Medical
EnSite Precision Surface Electrode Kit | St. Jude Medical | EN0020-P
Ampere RF Ablation generator | St. Jude Medical | H700494
EP-4, Cardiac Stimulator | St. Jude Medical | EP-4I-4-110
LabSystem PRO EP recording system, v2.4a | Boston Scientific
octapolar diagnostic catheter, EP-XT | Bard | 200797 | electrode spacing 2-10-2
supreme quadripolar diagnostic catheter | St. Jude Medical | 401441 | electrode spacing 5-5-5
Agilis NxT 8.5F, 71/91 cm steerable sheath, large curl | St. Jude Medical | G408324
BRK transseptal needle, 98 cm | St. Jude Medical | 407206
livewire duodecapolar diagnostic catheter | St. Jude Medical | 401908 | electrode spacing 2-2-2
quadripolar irrigated tip ablation catheter, TactiCath SE | St. Jude Medical | A-TCSE-F | electrode spacing 2-2-2 with pressure sensor
Cool Point pump for irrigated ablation | St. Jude Medical | IBI-89003
Cool Point tubing set | St. Jude Medical | 85785
GEM PCL Plus Instrumentation laboratory | IL Werfen India Pvt. Ltd. |  | activated clotting time measurement device
X-ray equipment | Philips
Heartstart XL defibrillator and associated patches | Philips | 861266
12 F Fast-Cath sheath | St. Jude Medical | 406128
Avanti + 6 F sheath | Johnson-Johnson | 504-606X
Avanti + 5 F sheath | Johnson-Johnson | 504-605X
BD Arterial Cannula | Becton Dickinson | 682245
Isozid®-H gefärbt | Novartis

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=