# 57789 Lobovkina redos

4.3 To avoid clogging the pipette tip, filter a 5 milliMolar calcium chloride solution in HEPES buffer solution using a 
0.2 to 0.5 micron syringe filter prior to usage 

4.5 After starting the injection pump, adjust the settings on the injection pump to a 20 hectoPascal injection pressure. 
Also set a 5 hectoPascal compensation pressure

5.3. To translate the MTPS along the GUV surface, slowly move the pipette tip around the GUV surface 
using the fine micromanipulator.

6.1. A representative fluorescent microscopy image of a GUV-MLV complex immobilized on the surface of a glass 
cover slip is shown here