## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
BD FACSCanto II flow-cytometer | BD Biosciences, CA, USA | SN: V33896301336 | 3-laser, 4-2-2 configuration | Filters and mirrors details: https://www.bdbiosciences.com/documents/BD_FACSCanto_II_FilterGuide.pdf
Awel C48-R Centrifuge | AWEL Industries, FR | SN: 910120016; Model No: 320002001 | low speed centrifuges; capacity 60 FACS tubes
Pipetts of 10µl and 200µl
Pasteur pipettes
15 mL Falcon tubes
polypropylene tube for FACS
Mouse Anti-Human HLA-DR | BD Biosciences, CA, USA | 655874 | clone L243 Mouse BALB/c IgG2a, κ | Fluorochrome Horizon V450 (Ex max 404 nm/ Em max 448 nm)
Mouse Anti-Human CD45 | BD Biosciences, CA, USA | 560777 | clone HI30 Mouse IgG1, κ Mouse BALB/c IgG2a, κ | Fluorochrome Horizon V500 (Ex max 415 nm/ Em max 500 nm) (Ex max 415 nm/ Em max 500 nm) (Ex max 404 nm/ Em max 448 nm)
Mouse Anti-Human CD16 | BD Biosciences, CA, USA | 656146 | clone CLB/fcGran1 Mouse BALB/c IgG2a, κ | Fluorochrome FITC (Ex max 494 nm/ Em max 520 nm)
Mouse Anti-Human CD13 | BD Biosciences, CA, USA | 347406 | clone L138 Mouse BALB/c X C57BL/6 IgG1, κ | Fluorochrome PE (Ex max 496 nm/ Em max 578 nm)
Mouse Anti-Human CD34 | BD Biosciences, CA, USA | 347222 | clone 8G12 Mouse BALB/c IgG1, κ | Fluorochrome PerCP-Cy5.5 (Ex max 482 nm/ Em max 678 nm)
Mouse Anti-Human CD117 | BD Biosciences, CA, USA | 339217 | clone 104D2 Mouse BALB/c IgG1 | Fluorochrome PE-Cy7 (Ex max 496 nm/ Em max 785 nm)
Mouse Anti-Human CD11b | BD Biosciences, CA, USA | 333143 | clone D12 Mouse BALB/c IgG2a, κ D12 Mouse BALB/c IgG2a, κ | Fluorochrome APC (Ex max 650 nm/ Em max 660nm
Mouse Anti-Human CD10 | BD Biosciences, CA, USA | 646783 | clone HI10A Mouse BALB/c IgG1, κ | Fluorochrome APC-H7 (Ex max 496 nm/ Em max 785nm)
Mouse Anti-Human CD35 | BD Biosciences, CA, USA | 555452 | clone E11 Mouse IgG1, κ | Fluorochrome FITC (Ex max 494 nm/ Em max 520 nm)
Mouse Anti-Human CD64 | BD Biosciences, CA, USA | 644385 | clone 10.1 Mouse BALB/c IgG1, κ | Fluorochrome PE (Ex max 496 nm/ Em max 578 nm)
Mouse Anti-Human CD300e | Immunostep | IREM2A-T100 | clone UP-H2 Mouse BALB/c IgG1, k | Fluorochrome APC (Ex max 496 nm/ Em max 578 nm)
Mouse Anti-Human CD14 | BD Biosciences, CA, USA | 641394 | clone MoP9 Mouse BALB/c IgG2b, κ | Fluorochrome APC-H7 (Ex max 496 nm/ Em max 785nm)
Mouse Anti-Human CD36 | BD Biosciences, CA, USA | 656151 | clone CLB-IVC7 Mouse IgG1, κ | Fluorochrome FITC (Ex max 494 nm/ Em max 520 nm)
Mouse Anti-Human CD105 | BD Biosciences, CA, USA | 560839 | clone 266 Mouse BALB/c IgG1, κ | Fluorochrome PE (Ex max 496 nm/ Em max 578 nm)
Mouse Anti-Human CD33 |  | 345800 | clone P67.6 Mouse BALB/c IgG1, κ | Fluorochrome APC (Ex max 496 nm/ Em max 578 nm)
Mouse Anti-Human CD71 | BD Biosciences, CA, USA | 655408 | clone M-A712 Mouse BALB/c IgG2a, κ | Fluorochrome APC-H7 (Ex max 496 nm/ Em max 785nm)
Lysing Solution 10X Concentrate (IVD) | BD Biosciences, CA, USA | 349202
FACSFlow Sheath Fluid | BD Biosciences, CA, USA | 342003
FACSDiva CS&T IVD beads | BD Biosciences, CA, USA | 656046
RAINBOW CALIBRATION PARTICLES, 8 PEAKS | Cytognos, Salamanca, Spain | SPH-RCP-30-5A | lots EAB01, EAC01, EAD05, EAE01, EAF01, EAG01, EAH01, EAI01, EAJ01, EAK01
Compensation Particles Multicolor CompBeads (CE/IVD) | BD Biosciences, CA, USA | ref. #51-90-9001229 + #51-90-9001291
Diva software versions 6.1.2 and 6.1.3 | BD Biosciences, CA, USA
Phosphate buffered saline tablets | R&D Systems, Minneapolis, USA | 5564
Bovine serum albumin (BSA) | Sigma-Aldrich, France | A9647
Sodium azide 99% | Sigma-Aldrich, France | 199931
Infinicyt software version 1.8.0.e | Cytognos, Salamanca, Spain

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=