## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description | Website
Xradia VersaXRM-500 X-ray micro-CT | ZEISS | Quote | X-ray microtomography scanner | https://www.zeiss.com/microscopy/int/products/x-ray-microscopy.html
Teledyne Isco syringe pumps | Teledyne Isco | Quote | Model 100DM, Model 260D and Model 1000D | http://www.teledyneisco.com/en-uk
Core holder | Airborne | Quote | 9.5 ID Coreholder | www.airborne-international.com
Gas pycnometer | Micromeritics | Quote | AccuPyc II 1340 Pycnometer | http://www.micromeritics.com/Product-Showcase/AccuPyc-II-1340.aspx
Thermocouple | Omega | KMTSS-IM025U-150 | 0.25 to 1.0 mm Fine Diameter MI Construction Thermocouples Terminated With A Mini Pot-Seal and 1m PFA Lead Wire | https://www.omega.co.uk/pptst/TJMINI_025-075MM_IEC.html
Flexible heating jacket | Omega | KH-112/5-P | Kapton Insulated Flexible Heaters | https://www.omega.co.uk/pptst/KHR_KHLV_KH.html
PEEK tubing | Kinesis | 1533XL | PEEK Tubing 1/16”OD X 0.030” (0.75mm) ID Green | http://kinesis.co.uk/tubing-tubing-peek-green-1-16-x-0-030-0-75mm-x100ft-1533xl.html
Tube cutter | Kinesis | 003062 | Tube cutter | http://kinesis.co.uk/tubing-tube-cutter-003062.html
PEEK fingertight fitting | Kinesis | F-120X | Fingertight Fitting, single piece, for 1/16" OD Tubing, 10-32 Coned, PEEK, Natural | http://kinesis.co.uk/fingertight-fitting-single-piece-for-1-16-od-tubing-10-32-coned-peek-natural-f-120x.html
PEEK adapters and connectors | Kinesis | P-760 | Adapters & Connectors: PEEK ZDV Union, for 1/16" OD Tubing, 10-32 Coned | http://kinesis.co.uk/catalogsearch/result/?q=P-760
PEEK plug | Kinesis | P-551 | Plug, 10-32 Coned, PEEK, Natural | http://kinesis.co.uk/plug-10-32-coned-peek-natural-p-551.html
Digital Caliper | RS | 50019630 | Digital caliper | http://uk.rs-online.com/web/
Three-way valve | Swagelok | SS-41GXS1 | Stainless Steel 1-Piece 40G Series 3-Way Ball Valve, 0.08 Cv, 1/16 in. Swagelok Tube Fitting | https://www.swagelok.com/en/catalog/Product/Detail?part=SS-41GXS1
Viton sleeve | Cole-Parmer | WZ-06435-03 | Viton FDA Compliant Tubing, 3/16" (4.8 mm) ID | https://www.coleparmer.com/i/mn/0643503
Drilling bit | dk-holdings | quote | Standard wall drill *EDS540, 5mm internal diameter x continental shank, reinforced stepped shank 5mm of the tube behind 20mm of diamond | http://www.dk-holdings.co.uk/glass/stanwall.html
Heptane | Sigma-Aldarich | 246654-1L | Heptane, anhydrous, 99% | http://www.sigmaaldrich.com/catalog/product/sial/246654?lang=en&region=GB
Potassium iodide | Sigma-Aldarich | 231-659-4 | purity ≥ 99.0% | https://www.sigmaaldrich.com/catalog/product/sigma/60399?lang=en&region=GB
ParaView | Open source | Free | Data visiualization software (Protocol step 1.2, 6.6) | https://www.paraview.org/
Avizo Software | FEI | License | Data visiualization and analysis software (Protocol step 5.7.1) | https://www.fei.com/software/amira-avizo/
Recontructor Software |  |  |  | https://www.gexcel.it

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=