57928 Wall redos

2.5 Next, attach a charge controller to two 18 gallon plastic bins, as specified in the text protocol.

3.2 To prevent sliding, drive two 6 in. nails into the ground in front of each solar panel.

3.5 Attach one 3/8-inch ring terminal from the positive 2-foot wire to the positive battery terminal on the bottom right battery. Then, attach the other 3/8-inch ring terminal to the positive battery terminal on the top right battery.