Editorial comments:
Changes to be made by the author(s) regarding the manuscript:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

Have done.

2. Please provide an institutional email address for each author.

Have done.
3. Keywords: Please provide at least 6 keywords or phrases.

Have done.
4. Please rephrase the Summary to clearly describe the protocol and its applications in complete sentences between 10-50 words: “Here, we present a protocol to …”

Have changed.

5. Please revise the Abstract to include a statement about the purpose of the method, an overview of the method and a summary of its advantages, limitations, and applications.

Have revised it.
6. Please expand your Introduction to include the following: The advantages over alternative techniques with applicable references to previous studies; Description of the context of the technique in the wider body of literature; Information that can help readers to determine if the method is appropriate for their application.

Have expanded.
7. 1.1: Please specify the tissue type and concentration of formalin.

Have specified.
8. Line 73: How long is the sample infiltrated with paraffin wax?

Have specified.
9. 1.4: How to cool the wax, naturally or by putting it in a fridge?

Put it in a fridge to cool the wax.
10. 1.5: Please split into two steps. At what temperature are the slides baked?

Have changed.
11. 5.2: Please specify the type of resin.

Have specified.
12. Please combine some of the shorter Protocol steps so that individual steps contain 2-3 actions and maximum of 4 sentences per step.

Have changed
13. Please include single-line spaces between all paragraphs, headings, steps, etc.

Have changed
14. After you have made all the recommended changes to your protocol (listed above), please highlight 2.75 pages or less of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol.

Have done.
15. Please highlight complete sentences (not parts of sentences). Please ensure that the highlighted part of the step includes at least one action that is written in imperative tense.

Have done.
16. Please include all relevant details that are required to perform the step in the highlighting. For example: If step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be highlighted.

Have done.
17. Figures 1 and 2: Please include a scale bar for all images taken with a microscope to provide context to the magnification used. Define the scale in the appropriate figure Legend. Please include a title for each figure. Please label CD8+ TILs, tumor and tumor-adjacent stroma in the images, if possible.

Have done.
18. Representative Results: Please explain the figures in more details.

Have done.

19. Discussion: As we are a methods journal, please also discuss critical steps within the protocol, any modifications and troubleshooting of the technique, and any limitations of the technique.

Have done.
20. References: Please do not abbreviate journal titles.

Have changed.
21. Table of Equipment and Materials: Please provide lot numbers and RRIDs of antibodies, if available.

Have done.

Reviewers' comments:



Reviewer #1: 
Manuscript Summary:
In the manuscript 'Immunohistochemical staining of CD8 protein to evaluate the CD8+ tumour-infiltrating lymphocytes in tissue sections from tumour patients' the authors describe the protocol for staining CD8 T cells on human FFPE tissue sections using the chromogenic immunohistochemistry method. Given the clinical significance of TIL's in various different tumours, this manuscript presents an IHC protocol for CD8 staining, which for the most part, appears to be well written. I have a few concern in the protocol that should be addressed.

Major Concerns:
Comment 1. The authors have not included or discussed about a proper positive and negative control. The results from positive and negative control is required to claim the specificity of CD8 staining following this protocol.

We had done positive and negative control before, not shown in this text.

Positive control: Oral cancer tissues.

Negative control: Oral cancer tissues.

Comment 2. In the figure legends, the type of tumour tissue should be stated. The IHC protocol optimised for one type of tissue may not work with different tissue types. The authors should show the image or discuss on what are the different types of tumour tissues has been stained for CD8 following the protocol.

We mainly did IHC of cancer tissues, especially bladder and renal cancer, didn’t find any differences between them.

Minor Concerns:
Comment 1. The composition and pH of PBS wash buffer (Line 101) and the composition of antigen retrieval buffer (Line 97) requires some detail.

Have changed, some details in materials.

Comment 2. It is generally advised to dilute the antibody in a blocking solution to prevent non-specific binding of antibody in the tissue. The authors need to justify why PBS (Line 117) was used as an antibody diluent instead of blocking solution. If any blocking serum (like BSA etc) was added to the PBS, then the concentration of serum is required.

Have changed, we use  Antibody Diluent (Dako, catalog number S302281 ) to dilute the antibody

Comment 3. In the figure legend for Figure 1 (Line 163), it is written as 40xx magnification which needs correction. The corresponding image in figure 1 does not appear to be 40x magnified. The correct magnification that corresponds to the image should be included.

Have changed.

Comment 4. In Line 166, the figure legend for figure 2 states that CD8+TILs are distributed at the interface of the tumour and tumour-adjacent stroma. However, In the corresponding image the tumour and stromal margin are not well defined to make this statement. The image needs to show a clearly defined tumour and stromal areas. Without this, it is difficult to relate the legend and image.

Have changed.

Reviewer #2:
Manuscript Summary:
The article describes a protocol for CD8 standard (chromogenic) immunostaining. This marker has become essential in cancer immunoprofiling studies, from which the population of Helper T-cells can be counted in a given tumor specimen.

Major Concerns:
Despite that CD8 is an important marker, the method described by the authors doesn't represent any novelty as it is performed as routine in pathology labs over the world for many years. However, it would have been very helpful to scientists and investigators if the authors could have also described how to count CD8 positive lymphocytes in tissues using digital image analysis. There are today several image analysis software available, many of them free (ImageJ, QPath, for example). The authors should have made an effort to perform image analysis and describe the method in their protocol.

We haven’t used image analysis software, which is not available in our experiments, because we found CD8+TILs distributed at the interface of the tumour and tumour-adjacent stroma are the mainly anti-tumor CD8+ T cells.

Minor Concerns:
The authors should describe what controls should be used (positive and negative control), how to validate the immunostaining, and troubleshooting. Also, the image quality of Fig 1 is poor, including the marked presence of vignetting artifact.

We had done positive and negative control before, not shown in this text. About the image of Fig 1, we have replaced it.

Reviewer #3:
Manuscript Summary:
This is an interesting piece of work. This is a straight forward and well-written manuscript. Authors evaluate the CD8+ tumor-infiltrating lymphocytes in tissue sections from tumor patients

Some suggestions for the authors' consideration:
1. The title of this manuscript is not suitable and did not provide any impact of the outcome of this study. It is hard to get away from that fact. Please improve it.

Have changed.

2. It would be good if authors evaluate this staining in different patient samples according to TNM Classification (i.e. in different tumor stage, type our Lymph node metastasis) .

In our data, we didn’t find any difference of CD8+TILs between organ-confined and non-organ-confined urothelial carcinoma of bladder patients.

3. Please mention about the name of company of different reagents and also for Antibodies.

Shown in the materials.
4. Discussion- Please also correlate the outcome of this study with references from the other published studies in large sample size.

Details shown in the published article: DOI:10.7717/peerj.3921

Major Concerns:
There was no negative and positive control samples was used to evaluate IHC staining.
We had done positive and negative control before, not shown in this text.

Minor Concerns:
The title of this manuscript is not suitable and did not provide any impact of the outcome of this study. It is hard to get away from that fact. Please improve it.
There is no message about this staining that it is specific for any cancer tissue type.

Have changed.