## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Single Element HIFU transducer | Sonic Concepts | H-102
55dB Power Amplifier | E&I | A300
Function Generator | Keysight Technologies | 33250A
Differential Membrane Hydrophone | Precision Acoustics Ltd
TTL Pulse Generator | Quantum Composers | 9524
Nd:YAG Pulse Laser | Continuum | Surelite I-10
OPO Plus | Continuum | Surelite
Fibre Bundle | Thorlabs Inc | BF20LSMA01
Energy Sensor | Thorlabs Inc | ES145C
Nanorods | Nanopartz | A12-40-850
Broadband detector | Sonic Concepts | Y-102
5 MHz high pass filter | Allen Avionics
40dB preamplifier | Spectrum GmbH | SPA.1411
14-bit data acquisition card | Spectrum GmbH | M4i.4420x8
Deionised Filtered Water | MilliQ
Acrylamide/Bis-acrylamide solution | Sigma Aldrich | A9927
1 mol/L TRIS Buffer | Sigma Aldrich | T2694
Ammonium Persulfate | Sigma Aldrich | A3678
Bovine serum albumin | Sigma Aldrich | A7906
TEMED | Sigma Aldrich | T9281
3D printer | CEL-UK | Robox
3-axis positioning system | Zolix
Digital Microscope | Dino-lite | AM4113TL
Water Tank | Muji | Acrylic Tank
Optical Components | Thorlabs Inc | Various
Optomechanical Components | Thorlabs Inc | Various
BNC Cables | RS
Desktop PC | Custom Made
Hotplate Stirrer | Fisher
SBench6 | Spectrum GmbH |  | Measurement software

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=