# Submission ID #: 58069

# Scriptwriter Name: Melissa Ceo

# Project Page Link: http://www.jove.com/files_upload.php?src=17711093

Title: Radio Frequency Magnetron Sputtering of GdBa2Cu3O7−δ/ La0.67Sr0.33MnO3 Quasi-bilayer Films on SrTiO3 (STO) Single-crystal Substrates

Authors and Affiliations: Ying Wang1, 2, Zhen Li1, YongSheng Liu1，Yijie Li2, Linfei Liu2, Da Xu2, Xiaojing Luo1, Tian Gao1, 3, Yanyan Zhu1, 4, Luozeng Zhou3, Jianming Xu3

1Department of Physics, Mathematics, Shanghai Key Laboratory of Materials Protection and Advanced Materials in Electric Power, Shanghai University of Electric Power

2Key Laboratory of Artificial Structure and Quantum Control, Ministry of Education, Department of Physics, Shanghai Jiao Tong University

3Shanghai Institute of Space Power-sources, Shanghai, P.R. China

4Shanghai Key Laboratory of High Temperature Superconductors, Shanghai University, Shanghai, P.R. China

# Corresponding Author:

# 1. Ying Wang

# 2006000081@shiep.edu.cn

# Tel: +86-21-68020533

2. YongSheng Liu (ysliu@shiep.edu.cn)

Phone: +86-21-68020533; Fax: +86-21-68020533

# Email addresses for Co-authors:

Zhen Li (o_lizhen@163.com)

YongSheng Liu (ysliu@shiep.edu.cn)

Yijie Li (yjli@sjtu.edu.cn)

Linfei Liu (linfeiliu@sjtu.edu.cn)

Da Xu (daxu@sjtu.edu.cn)

Xiaojing Luo (xiaojing_luo@163.com)

Tian Gao (gaotian@shiep.edu.cn)

Yanyan Zhu (yyzhu027@163.com)

Luozeng Zhou (Luozeng Zhou@shiep.edu.cn)

Jianming Xu (Jianming Xu@shiep.edu.cn)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see? 2.4, 3.1, 3.3, 3.4

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? 3.1. To obtain a stable chamber pressure of 25 Pa, adjust the molecular pump splint valve properly.

5. Will the filming need to take place in multiple locations? N

Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Ying Wang: This method can create La0.67Sr0.33MnO3 nanoparticles uniformly on a SrTiO3 single-crystal substrate. Also, the GdBa2Cu3O7−δ film can be obtained through the same method in the same vacuum chamber [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Ying Wang: The main advantage of this technique is that La0.67Sr0.33MnO3 nanoparticles with uniform size and high quality superconducting GdBa2Cu3O7−δ film can be deposited in the same vacuum chamber [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot,

looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Ying Wang: This method can provide insight into film deposition area, nanoparticle growth area, et cetera. It can also be applied to metal film deposition, metal nanoparticle deposition, et cetera [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot,

looking slightly off-camera.

  - Ying Wang: This method will allow researchers to become familiar with vacuum equipment and learn more about film growth technology [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot,

looking slightly off-camera.

  - Ying Wang: This method involves many steps and details, so visual demonstration is critical for understanding and mastering this method [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot,

looking slightly off-camera.

Section - Protocol

- Substrate and Target Preparation

  - First, sequentially clean strontium titanium oxide single-crystal substrates in isopropanol and deionized water for 10 minutes each at room temperature in ultrasonic bath [1-TXT]. Then dry the substrates with atmosphere, which is for uniform covering of the substrate and good film adherence [2].

    - MED: Talent places substrates in ultrasonic bath containing isopropanol or deionized water. TEXT: 10 x 10 mm. Video Editor: Overlay should appear at mention of “strontium titanium oxide single-crystal substrates”.

    - MED: Talent dries substrates with atmosphere.

  - Mount the (001) (pronounced zero zero one oriented) STO substrates in substrate holders with silver powder conductive glue [1]. Load the holders into a vacuum chamber [2].

    - MED: Talent applies glue to substrates and mounts them in holders.

    - MED: Talent loads holders with substrates in vacuum chamber.

  - Mount a LSMO target in a magnetron injection gun, and then reassemble the gun [1-TXT]. Test the resistance with an ohmmeter to avoid a short circuit between the magnetron and the surrounding shield [2]. Then close the vacuum chamber and pump down [3].

    - MED: Talent mounts the LSMO target in the magnetron injection gun and reassembles the gun. TEXT: La0.67Sr0.33MnO3. Video Editor: overlay should appear at mention of “LSMO”.

    - MED: Talent connects the magnetron injection gun to ohmmeter and tests the resistance.

    - MED: Talent closes vacuum chamber and turns on vacuum pump.

  - Once the vacuum is lower than 1 times 10 to the minus 4 Pascals [1], heat the substrates to 750 degrees Celsius using a heating rate of 15 degrees Celsius per minute [2]. Set the target-substrate distance to 8 centimeters [3].

    - CU: Close up of vacuum reading.

    - MED: Talent programs temperature and heating rate.

    - MED: Talent sets target-substrate distance.

  - Next, set the mass flow controller to 10 standard cubic centimeters per minute of oxygen and 5 standard cubic centimeters per minute of argon as the working gas flow [1-TXT].

    - MED: Talent sets mass flow controller. Videographer: Show gas readings in frame if possible. TEXT: Mixed gas maintains O cationic ratio during growth.

  - Before the deposition, pre-sputter the LSMO target for 20 minutes at 30 watts [1-TXT].

    - MED: Talent places the LSMO target in sputter deposition system and starts sputtering process. TEXT: Use low power to prevent cracks in target.

- LSMO Nanoparticle Deposition

  - To obtain a chamber pressure of 25 Pascals, adjust the molecular pump splint valve [1]. If the instant value becomes larger than 25 Pascals, rotate it counter-clockwise; if it becomes smaller than 25 Pascals, rotate it clockwise [2-TXT].

    - MED: Talent adjusts the molecular pump splint valve.

    - CU: Close up of the molecular pump splint valve as talent rotates it in the appropriate direction. TEXT: Adjust valve until pressure is stable.

  - Following this, check that the substrate temperature remains at 750 degrees Celsius and is stable [1].

    - MED: Talent checks the temperature of the vacuum chamber.

  - Increase the power of the magnetron from 30 to 80 watts [1].

    - MED: Talent increases the power of the magnetron by adjusting the button.

  - After the plasma is stabilized, open the shutter and deposit LSMO on the heated substrate [1-TXT].

    - MED: Talent opens the shutter and starts the deposition. TEXT: Sputtering times: 5, 10, 30 and 60 s.

  - Once the deposition is complete, close the shutter and shut off the power to the magnetron [1]. Then, close the gas valve and shut off the heater power [2].

    - MED: Talent closes the shutter and turns off the magnetron.

    - MED: Talent closes the gas valve and turns off the heater power.

  - After cooling the samples to room temperature, vent the chamber with dry atmosphere [1]. Then, open the chamber and remove the samples [2].

    - MED: Talent opens the atmosphere valve.

    - MED: Talent opens the chamber and removes the samples.

- GdBa2Cu3O7−δ Film Deposition

  - Mount the GdBa2Cu3O7−δ (pronounced gadolinium barium copper oxygen) target in the magnetron injection gun, and then reassemble the gun [1]. Deposit the (Gd) BCO (pronounced gadolinium barium copper oxygen) films as previously described, using similar conditions except for the sputtering time, which should be 30 minutes [2].

    - MED: Talent mounts the GdBa2Cu3O7−δ target in the magnetron injection gun and reassembles the gun.

    - MED: Talent starts deposition.

  - Next, decrease the sample temperature to 500 degrees Celsius [1]. Then, open the gas valve for oxygen to give a chamber pressure of 70,000 Pascals[2] and hold the samples at this temperature for one hour [3].

    - MED: Talent decreases the temperature.

    - MED: Talent opens the oxygen gas valve.

    - CU: Close up of temperature and chamber pressure readings.

  - After cooling the samples to room temperature, vent the chamber with dry atmosphere [1]. Then, open the chamber and remove the samples [2].

    - MED: Talent opens the atmosphere valve.

    - MED: Talent opens the chamber and removes the samples.

Section – Results

- Results: Growth of LSMO Nanoparticles and Gd (BCO) Films on SrTiO3 (STO) Single-crystal Substrates

  - The AFM image of a LSMO nanoparticle on STO substrates shows uniform growth [1].

    - LAB MEDIA: Figure 1 – Video Editor: Show figures a and b.

  - The XRD patterns of (Gd) BCO films fabricated on undecorated and LSMO nanoparticle decorated STO substrates are shown here [1].

    - LAB MEDIA: Figure 2 – Video Editor: Highlight red pattern at mention of “undecorated” and blue pattern at mention of “LSMO nanoparticle decorated”.

  - The superconducting transition temperature was close to 90.5 Kelvin for the (Gd) BCO film and 90.3 Kelvin for the LSMO films, which indicates that the nanoparticles don’t harm the superconducting property for the films [1].

    - LAB MEDIA: Figure 3 – Video Editor: Highlight each curve at temperature indicated in the voiceover (90.5 Kelvin for red curve and 90.3 Kelvin for blue curve).

  - By comparison, the magnetization hysteresis loop area is much bigger from 0 to 6 Tesla at 30, 50 and 77 Kelvin for films fabricated on LSMO decorated substrates [1].

    - LAB MEDIA: Figure 4 – Video Editor: Emphasize figure c.

  - The (Gd) BCO film deposited on a LSMO decorated substrate possesses a higher critical current density from 1.3 to 6 Tesla at 30 Kelvin and from 0 to 6 Tesla at 77 Kelvin [1].

    - LAB MEDIA: Figure 5 – Video Editor: Highlight figure a at mention of “1.3 to 6 T at 30 Kelvin” and figure b at mention of “0 to 6 T at 77 Kelvin”.

  - At 30 Kelvin, the decorated sample has a larger pinning force density above 1.3 Tesla [1]. At 77 Kelvin, the density moved to a higher H value for the decorated sample [2].

    - LAB MEDIA: Figure 6 – Video Editor: Emphasize figure a.

    - LAB MEDIA: Figure 6 – Video Editor: Emphasize figure b.

  - The angular dependence of the critical current density at 0.3 Tesla and 77 Kelvin for the LSMO decorated film shows an increase along the c-axis, suggesting that it is more effective at a magnetic field orientation parallel to the c-axis direction [1].

    - LAB MEDIA: Figure 7 – Video Editor: Highlight curves at H//c.

Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Ying Wang: After its development, this method makes it possible to deposit oxide films and nanoparticles as well as metal films and nanoparticles [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.