## Stock solutions
Antibiotics - Stock solutions used to prepare calibrators and QCs
Instructions:
insertion possible
no insertion allowed
Name of analyte | Manufacturer | Catalogue-nr. | Lot | initial weight | final volume | solvent |  | purity | total molecular weight (MW) | MW without counterion | MW counterion | factor counterion | conc. stock solution
|  |  |  | [mg] | [mL] |  |  | [%] | [g/mol] | [g/mol] | [g/mol] |  | [mg/mL]
Cefepime dihydrochloride monohydrate |  |  |  | 60 | 5 | MeOH/water 25/75 |  | 100% | 571.5 | 480.558 | 90.942 | 0.84087 | 10.0905
Ciprofloxacin |  |  |  | 20 | 10 | MeOH/water 25/75 + acetic acid 20mM |  | 98% | 331.35 | 331.347 | 0.003 | 0.99999 | 1.96
Linezolid |  |  |  | 15 | 5 | MeOH/water 25/75 |  | 98% | 337.35 | 337.35 | 0 | 1 | 2.94
Meropenem trihydrate |  |  |  | 40 | 10 | MeOH/water 25/75 |  | 100% | 437.51 | 383.46 | 54.05 | 0.87646 | 3.5058
Piperacillin Sodium Salt |  |  |  | 100 | 5 | MeOH/water 25/75 |  | 100% | 539.54 | 517.56 | 21.98 | 0.95926 | 19.1852
Moxifloxacin hydrochloride |  |  |  | 20 | 5 | MeOH/water 25/75 + acetic acid 20mM |  | 98% | 437.9 | 401.44 | 36.46 | 0.91674 | 3.5936
Percentage spike solution: | 10%
Final volume spike solution [mL]: | 5
Solvent: | MeOH/water 25/75
concentration [µg/mL]: | Cal 7 | Cal 6 | Cal 5 | Cal 4 | Cal 3 | Cal 2 | Cal 1 | Cal 0 | QC A | QC B | QC C | QC D
Cefepime dihydrochloride monohydrate | 200 | 125 | 50 | 10 | 2.5 | 0.75 | 0.25 | 0 | 0.75 | 50 | 100 | 150
Ciprofloxacin | 10 | 6.5 | 3 | 1 | 0.3 | 0.1 | 0.05 | 0 | 0.15 | 2.5 | 5 | 7.5
Linezolid | 50 | 27.5 | 12.5 | 3 | 0.75 | 0.25 | 0.125 | 0 | 0.375 | 12.5 | 25 | 37.5
Meropenem trihydrate | 120 | 80 | 40 | 10 | 2.5 | 0.75 | 0.25 | 0 | 0.75 | 30 | 60 | 90
Piperacillin Sodium Salt | 400 | 225 | 100 | 25 | 6 | 1.5 | 0.5 | 0 | 1.5 | 100 | 200 | 300
Moxifloxacin hydrochloride | 10 | 7.5 | 5 | 2 | 0.75 | 0.25 | 0.125 | 0 | 0.375 | 2.5 | 5 | 7.5
corresponding volume of stock solution [µL]
Cefepime dihydrochloride monohydrate | 991.0354 | 619.3971 | 247.7589 | 49.5518 | 12.3879 | 3.7164 | 1.2388 | 0 | 3.7164 | 247.7589 | 495.5177 | 743.2766
Ciprofloxacin | 255.1044 | 165.8178 | 76.5313 | 25.5104 | 7.6531 | 2.551 | 1.2755 | 0 | 3.8266 | 63.7761 | 127.5522 | 191.3283
Linezolid | 850.3401 | 467.6871 | 212.585 | 51.0204 | 12.7551 | 4.2517 | 2.1259 | 0 | 6.3776 | 212.585 | 425.1701 | 637.7551
Meropenem trihydrate | 1711.4301 | 1140.9534 | 570.4767 | 142.6192 | 35.6548 | 10.6964 | 3.5655 | 0 | 10.6964 | 427.8575 | 855.7151 | 1283.5726
Piperacillin Sodium Salt | 1042.4685 | 586.3885 | 260.6171 | 65.1543 | 15.637 | 3.9093 | 1.3031 | 0 | 3.9093 | 260.6171 | 521.2343 | 781.8514
Moxifloxacin hydrochloride | 139.1356 | 104.3517 | 69.5678 | 27.8271 | 10.4352 | 3.4784 | 1.7392 | 0 | 5.2176 | 34.7839 | 69.5678 | 104.3517
total volume [µL] | 4989.5141 | 3084.5957 | 1437.5368 | 361.6832 | 94.5232 | 28.6032 | 11.2479 | 0 | 33.7438 | 1247.3785 | 2494.7571 | 3742.1356
add MeOH/water 25/75 [µL] | 10.4859 | 1915.4043 | 3562.4632 | 4638.3168 | 4905.4768 | 4971.3968 | 4988.7521 | 5000 | 4966.2562 | 3752.6215 | 2505.2429 | 1257.8644