## Sheet1
Material/Equipment | Company | Catalog Number | Comments/ Description (optional)
Personal Protective Equipment
Hairnet | VWR | 89107-770
Tyvek lab coat | VWR | 13450-506
Extended cuff gloves | VWR | 89521-898
Equipment
Cutting mat | VWR | 102096-430
Tile cutter | McMaster-Carr | 26765A31
Mold-in-place (MIP) top molds | Protolabs, Inc. | custom | printed in Prototherm 12120
Mold-in-place (MIP) bottom molds | Protolabs, Inc. | custom | printed in Prototherm 12121
Duckbill curved forceps | VWR | 63041-864
Sharp tipped forceps | Electron Microscopy Sciences | 72700-D
Metal spatula | VWR | 82027-528
Deep reactive ion etch (DRIE) pillar array wafers | Sensera, Inc. | custom | Four 50 x 50 mm pillar arrays per wafer; pillars 7 um wide, 50 um tall, spaced hexagonally 40 um apart
Textured polycarbonate .01” thick | McMaster-Carr | 85585K33 | cut to 45 mm square
PDMS blocks (40 x 40 x 5 mm) | n/a | custom
Laminar flow hood | Germfree | BVBI | cast in-house
Air gun
60°C level oven
Vacuum desiccator
Mass balance |  |  | accuracy to 0.1 g
Plasma machine | Diener | Nano | oxygen plasma capability is critical
Supplies
Sylgard 184 poly (dimethylsiloxane) (PDMS) base/curing agent kit | Ellsworth Adhesives | 4019862
Mixing cup |  |  | Ensure adequate ventilation when handling prepolymer due to low levels of ethylbenzene
1 mL syringe | VWR | 10099-395
Cleanroom wipes | VWR | TWTX1080
25 x 75 mm glass microscope slides | VWR | 48311-703
Packing tape | VWR | 500043-724
Scotch tape | VWR | 500026-873
Die-cut Polyurethane (PU) strips | Atlantic Gasket, Inc. | custom: AGWI2X3 | 1/8” thick; 60 Durometer Black Polyurethane; 2” x 3”
Polycarbonate film .005” thick | McMaster-Carr | 85585K102
100 x 100 x 15 mm square gridded petri dishes | VWR | 60872-480
Aluminum foil
Optional Equipment
Thinky PDMS Mixer | Thinky | ARE-310
Mold-in place (MIP) jig | in-house |  | screw clamp compression jig
Automated membrane fabricator (AMF) | in-house |  | pneumatic compression piston array with programmable heater