## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Deioniyzed Water |  |  | 18MOhm resistance
Micropipettes, Borosilicate Glass, round, inner diameter 850 micron | Produstrial.com | #133260
Micropipettes, Borosilicate Glass, round, inner diameter 150 micron | Produstrial.com | #133258
High voltage, low current source, 3kV with 5 mA. | Bertan | Model 215
High voltage, low current source, 8 kV with 0.25 mA. | Home build
Optical fiber | Corning | HI 780 C | 5 meter
Optical fiber | Thorlabs | FTO 30 | 5 meter
Optical fiber | Thorlabs | FTO 30 | 5 meter
Fiber coupled laser | FIS | SMF 28E
Photoreceiver | New Port/ New Focus | 1801-FS | with fiber connection
Oscilloscope | Agilent Technologies | DSO-X 3034A
2 Degree of freedom tilt stagestage | New Port/ New Focus | M-562F-TILT
3Degree of freedom linear micro translation stage | New Port/ New Focus | M-562F-XYZ
A set of magnets
Objective 5X | Mitutoyo | MY5X-802
Objective 20 x | Mitutoyo | MY20X-804
Zoom | Navitar | 12x Zoom
Microscope tube | Navitar | 1-6015 standard tube
Isopropanol | Sigma Aldrich | 67-63-0 | Spec Grad
2 x Bare Fiber holder | Thorlabs | T711-250
2 x Translational Stage | Thorlabs | DT12
Block of PMMA for fabricating the water reservoir and pipette holder |  |  | 150 x 60 x 10 mm
PTFE-Tape | Gufero | 240453
Fiber coupled, cw Laser Light Source | New Port/ New Focus | TLB-6712 | 765-781 nm

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=