# Submission ID #: 58197

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=17750133

Title: Lung Fixation under Constant Pressure for Evaluation of Emphysema in Mice

Authors and Affiliations: Keiko Karasutani1,2, Hario Baskoro1, Tadashi Sato1, Naoko Arano1, Yohei Suzuki1, Aki Mitsui1, Naoko Shimada1, Yuzo Kodama1, Kuniaki Seyama1, Yoshinosuke Fukuchi1, and Kazuhisa Takahashi1

1 Department of Respiratory Medicine, Juntendo University Graduate School of Medicine

2 Pharmaceutical Planning Group, Otsuka Pharmaceutical Co., Ltd.

# Corresponding Author:

# Tadashi Sato

# satotada@juntendo.ac.jp

Email addresses for Co-authors:

k-karasutani@juntendo.ac.jp

hario@juntendo.ac.jp

narano@juntendo.ac.jp

yohei-s@juntendo.ac.jp

m-akira@ga3.so-net.ne.jp

naokoh@juntendo.ac.jp

ykodama@juntendo.ac.jp

kseyama@juntendo.ac.jp

yfukuchi@tea.ocn.ne.jp

kztakaha@juntendo.ac.jp

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

2.4., 2.5., 3.3.-3.5., 3.7.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.5.

5. Will the filming need to take place in multiple locations? N

Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Tadashi Sato: The constant pressure within the fixation device maintains the lung in a reasonably inflated state, generating a histological lung specimen suitable for evaluating mild, cigarette smoke-induced emphysema [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Keiko Karasutani: The main advantage of this model is that it can fix many lungs at the same time using the same constant pressure without lung collapse or deflation [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Tadashi Sato: Demonstrating the procedure will be Naoko Arano, a grad student from my laboratory [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Animal Care and Use Committees of Juntendo University Graduate School of Medicine.

Section - Protocol

- Lung Exsanguination

  - After confirming a lack of response to reflex motion [1-TXT], make an incision in the skin and muscle tissue along the medial line of the mouse, aiming for the cephalic region [2], and cut laterally to create a wider working space [3].

    - WIDE: Talent pinching toe Videographer: More Talent than mouse in shot TEXT: Anesthesia: pentobarbital 70 mg/kg i.p.

    - Incision being initiated Shot together with 2.1.3

    - Incision being widened

  - After exposing the diaphragm layer, puncture the tissue with forceps [1] and open the thoracic space [2].

    - Shot of diaphragm layer, then tissue being punctured Shot together with 2.2.2

    - Thoracic space being opened

  - Cut the sternal area, allowing the lungs and heart to be visualized [1] and cut the left atrium [2] … and right ventricle [3].

    - Sternal area being cut/heart and lung being visualized

    - Left atrium being cut being cut

    - Right ventricle being cut

  - Insert a 24-gauge cannula connected to a perfusion pump into the right ventricle area [1] and direct the cannula to the cephalic area until it reaches the pulmonary artery [2].

    - Cannula being inserted Videographer: Important step Shot together with 2.4.2

    - Cannula being direct to cephalic area Videographer: Important step

  - Then turn on the pump [1] and perfuse the tissue with approximately 200 milliliters of PBS for 1 hour until all of the lung tissue has changed to a white color [2].

    - Talent turning on pump Videographer: Important step Shot together with 2.5.2

    - Tissue being perfused Videographer: Important step

- Lung Tissue Fixation

  - At the end of the perfusion, cut the connective tissues surrounding the trachea, lungs, and heart [1] and use a suture to tie off the right main bronchus [2].

    - WIDE: Talent cutting tissues Videographer: More Talent than mouse in shot

    - Bronchus being tied

  - Next, harvest all of the individual lobes of the right lung [1-TXT] and place the heart and lobes of the left lung into individual 10-milliliter syringes containing an appropriate fixative [2].

    - Lobes being cut TEXT: Optional: Process lobes of right bronchus for frozen storage Misslated as 3.2.1.

    - Lobe being placed into syringe

  - Retract the plunger, creating a vacuum in the syringe to inflate the lungs [1], and remove the lung from the syringe [2].

    - Plunger being retracted/lung being inflated Videographer: Important step

    - Inflated lung being removed

  - Insert a 20-gauge cannula into the trachea of the inflated lung tissue [1] and use a suture to secure the cannula in place [2].

    - Cannula being inserted Videographer: Important step

    - Knot being tied Videographer: Important step

  - Connect a 1-milliliter syringe filled with fixative to the cannula [1] and fill the lung with additional fixative to check for leaks [2].

    - Syringe being attached

    - Lung being filled Videographer: Important/difficult step two takes, didn’t slate 2nd take. 2nd take is probably the better shot.

  - Keiko Karasutani: Be sure that the insertion is tightly secured to prevent the lung specimen from detaching from the formalin port during the fixation [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Then transfer the tissue to the lung fixation pressure equipment [1], removing the sample and tying off the trachea with a knot at the end of the fixation period [2].

    - Tissue being placed into equipment Videographer: Important step

    - Trachea being tied off

Section – Results

- Results: Representative Mouse Lung Histologic and Morphometric Findings

  - The lower component of the lung fixation pressure equipment into which the lung sample is inserted [1] is connected via a 20-gauge cannula to the tip of the formalin flow with a three-way stop cock [2].

    - LAB MEDIA: Figure 4A: JoVE Video Editor please emphasize at least one lung sample

    - LAB MEDIA: Figure 4B: JoVE Video Editor please emphasize 3-way stop cock and accompanying text box and arrow

  - Pressure is generated from the different surface levels of the fixative between the lower and upper compartments [1].

    - LAB MEDIA: Figure 5: JoVE Video Editor please emphasize upper and lower containers when mentioned

  - The pressure difference is 25 centimeters of water [1], but the height adjustment knob can be used to adjust the pressure to between 25 and 30 centimeters of water [2].

    - LAB MEDIA: Figure 5: JoVE Video Editor please emphasize 25 cmH2O text and bracket

    - LAB MEDIA: Figure 5: JoVE Video Editor please emphasize height adjustment knobs and text and arrows

  - A pump connects the lower and upper containers, preserving a 25-centimeter difference in the fixative surface height [1], and directs the flow of the agent [2].

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasize pump and text box and arrow

    - LAB MEDIA: Figure 3B: JoVE Video Editor please add/emphasize solid black arrows

  - After 48 hours of fixation, the lungs from SMP30 (S-M-P-thirty)-knockout mice exposed to ambient air do not exhibit a marked airspace enlargement [1-TXT].

    - LAB MEDIA: Figure 6A: JoVE Video Editor please emphasize at least one honeycomb of alveolar spacing TEXT: SMP30: senescence marker protein-30

  - Significant airspace enlargement and alveolar wall destruction, however, are observed in SMP30-knockout mice exposed to chronic cigarette smoke [1].

    - LAB MEDIA: Figure 6B: JoVE Video Editor please emphasize at least one honeycomb of enlarged alveolar spacing

  - In addition, the mean linear intercept and destructive index of the lung specimens are significantly greater [1] in the smoke-exposed SMP30-knockout mice than in the air-exposed animals [2].

    - LAB MEDIA: Figures 6C and 6D: JoVE Video Editor please emphasize MLI grey data bar

    - LAB MEDIA: Figures 6C and 6D: JoVE Video Editor please emphasize DI grey data bar

Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Keiko Karasutani: Our lab uses 10% formalin, but researchers can use other fixation agents according to their experimental needs [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Tadashi Sato: As we have reported, using the demonstrated fixation system, lung samples can be harvested from various mouse emphysema models for their morphometric evaluation [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Keiko Karasutani: As fixing agents can be hazardous, always wear the appropriate personal protective equipment and work in a well-ventilated room [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera