## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Femtosecond laser system | Coherent Co | Legend Elite System | 1 kHz system, fs system pulse energy 4 mJ
IRIS | Thorlabs | id25 | Mounted Standard Iris, Ø25.0 mm Max Aperture, TR3 Post
Lens | Thorlabs | LA1908-C | L=50 cm, Plano-Convex Lenses (AR Coating: 1050 - 1700 nm)
Mirrors | Thorlabs | PF10-03-P01 | Plano metallic mirror
Photodetector | Hamamatsu | H12694 | Thermoelectric cooled NIR-PMT unit
Spectrometer | Ocean Optics | OCEAN_HDX_VIS_NIR | Spectrometer, high dynamic range, 350-950
Translation Stage | Thorlabs | PT3-Z8 | 25 mm (0.98") Three-Axis Motorized Translation Stage, 1/4"-20 Taps
Motorized Stage

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=