# Submission ID #: 58290

# Editor Name: Maja Fiket

Videographer name: Benoît Dietrich

# Film Date: August 31. 2018

# Link: https://www.jove.com/account/file-uploader?src=17778498

Authors and Affiliations: Camille Forny1, Romain Sube1, Eric A. Ertel1

1Department of Pharmacology and Preclinical Development, Idorsia Pharmaceuticals Ltd., Allschwil, Switzerland

# Title: Contractions of Human-iPSC-derived Cardiomyocyte Syncytia Measured with a Ca-sensitive Fluorescent Dye in Temperature-controlled 384-well Plates

# Corresponding Author:

# Eric A. Ertel

# eric.ertel@idorsia.com

# Co-authors:

# Camille Forny

camille.forny@idorsia.com

# Romain Sube

romain.sube@idorsia.com

Screen Captures for Software Usage

# 4.  Data Acquisition and Analysis

# Note: 4.1 and 4.2 must be added before 4.3 (previously 4.1). The following steps will also need some modifications as shown.

# 4.1.  Start the plate reader software and load the pipet tips. [1-SCREEN]

# 4.1.1.  Talent starting the software and loading the pipet tips.

01	changes to	02
Mouse on software icon, then double-click

02	changes to	03
Select the option shown in "Select Method", then click OK		and robot door opens automatically,
		then place the pipet tips in the plate reader
		(making sure the correct pipeting head is in place)
	(is it possible to overlay the following on the rightmost screen capture?
	"Robot door opens automatically, place pipet tips in the plate reader,
	and make sure the correct pipeting head is in place")

03	changes to	04
Select the options shown in "Change Tip & Head Combination", 	and robot picks up the tips automatically
then click "Set Tip & Head"	
	(is it possible to overlay the following on the rightmost screen capture?
	"Robot door picks up the tips automatically")

# 4.2.  Adjust the software settings to record a 2-minute segment of Calcium waves with an acquisition frequency of at least 10 Hertz to define the baseline beating rate for each well. [1-SCREEN]

# 4.2.1.  Talent adjusting settings to record a 2-min segment of Ca waves with an acquisition frequency of at least 10 Hz.

04	switch tab	05 tab
Select the options shown in "FDSS Application" one tab after another (10 tabs)

06 	switch tab	07 tab

08 	switch tab	09 tab

10 	switch tab	11 tab

12 	switch tab	13

# 4.3. To make fluorescence medium for each cell plate dilute 3 mL of stock fluorescence medium with 12 mL of warm maintenance medium with antibiotics. [1-MED] Replace 20 microliters of medium in each well of the cell plate [2-CU] with 30 microliters of fluorescence medium and mix by pipetting up and down once. [3-CU]

# 4.3.1.  Talent diluting the fluorescence medium.

# 4.3.2.  Talent removing 20 L from a few wells.

# 4.3.3.  Talent adding fluorescence medium to a few wells.

# 4.4.  Immediately after that place the plate into a plate reader in order to let the hiPSC-CMs adjust to the reader temperature for 60 minutes [1-MED] [2-SCREEN] and verify that the Cell Plate is well-positioned for recording [3-SCREEN]. Then start the plate reader software. [2- MED-over the shoulder] Record a 2-minute segment of Calcium waves with an acquisition frequency of at least 10 Hertz to define the baseline beating rate for each well. [3-SCREEN]

# 4.4.1.  Talent placing the plate onto the robot loader.

# 4.4.2.  Talent using the software to move the plate into the reader.

13	changes to	14
Move mouse to "Dispenser Control" and Click "Load"		
	(is it possible to overlay the following on the leftmost screen capture?
	"After having placed the Cell Plate onto the robot loader")
	and the following on the rightmost screen capture?
	"The robot picks up the Cell Plate and moves it inside")

# 4.4.3.  Talent using the software to verify that the Cell Plate is well-positioned.

14	changes to	15
Mouse Click "Manual Ctrl"

15	changes to	16
Mouse Clicks "Live On" and "Shutter Open"		
	(is it possible to overlay the following on the rightmost screen capture?
	"The Cell Plate is well-positioned if the Live Image window shows round homogenous wells")

16	changes to	17
Mouse Clicks "Live Off" and "Shutter Close"

17	changes to	18
Mouse Click "Protocol"

# 4.5.  After waiting 60 minutes, record a 2-minute segment of Calcium waves. [1-SCREEN]

# 4.5.1.  Talent recording a 2-minute segment of Calcium waves.

18	changes to	19
Mouse Click "Start Single"

19	changes to	20
Mouse Click "OK"

20	changes to	21
Mouse Click "OK"

21	changes to	22
Mouse Click "OK"		with the progress bar advancing

22	changes to	23
Mouse Click "Stop"		
	(is it possible to overlay the following on the leftmost screen capture?
	"Once the progress bar has exceeded 1200 frames (2 min)
	but before it reaches the end,
	Press "Stop" ")

23	changes to	24
Mouse Click "No"		
	(is it possible to overlay the following on the leftmost screen capture?
	"It is very important to press "No" ")

24	changes to	25
Mouse Click "Protocol"

# 4.6.  Camille Forny: “It is very important to make sure the Cell Plate is not transferred out of the device after data acquisition. With some software versions, you must stop each recording before it ends completely.”

# 4.6.1  Camille Forny saying the above, interview style.

# 4.7.  Adjust the plate reader robot to pipette 5 microliters of the test and reference compounds well-to-well from the compound plate into the cell plate [1-MED-TXT] [1-SCREEN]. Then start the compound application [2-SCREEN]

# 4.7.1.  Talent adjusting settings to pipette from the compound plate into the cell plate.

26		
Select the options shown in "FDSS Application" and in "Dispenser Control"

# 4.7.2.  Talent starting the robot. TEXT: DMSO concentration: 0.3% [v/v]

26		
Mouse Click "Start Single"		
	(is it possible to overlay the following on the leftmost screen capture?
	"The robot will start recording the Calcium waves and apply the compounds to the cells.
	As before, it is important to stop the recording before it ends automatically.
	Note that this recording will not be used for the analysis.")

# 4.8.  Re-adjust the plate reader robot to record Ca waves without pipetting from the compound plate into the cell plate [1-MED-TXT] [1-SCREEN]. Then start the data acquisition in the plate reader software to record 2-minute segments of Calcium waves starting at 5, 15, 30, 45, and 60 minutes after the compound addition. [2-SCREEN-TXT]

# 4.8.1.  Talent adjusting settings to stop pipetting from the compound plate into the cell plate.

27		
Select the options shown in "FDSS Application"

# 4.8.2.  Talent starting the robot setting the software to record 2-min segments of Ca waves starting at 5, 15, 30, 45, and 60 min. TEXT: Cell plate should stay in the reader

28	
Mouse Click "Start Single"		
	(is it possible to overlay the following on the leftmost screen capture?
	"The robot will start recording the Calcium waves.
	As before, it is important to stop the recording before it ends automatically.
	Note that this is not necessary for the last recording
	since the Cell Plate must be off-loaded anyway.")

# 4.9.  To start data analysis, export the raw data for each recording period from the plate reader software as ASCII (pronounce askee) text files, [1-SCREEN] and then import them into data analysis software. [2-SCREEN]

# 4.9.1.  Talent starts exporting the raw data as ASCII text files.

29	changes to	30
Mouse on software icon, then double-click

30	changes to	31
Select the option shown in "Select Method", then click OK

31	changes to	32
Mouse Click on "Open Data"

32	changes to	33
Find the 1st file saved during the acquisition and open it

33	changes to	34
Mouse Click on "Text" (bottom right)		
	(is it possible to overlay the following on the leftmost screen capture?
	"Verify the filenames and locations for the Export files")

34	changes to	35
Mouse Click on "OK"
	(is it possible to overlay the following on the rightmost screen capture?
	"Repeat for the 6 acquisition files.")

# 4.10.  Import the raw data into data analysis software [1-SCREEN]. For each recording period, extract the primary beating frequency for each well and export them as clipboard copies [2-SCREEN]. Then, import the primary beating frequency for each well into a spreadsheet software by clipboard pasting [3-SCREEN]. Finally, continue the data analysis as described in the text protocol.

# 4.9.1.  Talent starts importing the raw data into data analysis software.

36	changes to	37
Once the data analysis software and the spreadsheet software are started,
Mouse Click on "Open Layout or Data"

37	changes to	38
Select the first exported text file then "Open"

# 4.9.2.  Talent extracts the primary beating frequency for each well and every time point and exports the primary beating frequencies for each recording period. TEXT: Refer to text to calculate beating frequencies.

38	no change	38
Mouse Click on "Copy Raw Data to Clipboard"

# 4.9.3.  Talent imports the primary beating frequencies into a software.

39	changes to	40
In the spreadsheet software,
Paste the Clipboard into a new document
(Mouse Click in D7  Paste)		
	(is it possible to overlay the following on the rightmost screen capture?
	"Repeat "Copy Raw Data to Clipboard" and "Paste"
	for the 6 raw data files.")