# Submission ID #: 58340

# Editor Name: Jo Clark

# Videographer name: Jeffrey Jousan

# Film Date: 8/17/2018

Link: http://www.jove.com/files_upload.php?src=17793748

Authors and Affiliations: Hidenobu Mizuno1,2,3, Shingo Nakazawa2,3, Takuji Iwasato2,3

1International Research Center for Medical Sciences (IRCMS), Kumamoto University, Kumamoto, Japan

2Division of Neurogenetics, National Institute of Genetics, Mishima, Japan

3Department of Genetics, SOKENDAI (The Graduate University for Advanced Studies), Mishima, Japan

Title: In vivo Two-photon Imaging of Cortical Neurons in Neonatal Mice

Corresponding Author:

Hidenobu Mizuno	(hmizuno@kumamoto-u.ac.jp)

International Research Center for Medical Sciences (IRCMS), Kumamoto University,

2-2-1 Honjo, Chuo-ku, Kumamoto City 860-0811, Japan

Tel: +81-96-373-6834

# Co-authors:

Shingo Nakazawa 	(snakazawa@nig.ac.jp)

Takuji Iwasato 	(tiwasato@nig.ac.jp)

A.  Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? Y

Can you record movies/images using your own microscope camera? N

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope: Leica M205C

B.   Software Usage: Does your protocol include detailed descriptions of software usage? Y

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. 2.4, 3.1, 3.5, and 3.6

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. 3.1

E.  Will the filming need to take place in multiple locations? Y. Separate but adjoining buildings.

1. Introduction (Experimental Goal and Author Interviews)

A.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)

  - Hidenobu Mizuno: This method can help answer key questions in neuroscience, specifically those related to neuronal circuit formation.

    - Named author states the above, looking slightly off frame, interview style.

  - Hidenobu Mizuno: The main advantage of this technique is that researchers can analyze the morphological changes of individual neurons in living neonatal mice.

    - Named author states the above, looking slightly off frame, interview style.

D.  Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at Kumamoto University and National Institute of Genetics.

# Protocol: (read by voice talent at JoVE)

- Exposing the Skull

  - Begin with an anesthetized postnatal day-5 pup and proceed only in the absence of a reaction to the tail-pinch test [1-MED]. First, sterilize the scalp by wiping it with 70% ethanol [2-CU].

    - Talent has the anesthetized pup on a heating pad. Talent administers a tail pinch and no reaction is seen.

    - The scalp is wiped with a cotton swab soaked in 70% ethanol.

  - Then use scissors sterilized with 70% ethanol [1-MED-over the shoulder] to remove approximately 20 square millimeters of the skin covering the skull [2-SCOPE].

    - Talent removes scissors from 70% ethanol.

    - The skin covering the skull is cut away with the sterile scissors.

  - Next, use sterile forceps and a clean cotton swab soaked in cortex buffer [1-MED-over the shoulder-TXT] to remove the fascia of the skull [2-SCOPE].

    - Talent picks up a cotton swab and soaks it in  cortex buffer. TEXT: See written protocol for details of cortex buffer.

    - The epicranial aponeurosis is removed using the forceps and swab.

# Videographer note: 2.3.1 and 2.3.2 shot as one take.

  - Use a loading tip to apply tissue adhesive to the incised skin surface to stop the bleeding while avoiding the area to be imaged [1-SCOPE].

    - Tissue adhesive is applied to the skin surface as described.

  - Place the pup on another heating pad set to 37 °C and allow it to recover from anesthesia. Wait approximately 30 minutes, until the tissue adhesive has dried and solidified [1-MED].

    - Talent transfers the pup to a recovery cage on a heating pad. Then sets a timer to 30 minutes and presses start.

- Cranial Window Preparation

  - Once the tissue adhesive has dried, begin the cranial window preparation on the re-anesthetized mouse [1-MED-over the shoulder].

    - The pup is in the surgical area on the stage of the dissection microscope as Talent performs a tail pinch. No reaction is seen.  Videographer note: I have a note “Please cut this shot before the mouse moves” but I don’t see the mouse moving in the video so should be ok.

  - Apply one drop of cortex buffer onto the skull [1-CU], then use a sterile razor blade to carefully open a one-millimeter diameter area of the skull leaving the dura intact [2-SCOPE]. Apply cortex buffer to keep the brain surface moist [3-CU-TXT].

    - Cortex buffer is dripped onto the skull.

    - The skull is opened with a razor blade as described.

  - Cortex buffer is flowed over the brain surface.

  - Use a small piece of gelatin sponge soaked in cortex buffer to stop any bleeding [1-MED-TXT]. Use a fresh piece to compress one side of the craniotomy and drain any buffer and blood from the dural surface without touching the dura [2-SCOPE].

    - Talent takes a piece of gelatin sponge from a tube of cortex buffer and presses it to the edge of the skull

    - *film as written.

  - Hidenobu Mizuno:  This is the most critical step to prepare clear window. The dura must be undamaged and the blood should be removed from the exposed dura [1-INT].

    - Hidenobo Mizuno speaks the above text to camera.

  - Next use a pipette tip [1-MED-over the shoulder] to apply a thin layer of 1% low-melting-point agarose dissolved in cortex buffer [2-SCOPE].

    - Talent dips a pipette tip in agarose on a heat block machine set to 42°C.

    - The pipette tip applies the agarose to the area of the craniotomy. Videographer note:  Use second take

  - Apply a round, 3-millimeter glass coverslip onto the agarose gel layer [1-SCOPE]. Remove all bubbles between the coverslip and the agarose gel layer by pouring an excess of agarose gel between them [2-CU]. Use tweezers to remove the excess gel protruding from under the coverslip [3-SCOPE].

    - The coverslip is placed on top of the agarose.

    - Talent pours on an excess of agarose gel.

    - Excess gel is seen to protrude from the coverslip. Forceps enter the shot and remove the protruding gel.

  - Mix cement powder and the cement liquid [1-MED]. Use a pipette tip to apply the mixture to the skull before it becomes solidified [2-CU].

    - Talent stirring cement powder and cement liquid together in a suitable container.

    - A pipette tip applies the cement mixture to the skull.

    - Added scope shot

  - Then, attach a custom-made titanium bar to the cranial bone using dental cement [1-MED-over the shoulder]. Align the titanium bar and the coverslip in parallel to easily capture images [2-CU].

    - Shot focused on the skull as Talent attaches the custom-made titanium bar to the cranial bone. Videographer note: Shot with scope at same time

    - Shot encompassing the bottom of the bar and the coverslip as they are aligned. Videographer note: Shot with scope at same time

  - Cover the exposed skull with dental cement [1-CU]. Then subcutaneously inject an analgesic [2-MED-TXT].

    - Dental cement is applied to the skull. Videographer note: Shot with scope at same time

    - Talent injects the neonate with analgesic (detail not required). TEXT: 5 mg/kg carprofen is used here.

  - Place the pup in a recovery cage on a 37 °C heat pad for an hour until the dental cement has solidified [1-MED-over the shoulder].

    - Talent places the post-surgery pup into a heated recovery cage.

- Two-Photon Imaging

  - To begin imaging, first set the two-photon laser wavelength [1-BROLL]. For RFP excitation, use a wavelength of 1,000 nanometers [2-SCREEN].

    - Talent working at the computer attached to the 2-photon microscope, using the keyboard and the mouse.

    - SCREEN CAPTURE: The software is set to 1000 nm wavelength. Videographer note: only set the 1000 nm wavelength the 450mW and 400 µm are not set at this time.  This was shot with camera and there is a screen capture as well. Author note: For 4.1.2, please use the uploaded mp4 file (4.1.2_58340 Mizuno_SCREEN CAPTURE).

  - Wipe the surface of the coverslip with 70% ethanol [1-CU].

    - *film as written.

  - Attach the anesthetized pup to the titanium plate on the imaging stage using the titanium bar [1-MED]. Use the goniometer stage [2-MED-over the shoulder] to adjust the head such that the coverslip is parallel to the objective lens [3-CU].

    - Talent places the bar in the appropriate place on the titanium plate and tightens as necessary.

    - Talent manipulates the goniometer stage.

    - Shot focused on the coverslip and objective lens as small adjustments are made to bring it parallel to the lens.

  - Maintain the body temperature of the pup during imaging using a heating pad set to 37 °C and reduce the isoflurane concentration to 0.7% to 1% [1-MED-over the shoulder].

    - Talent places a heating pad under the body of the neonate (Videographer note: heating pad was already in place) and then reaches over and turns the dial of the isoflurane machine to reduce the isoflurane concentration.

    - Added shot: Wide shot of talent plugging in USB for a heating pad.

  - Place the imaging stage under the 20X objective lens of the two-photon microscope [1-MED].

    - *film as written.

  - Apply one drop of water onto the coverslip [1-CU]. Use epi-fluorescence to locate the fluorescent protein-labeled neurons in the area where the dura has been exposed [2-SCREEN].

    - *film as written.

    - SCREEN CAPTURE: The epi-fluorescence channel is selected and the live window moves a little until the fluorescent protein-labeled neurons are located. Author note: For 4.6.2, please use between 00:01:20 and 00:01:35 of the uploaded mp4 file (4.6.2_58340 Mizuno_SCREEN CAPTURE).

  - Set the software to acquire z-stack images at 1.4-micron intervals [1-BROLL]. For layer 4 neuron imaging, set the z-width to between 150 and 200 microns to image the entire dendritic morphology. Use slow scanning and averaging to get clear images showing the neuronal morphology [2-SCREEN-TXT].

    - Use BROLL from 4.1.1. Talent using the computer.

    - SCREEN CAPTURE: In the software the z-width is set to between 150 – 300 microns. The scan speed is set to slow and then the averaging is set. TEXT: Range: 150 – 300 μm Author note: For 4.7.2, please show the z-stack panel (lower left in the capture movie) in the uploaded mp4 file (4.7.2_58340 Mizuno_SCREEN CAPTURE).

  - It usually takes more than 20 minutes to acquire the entire dendritic morphology [1-WIDE-TXT].

    - Talent settling in to watch the image form on the computer and keep an eye on the mouse as the image forms. TEXT: Laser power should be reduced as z-position moves up

- Results: In vivo Two-Photon Imaging of Cortical Neurons in Neonatal Mice

  - This image shows representative Z-stack time-lapse images of the layer four cortical neurons of a P5 pup [1-LM]. The arrowhead indicates the neuron to be analyzed [2-LM]. Neurons with blurred dendrites should be removed from the analysis [3-LM].

    - LAB MEDIA: 58340_Mizuno_Figure2D_P5. Video Editor please show the image without either arrow. Author note: For 5.1.1-5.5.1, please use the uploaded tif file (5.1.1-5.5.1_58340 Mizuno_Figure2_layers).

    - LAB MEDIA: 58340_Mizuno_Figure2D_P5. Video Editor please add the full arrow at upper right.

    - LAB MEDIA: 58340_Mizuno_Figure2D_P5. Video Editor please add the triangular arrowhead at lower left.

  - This image shows higher magnification time-lapse images of the indicated neuron in the prior image [1-LM]. Blue arrowheads indicate dendritic tips [2-LM], and the small, white arrowheads indicate the axon of a neighboring cell [3-LM].

    - LAB MEDIA: 58340_Mizuno_Figure2E_P5. Video Editor please show the image without arrows.

    - LAB MEDIA: 58340_Mizuno_Figure2E_P5. Video Editor please add the blue arrowheads.

    - LAB MEDIA: 58340_Mizuno_Figure2E_P5. Video Editor please add the small, white arrowheads.

  - The dendritic tips are retracted after 4.5 hours [1-LM], and elongated dendritic tips, indicated by yellow arrowheads, are visible [2-LM].

    - LAB MEDIA: 58340_Mizuno_Figure2E_P5+4.5h. Video Editor please show image with the white arrows but without the yellow arrows.

    - LAB MEDIA: 58340_Mizuno_Figure2E_P5+4.5h. Video Editor please add the yellow arrows.

  - A representative dendritic morphology reconstruction is shown here [1-LM].

    - LAB MEDIA: 58340_Mizuno_Figure2F. Video Editor please show image.

  - Neurons showing disconnected dendrites, as seen here, should be excluded from analyses [1-LM].

    - LAB MEDIA: 58340_Mizuno_Figure2G. Show image.

- Conclusion (said by authors on camera)

  - Hidenobu Mizuno: While attempting this procedure, it’s important to remember to keep the dura intact during removal of the skull [1-INT].

    - Hidenobu Mizuno: speaks the above text to camera, interview style. Video Editor please intersperse with footage from step 3.1.

  - Hidenobu Mizuno: Using this procedure, other methods like in vivo calcium imaging can be performed to answer additional questions related to the neuronal activity pattern in neonatal brain [1-INT].

    - Named author states the above, looking slightly off frame, interview style.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# Insert your media filenames here.

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.