# DRAFT: DO NOT USE FOR FILMING

# Submission ID #: 58409

# Editor Name: William Hoston

# Videographer name:

# Film Date:

# Link: https://www.jove.com/account/file-uploader?src=17814793

# Authors and Affiliations: Takamichi Nakamoto1, Sami Ollila1, Shingo Kato1, Haining Li1,2, Guiping Qi1

# 1Tokyo Institute of Technology, Japan

2University of Electronic Science and Technology of China, China

# Title: Enhancement Method of Surface Acoustic Wave-atomizer Efficiency for Olfactory Display

# Corresponding Author: Takamichi Nakamoto (nakamoto.t.ab@m.titech.ac.jp; +81(45)-924-5017)

# Co-authors:

Authors, please fill out the brief questionnaire below.

A.  Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)____N_____

Can you record movies/images using your own microscope camera? (Y/N)_________

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope: _____________________________________________

B.   Software Usage: Does your protocol include detailed, step-by-step, descriptions of software usage? (Y/N)___N_____

C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

__4.2.1, 6.2, 6.3, 6.3.2 _________________________________________

Authors, please answer this question with the steps listed here in the protocol section for use by the videographer.

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) ____6.2, 6.3_______________________

Authors, please answer this question with the steps listed here in the protocol section for use by the videographer.

E.  Will the filming need to take place in multiple locations? (Y/N) ___Y____ If yes, how far apart are the locations? _____About 20m  two rooms at the same floor__________

1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words.

A.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)

Authors: Below are statements we would like you to complete that provide additional information about the significance of your protocol. You may revise the given prompts as necessary to improve the sentence flow.

Please complete the following two statements and indicate the name of the author who will give the statement. If only one author is giving interview statements, the same author may speak both statements. Please restrict the length of each statement to no more than 30 words.

  - Takamichi Nakamoto: This method can help answer key questions in the Human interface_________ field, such as ___olfactory VR (Virtual Reality)____.

  - The main advantage of this technique is that rapid presentation of smell in virtual reality__.

B.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)

Authors: The following statements may be spoken by additional authors if desired. These statements must be completed by different authors than those who gave the required statements, and no more than one statement can be spoken by each additional author. Please restrict the length of each statement to no more than 30 words. You may revise the given prompts as necessary to better fit your protocol, but please remember that the total introduction length cannot exceed 150 words.

  - Sami Ollila: In our system, a micro dispenser jets a few nano liter droplet and then a surface acoustic wave device atomizes a liquid droplet to generate smell.

  - Since the atomization occurs instantaneously, it enables rapid smell presentation.

  - Visual demonstration of this method is critical to show the atomization behavior.

# C. Introduction of Demonstrator: (Said by you on camera. Don’t forget to smile!)

Authors: If any individuals will be doing demonstrations on camera but are not assigned a speaking part in the introduction section, please use statement 1.8 to introduce these individuals (for example, the PI introduces a student not speaking on camera). Please use this statement ONLY if the demonstrator has not given an interview statement and limit the statement to no more than 30 words.

  - ** Takamichi Nakamoto: Demonstrating the procedure will be Sami Ollila, a short-term exchange student from my laboratory. Shingo Kato, graduate student from my laboratory will also join it.

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# *Note to the Authors: Goal and interview statements will be edited to conform to the specified number and length restrictions. I am happy to help if you have any questions.

D.  Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by the Human Research Ethics Committee of Tokyo Institute of Technology.

# Protocol: (read by voice talent at JoVE)

Authors:  In order to ensure that your protocol can be filmed in a single day, the protocol text must be limited to 30 steps (marked with two-digit numbers, e.g. 2.1., 2.2.) and 60 "shots" (designated by a three-digit number, e.g. 2.1.1, 2.2.2). The scope of the scripted protocol text should include only those aspects of the procedure that require visualization in order to be well understood.

- The Surface Acoustic Wave Device

  - (Authors: If the impedance measurement step is not in the video, should the device be shown on the printed circuit board in this section? If it should be, would you like to start by showing the SAW device already on the printed circuit board? yes please do it) Prepare the surface acoustic wave device for the olfactory display. [1-WIDE] This device has 21 finger pairs of an inter-digitated transducer and 32 finger pairs of reflectors on one side. [2-CU-TXT] (Authors: When speaking of the SAW, should it one say “surface acoustic wave”? Can one say “S-A-W”, that is spell it out? You can say surface acoustic wave) Mount the SAW device on an aluminum printed circuit board using aluminum foil and conductive paste. [3-CU]

    - Talent at bench inspecting device

    - Detail of device [TEXT: 10 MHz SAW on LiNbO3 substrate. See text protocol.]

    - Put the conductive paste both on SAW device and PCB, add the aluminum folio and then baking the device on hot plate.

- Device Silanization

  - (Authors: I have assumed the device is not on the printed circuit board for the silanization and teflon coating steps. Yes, we use SAW device before mounting on PCB) For silanization, prepare an amino-based silane coupling agent. [1-WIDE-TXT] (Authors: I believe you have a typographical error in step 2.1 of your manuscript when naming the chemical. How much of this solution do you make? It is 3-aminopropyltriethoxysilane. The volume of solution is 20mL) Put the agent aside and clean the device with an acetone soaked cotton swab. [2-MED] When done, take the device to a dip coater and attach it. [3-MED]

    - Talent at bench with solution, putting it aside [TEXT: 3-aminopropyl triethoxy silane in water, 0.5% (v/v)]

    - Talent cleaning the device

    - Talent moving device to a dip coater

  - Orient the device so that the atomization area will be immersed. [1-CU] Next, set up silane coupling solution for use with the dip coater. [2-MED] Then, lower the device so the atomization area is immersed. [3-MED-TXT]

    - The device properly mounted on the dip coater

    - Talent putting silane solution into position on dip coater

    - Talent engaging dip coater [TEXT: Speed: 0.2 mm/s]

  - Keep the device in solution for 5 minutes. [1-CU] Raise the device out of the solution. [2-MED-TXT] Keep the device in air for 5 minutes. [3-CU] Next, rinse the device in pure water for 1 minute. [4-MED] (Authors: Do you remove the device from the dip coater before you rinse it? Yes)

    - The device supported in the solution by the dip coater

    - Talent operating dip coater [TEXT: Speed: 1.7 mm/s]

    - The device supported in air by the dip coater

    - Removing device from dip coater and then rinsing the device under water.

- Amorphous Teflon Coating

  - Move on to prepare the amorphous Teflon material and solvent. [1-MED-TXT](Authors: How much of this solution do you make? 20mL)  Take the solution to the dip coater. [2-MED] Have the device mounted with the same orientation that will immerse the atomizer atomization area [3-CU]. (Authors: Did the device remain on the dip coater after silanization? yes)

    - Talent at bench preparing Teflon [TEXT: 3% (v/v) amorphous Teflon solution in solvent]

    - Talent at/approaching the dip coater with the solution

    - The device properly mounted on the dip coater

  - Place the Teflon solution on the dip coater and lower the device. [1-MED-TXT] Keep the atomization area in the solution for 15 seconds. [2-CU] Raise the device out of the solution. [3-MED-TXT] Keep the device in the air for 5 minutes. [4-CU]

    - Talent placing the solution on the dip coater and operating it [TEXT: Speed: 0.2 mm/s]

    - Detail of the device with the atomizer immersed

    - Talent operating the dip coater [TEXT: Speed 1.7 mm/s]

    - Detail of the device in the air

  - Lower the device into the solution a second time. [1-MED-TXT] Wait 15 seconds and raise it into the air again. [2-MED-TXT] After 30 minutes in the air, remove the device. [3-MED] Place it on a hot plate at 180 degrees Celsius to bake for 60 minutes. [4-MED]

    - Talent operating dip coater [TEXT: Speed: 0.2 mm/s]

    - Talent operating dip coater [TEXT: Speed: 1.7 mm/s]

    - Talent removing device from dip coater

    - Talent placing device on a hot plate [TEXT: Bake at 180 ºC for 60 min]

- Experimental Setup for Atomization

  - Prepare the SAW device for the experiment. [1-WIDE] Mount it on an aluminum printed circuit board using aluminum foil and conductive paste. [2-CU-TXT] (Authors: Was Figure 5 prepared in Powerpoint or Illustrator? If so, can you provide a copy of the file with access to the layers/elements? I enclose ppt file of Figure 5)  Connect the device to an RF power amplifier driven by a function generator. [3-??] (Authors: How is the device held for the experiment? Device is held using an acrylic adaptor fabricated using 3D printer)

    - Talent at bench with equipment for experiment, inspecting the device

    - The mounted device [TEXT: See text protocol for finding its frequency characteristics]

    - LAB MEDIA: Figure 5?

  - Set the waveform of the RF burst signal to be a sine wave with a duty cycle of 10%. Set the wave frequency to the SAW device oscillation frequency. [1-LM?](Authors: How would you like to convey this information? Do you want to show something similar to Figure 4, panel a? If so, please submit a separate image. Do you have other ideas? We can show actual RF burst signal using an oscilloscope.) Next, connect a burst square wave generator to a solenoid valve that allows a 24 Volt pulse signal to the dispenser. [2-LM][3-CU] (Authors: What visual do you suggest for this step? We can show waveform of the pulse signal using an oscilloscope) Set up a micro air pump to drive fluid to the micro-dispenser. [4-LM][5-CU] (Authors: What visual do you suggest for this step? We can check the voltage of micro air pump using a voltmeter. Will you use an IR thermometer in the video? No, we do not plan to use IR thermometer. Please provide a photo of your experiment. This is only for my reference; a cell phone photo is fine. We enclose the photo.)

    - LAB MEDIA: Image similar to Figure 4, panel a

    - LAB MEDIA: Figure 5?

    - Talent making connections stated

    - LAB MEDIA: Figure 5?

    - Talent making connections stated

- Atomization

  - Move on to studying atomization with the device. [1-WIDE] Put liquid into a vial and place it in the setup. [2-MED] (Authors: What liquid will you use for the video? We use ethanol for atomization experiment since it can be clearly observed.) Air will enter the vial through the micro air pump. The fluid will go the solenoid valve. [3-CU](Authors: Can the details of this be easily captured by camera? yes)

    - Talent at bench, filling vial with fluid

    - Talent placing vial into the setup

    - Detail of the vial in the setup with tubes from air pump and into solenoid valve

  - Set the waveform of the pulse signal applied to the micro-dispenser. [1-MED] Use function generator to set a square wave pulse sequence with a 10% duty cycle. [2-LM] Observe the surface of the device. [3-MED] (Authors: Is this done using a microscope? No, you can observe it without microscope.) Over time, the pulse sequence will form a large droplet for atomization. [4-CU or ECU]

    - Talent setting waveform

    - LAB MEDIA: Figure 4, panel b (Authors: Please submit this panel separately Yes We attach this figure)

    - Talent moving to observe the surface of the device

    - The droplet on the device just before it is ready for atomization

  - Apply the RF burst signal to the device for as long as needed to atomize the droplet. [1-??](Authors: Can the surface of the device be observed during the atomization? Yes, you can observe it) Observe the surface of the device to inspect the remaining liquid droplet. [2-CU-TXT]

    - Talent at instruments, applying the signal

    - The surface of the device after atomization [TEXT: For comparison, repeat atomization with an uncoated device.]

- Detecting Scents

  - Once the system is ready, recruit a person to detect scents. [1-WIDE] Place the liquid into a vial and place it in the setup. [2-MED] Adjust the height of the atomizer so that it is at the participant’s nose. [3-MED]

  - Dispense the liquid onto the device. [1-MED](Authors: What do you mean by this? Is the drop atomized at this point?) Turn on the fan. [2-??] (Authors: What fan is this. Where is it placed?) Allow the participant to detect the scent.[3-??](Authors: Where is the participant? At what distance from the device?) Although we use FAN for another experiment, we omit it for JoVE experiment. Thus, the text 6.4 “Turn on the fan” should be replaced with “Atomize the liquid”.  A person sitting on chair sniffs the generated smell from the device on the desk. The distance is 20-30cm.

OPTIONAL: Author Protocol Interviews: In this section, please submit a brief statement stressing the required technique for the single most critical step of the procedure.  This will be an interview style shot, interjected into the appropriate point of the protocol section of the video. If there is no single critical step, then there is no need to fill this out.  If there are two critical steps, please fill out two statements, but this is the maximum.  Each statement, should be 40 words or less.  Please specify who will speak these parts and which step(s) in the protocol the statement pertains to.  Use the step numbers given above.

# Sami Ollila, Step   3.2.3, 4.2.1      :    It is important to keep the slow dipping speed constant to obtain uniform coating film.

# Shingo Kato, Step   5.2         :   It is necessary for micro dispenser to be filled with liquid automatically before the atomization.  One of the solution is to use the air pump to drive the liquid

- Results: Comparison of Wetting and Atomization on Bare and Coated Lithium Niobate Surfaces  Authors: As written, does this results section accurately represent your findings and emphasize the appropriate points? If not, please see Results Instructions for Authors below. It is ok.

  - In this top view of a bare lithium niobate surface, one microliter of ethanol has spread to a thin film. [1-LM] In contrast, this side view of a coated device surface demonstrates the formation of a droplet. [2-LM] (Authors: Please provide the panels of Figure 6 separately and without the panel labels [a, b, c, d]) We enclose the panels separately.

  - This is a microliter droplet of water on a bare surface. It eventually spread into a thin film. [1-LM] A microliter droplet of water on a coated surface persisted. [2-LM]

  - In this sequence, a thin film of lavender is atomized on an uncoated surface. [1-LM] Strong atomization occurs at the center of the liquid, but not the edge. [2-LM] In the end, part of the liquid remains. [3-LM] (Authors: Please provide the two panels in Figure 7 separately and without the labels a, b. Can the sequence of images you have be used to create a video?) We enclose two panels of Figure 7 separately.

  - A similar sequence for a lavender drop formed on a coated surface shows a concentrated mist during atomization. [1-LM] Much less liquid was left in a smaller area. [2-LM]

# RESULTS INSTRUCTIONS FOR AUTHORS:

Please ensure that the representative results narration is appropriate and correctly describes your images, movies, or figures.  Our editors will ensure that the results are written in our format.

We consider this section a critical aspect of the video, because here is where you provide validation for your experiments.  For example, if this is a cell culture preparation, this section is where the video will show your cells at various time points following culturing.  If this is an imaging prep, then this part is where you will show examples of your imaging experiments.

Please limit the extent of narration to no more than 2-3 lines of text per image or movie file being described.  The results section is limited to 200 words total. If your results section contains more than 3-4 figures, please choose the most important figures to illustrate your results. Figures with multiple panels submitted with the original protocol should be broken up so that each panel is a separate image. Each image or movie file supplied for the video results section should be referenced by its specific file name.

Below is an example of results text:

# EXAMPLE REPRESENTATIVE RESULTS

5.  Evaluation of Morpholino Injection and Knockdown

5.1   Representative results of both morpholino injection and mRNA injection are shown here. The

uninjected control at 48 hours post fertilization looks normal, as expected

-LAB MEDIA: 0123_PIname_Figure1.tif  (Replace 0123 with your jove video #)

# 5.2   However, embryos injected with the morpholino heg_e3i3_egfr1, which knocks down Heg isoforms

containing the first of two EGF-like repeats, exhibit brain edema.

-LAB MEDIA: 0123_PIname_Figure2.tif

# 5.3   Injection of heart of glass mRNA also produced an obvious phenotype. At 24 hours post fertilization,

the heads of the uninjected controls look normal

-LAB MEDIA: 0123_PIname_Figure3.tif

5.4   Conversely, some of the embryos injected with the mRNA exhibit cyclopia

-LAB MEDIA: 0123_PIname_Figure4.jpg

# Please visit the following URL to see an example of how the results will look when complete:

# http://www.jove.com/video/1597/results-example-mably?status=a3603k

- Conclusion (said by authors on camera)

Authors: Below are statements we would like you to complete that summarize and conclude the video. Please choose the statement(s) you wish to conclude the video and indicate the name of the author who will give the statement. Please restrict the length of each statement to no more than 40 words. You may revise the given prompts as necessary to better fit your protocol.

  - Sami Ollila: It is possible to enhance the atomization efficiency after amorphous Teflon coating. (Section 6.3.2) Authors: If this statement is used and you are referring to a certain step, let us know which step; we’d like to show it during your statement.

  - Although a part of liquid on the uncoated device still remains after the atomization, the liquid droplet on the Teflon coated device is almost atomized. (Section 6.3.2)

  - Shingo Kato: This efficiency improvement is very effective to use an olfactory display in the virtual environment since the remaining liquid droplet causes the smell persistence problem.

  - After its development, this technique paved the way for researchers in the field of virtual reality to explore olfactory VR.

  - Takamichi Nakamoto: Although this is a fundamental technology to realize olfactory VR, a variety of its applications can be considered.

# *Note to the Authors: Interview statements will be edited to conform to the length restrictions. I am happy to help if you have any questions.

# Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

# 6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.

# 5.1 Figure 5. ppt

# 5.2 whole_test_setup.jpg   photo of whole experimental setup

# 6.2.2 Figure 4 (b).jpg

# 8.1 Figure 6(a).jpg, Figure 6(b).jpg, Figure 6(c).jpg, Figure 6(d).jpg

# 8.3 Figure 7 (a), Figure 7 (b)

# General Preparation

# It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.

# All tubes/flasks should be pre-labeled neatly before we arrive.

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.