## Sheet1
Name of Reagent/ Equipment | Company | Catalog Number | Comments/Description
Metabolic cart/portable system | MCG Diagnostics | Mobile Ultima CPX System | The flow calibration syringe, and calibration gases should come with system. There are numerous possible options/alternatives.
Pulmonary function software (Breeze Suite) | MCG Diagnostics |  | Software used will depend on the metabolic system
Upright cycle ergometer | Lode ergoline | 960900 | Numerous possible options/alternatives
12-Lead ECG | GE Healthcare | CASE Exercise Testing System | Used for 12 lead ECG capture, control bike. Having a full 12-lead is ideal for maximal exercise test so can monitor for arhythmias, but alternative for just HR would be a wireless chest strap heart rate monitor
Pulse oximeter | Masimo | MAS-9500 | Usually multiple probe options: finger, forehead, ear lobe. Usually avoid finger as tight handlebar grip can cause measurement inaccuracies
Pneumotach (preVent Flow Sensor) | MCG Diagnostics | 758100-003 | Alternative systems can use a turbine
Nose piece (disposable) | MCG Diagnostics | 536007-001 | Numerous possible options/alternatives
Mouthpeice with saliva trap | MCG Diagnostics | 758301-001 | Suggest filling the saliva trap with paper towel/gauze and tape cap to limit dripping
Headband | Cardinal Health | 292866 | Used to secure the forehead pulse oximeter and the lines for the cart
Stethescope | 3M Littman | 3157SM | Numerous possible options/alternatives
Blood pressure cuff | HCS | HCS9005-7 | Cuff size will depend on the population planning to test
ECG Electrodes | Cardinal Health | M2570 | only needed with lead based ECG/HR monitoring
K2EDTA tube 5mL | Becton Dickinson | 368661
*The table provides a list of the supplies and equipment utilized in this protocol and comments related to the equipment. Brand name/company is provided, but the use of other brands will not affect the results, key is to keep it consistent throughout testing in a particular study.

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=