## List1
Step | Settings
Calibration | Automatic
Equilibration | Automatic
Baseline measurement | Three times: Mix – 3 min, Wait – 0 min, Measure – 3 min
Injection of the port A | Injection
Measurement | Three times: Mix – 3 min, Wait – 0 min, Measure – 3 min
Injection of the port B | Injection
Measurement | Three times: Mix – 3 min, Wait – 0 min, Measure – 3 min
Injection of the port C | Injection
Measurement | Four times: Mix – 3 min, Wait – 0 min, Measure – 3 min