# Title:

# In Vivo Imaging of Reactive Oxygen Species in a Murine Wound Model

# Authors and Affiliations:

# Piul S. Rabbani1, Salma A. Abdou1, Darren L. Sultan1, Jennifer Kwong1, April Duckworth1, Daniel J. Ceradini1

1Hansjörg Wyss Department of Plastic Surgery, New York University School of Medicine, New York, NY, USA

Corresponding Authors:

Piul S. Rabbani, PhD (Piul.rabbani@nyumc.org)

Tel: 646-501-8399

Daniel J. Ceradini, MD (Daniel.ceradini@nyumc.org)

Tel: 646-501-8399

Email Addresses of Co-authors:

Salma A. Abdou (salma.abdou@nyumc.org)

Darren L. Sultan (darren.sultan@nyumc.org)

Jennifer Kwong (jennifer.kwong@nyumc.org)

April Duckworth (april.duckworth@nyumc.org)

# Keywords:

In vivo imaging, reactive oxygen species, wound healing, luminol-based chemiluminescent probe, murine wound model, diabetes mellitus

# Summary:

We describe a non-invasive in vivo imaging protocol that is streamlined and cost-effective, utilizing L-012, a chemiluminescent luminol-analog, to visualize and quantify reactive oxygen species (ROS) generated in a mouse excisional wound model.

# Abstract:

The generation of ROS is a hallmark of inflammatory processes, but in excess, oxidative stress is widely implicated in various pathologies such as cancer, atherosclerosis and diabetes. We have previously shown that dysfunction of the Nuclear factor (erythroid-derived 2)-like 2 (Nrf2)/ Kelch-like erythroid cell-derived protein 1 (Keap1) signaling pathway leads to extreme ROS imbalance during cutaneous wound healing in diabetes. Since ROS levels are an important indicator of progression of wound healing, specific and accurate quantification techniques are valuable. Several in vitro assays to measure ROS in cells and tissues have been described; however, they only provide a single cumulative measurement per sample. More recently, the development of protein-based indicators and imaging modalities have allowed for unique spatiotemporal analyses. L-012 (C13H8ClN4NaO2) is a luminol derivative that can be used for both in vivo and in vitro chemiluminescent detection of ROS generated by NAPDH oxidase. L-012 emits a stronger signal than other fluorescent probes and has been shown to be both sensitive and reliable for detecting ROS. The time lapse applicability of L-012-facilitated imaging provides valuable information about inflammatory processes while reducing the need for sacrifice and overall reducing the number of study animals. Here, we describe a protocol utilizing L-012-facilitated in vivo imaging to quantify oxidative stress in a model of excisional wound healing using diabetic mice with locally dysfunctional Nrf2/Keap1.

# Introduction:

Oxygen metabolites generated through inflammatory processes contribute to various signaling cascades as well as destructive alteration of cellular components1. Utilizing sensitive and specific techniques to measure ROS is critical for studying inflammatory processes and characterizing the effects of oxidative stress. In vivo imaging is valuable because of its ability to provide dynamic spatial and temporal data in living tissue. L-012 is a synthetic chemiluminescent probe that is highly sensitive for superoxide anions and produces a higher light intensity than other fluorescent probes in cells, tissues, and whole blood1-4. It has been successfully employed for in vivo imaging in murine models to study several inflammatory diseases, including arthritis and colitis5,6. It has yet to be employed in an established cutaneous wound healing model. Measurement of ROS generated is equally relevant to assess the progression of wound healing under different conditions. The sensitivity and noninvasive nature of this method makes it a promising technique for studying wound healing across murine models.

Nrf2 is a major driver of the antioxidant response and a transcriptional factor with specificity for the antioxidant response element (ARE) common to the promoter regions of several antioxidant enzymes8. In the absence of oxidative stress, Nrf2 is sequestered in the cytoplasm by Keap1, which subsequently causes its ubiquitination and degradation. Imbalance of the Nrf2/Keap1 pathway has been implicated in inappropriate redox homeostasis and delayed wound healing in the setting of increased oxidative stress9. We have previously shown that suppression of Keap1 stimulates increased Nrf2 activity and promotes rescue of pathologic cutaneous wound healing in diabetic wounds9.

Here we describe a protocol that utilizes L-012-assisted bioluminescence imaging to measure ROS levels in an excisional cutaneous wound healing model, which is critical for highlighting the association between ROS and wound healing. This technique demonstrates real-time changes in oxidative burden within wounds and immediate periphery. Furthermore, this method allows for rapid assessment of interventions and mechanisms that affect redox handling. Here we use a model of Keap1 knockdown for the restoration of redox homeostasis to evaluate the applicability of our strategy. Because our technique is non-invasive and wounds are undisturbed, the same animal can be used for further confirmatory analyses on the basis of histology or cell lysates.

# Protocol:

All methods described here have been approved by the Institutional Animal Care and Use Committee of New York University School of Medicine. All mice are housed behind a barrier and all personnel wear appropriate personal protective equipment.

- Day 0: Preparation of Murine Model of Excisional Wound Healing

  - Anesthetize diabetic (Leprdb/db) mice, aged 8-12 weeks, with inhalational 2% isoflurane. Confirm that each mouse has been properly anesthetized using the foot pad pinch test. Apply sterile ocular lubricant to each eye to prevent irritation from dryness.

  - Weigh the mice and record the body weight of each mouse. Record blood glucose of each animal using a glucometer.

  - Disinfect procedural workspace and anesthesia equipment. Remove dorsal hair of the mice using a hair trimmer, followed by application of hair removal lotion to wipe away excess hair. Use alcohol wipes to clean the exposed skin, twice, and allow to dry.

  - Create two 10 mm full-thickness wounds extending through the panniculus carnosus using sterile 10 mm biopsy punches according to a well-established excisional wound healing technique7,8. Use sterile gloves for all survival surgery. Autoclave all surgical instruments in bags prior to surgery and open only in the surgical field.

  - Splint the wounds open using a 0.5 mm thick silicone sheet with 10 mm circular cutouts and secure the stents in place using interrupted 4-0 silk sutures.

  - Following surgery, remove animals from anesthesia and place on heating pad to facilitate proper recovery. Monitor the animals until they are awake and mobile.

  - Once fully recovered, return animals to individual cages, containing food and water. Provide shredded paper towels as additional nesting material for 2 weeks. Do not house animals that have undergone surgery with other animals, to prevent adverse interactions and changes to wound healing status.

  - For post-operative pain relief, inject mice subcutaneously with buprenorphine at 0.1 mg/kg of body weight twice a day, starting immediately following the procedure, for 3 days.

- Day 1: Preparation of Keap1 siRNA

Note: Prepare all treatments inside a biosafety cabinet.

  - Prepare siRNA dilution by combining 37.5 µL of reduced serum medium with 12.5 µL of 20 µM Keap1 siRNA (siKeap1) (250 pmol) in a 1.5 mL microcentrifuge tube on ice.

  - Prepare liposome dilution by combining 25 µL of reduced serum medium with 25 µL of liposome mix in a 1.5 mL microcentrifuge tube.

  - Add 50 µL of siRNA dilution to 50 µL liposome dilution dropwise (1:1 volume), and gently mix.

  - Incubate for 20 minutes at room temperature.

  - Add 50 µL of 2% methylcellulose gel in water and mix gently by pipetting up and down.

  - Treat each animal with either a nonsense siNS (control) or siKeap1 (experimental). Apply the gel to the top of the wound. Wrap the animal’s torso with transparent film dressing to keep gel in place, keeping the limbs free to maintain mobility.

- Day 3: Preparation of L-012 Solution

Note: Prepare all reagents in a biosafety cabinet.

  - In a 1.5 mL microcentrifuge tube, prepare L-012 in 1X PBS at a concentration of 0.5 mg/100 L.

  - Manually vortex the microcentrifuge tube. The L-012 does not completely dissolve into the PBS, however it should be evenly suspended in the liquid. Of note, do not attempt to dissolve L-012 in water to avoid disturbing physiologic electrolyte balance following injection.

  - Transfer the solution into a 1 mL syringe using a 27-gauge needle. Be sure to protect the L-012 solution from light.

- Day 3: In vivo Imaging of Diabetic Wounds

  - Anesthetize mice with inhalational 2% isoflurane. Confirm that each mouse has been properly anesthetized using the foot pad pinch test. Apply sterile ocular lubricant to each eye to prevent irritation from dryness.

  - Gently remove the transparent film dressing from the mice without disturbing the wounds.

  - Place the mice in the imaging chamber in their respective orders. To maintain proper O2 levels in the chamber, set the imaging system inflow and the induction chamber O2 levels to 1.0 L/min.

  - Image the mice for bioluminescence and photograph at baseline before injection of L-012 compound.

  - Wipe the abdomen with alcohol wipes and allow to dry. Perform an intraperitoneal injection of the L-012 solution at 5 mg per 200 g body weight using a 27-gauge needle. For example, a mouse weighing 20 g should receive 0.5 mg of L-012.

  - Immediately following the L-012 injection, place the mice back in their respective locations in the imaging chamber. Image the mice over the course of 60 minutes, for 1 minute at 4 minute intervals. Define the 10-mm wound as the region of interest for determining level of ROS.

  - Following surgery, remove animals from anesthesia and place on heating pad to facilitate proper recovery. Monitor the animals until they are awake and mobile.

  - Once fully recovered, return animals to individual cages, containing food and water. Provide shredded paper towels as additional nesting material for 2 weeks. Do not house animals that have undergone surgery with other animals, to prevent adverse interactions and changes to wound healing status.

# Representative Results:

Three days after creating bilateral wounds according to an established excisional wound model (Figure 1A), diabetic mice are positioned in the imaging chamber. An initial photograph and a measure of bioluminescence are taken before injection of L-012 to account for background signal (Figure 1B). Following intraperitoneal injection with the L-012 solution, the mice are repositioned in the chamber and bioluminescence is visualized in areas of the wound where ROS is detected (Figure 1C). After selecting the correct imaging and analysis settings as outlined in Figure 2, proceed with imaging. Bioluminescence is recorded for 1 minute at 5-minute intervals over the course of 60 minutes (Figure 3). This demonstrates the bioluminescence saturation of the region of interest over time. In our animal model, optimal imaging time to reach complete L-012 saturation was determined to be 50 minutes, after which no notable difference in bioluminescence was appreciated. This time will differ depending on the animal model utilized and should be independently determined and optimized for varying wound models depending on size, animal type, treatment, etc.

A region of interest (ROI) for the purpose of quantifying bioluminescence limited to the diabetic wound area is drawn on the overlay image (Figure 4). These ROIs are similarly defined for all wounds including before L-012 injection (Figure 4A), and after L-012 injection in nonsense siRNA-treated (Figure 4B) and Keap1 siRNA-treated mice (Figure 4C). Bioluminescence was calculated by dividing the total counts of light intensity by the area. Table 1 shows the calculations graphed in Figure 4D. The nonsense siRNA-treated diabetic wounds had 45,775  11,649 bioluminescence/cm2, while Keap1 suppression resulted in 19,405 5,939 bioluminescence/cm2 (mean  SD). A Student’s t-test demonstrated a significantly decreased bioluminescence (p=0.042) in the Keap1 siRNA-treated wound as compared to the nonsense siRNA-treated wound, correlating with lower oxidative burden with higher Nrf2 activity (Figure 4D). To confirm that the relative levels of ROS visualized by L-012 on siNS and siKeap1 correlate with other established means of measuring inflammation, we analyzed 10 day wound tissue sections. H&E stains showed reduced cellular infiltration in siKeap1-treated wounds in contrast to siNS-treated ones, indicating reduced inflammatory morphology (Figure 5A). Immunoreactivity of F4/80, a protein macrophage marker, (red fluorescence) on wound tissue sections revealed reduced macrophages in siKeap1 treated wounds as compared to siNS-treated wounds (Figure 5B). This further demonstrates that the ROS levels visualized by L-012 are accurate and correlate with other established ROS measurement models. Critically, applying this technique did not necessitate sacrificing the animals for tissue sections as is required for H&E and immunofluorescence staining.

# Figure and Table Legends:

Figure 1. Experimental set-up for imaging. (A) Diabetic mice are wounded using an established excisional wound model. (B) A baseline overlay of photograph with bioluminescence pre-L-012 injection. (C) Following intraperitoneal injection with L-012, ROS is visualized. Luminescence scale for B and C.

Figure 2. Image and analysis settings in in vitro imaging system program. (A) Select “Imaging Wizard” on the Acquisition Control Panel (red arrow). (B) “Bioluminescence Imaging” is the imaging mode selected. (C) “Open filter” is selected as the measurement technique. (D) Imaging subject selected is “mouse” and the “time series study” option is selected. The total number of segments and delay time between segments is input. (E) Select “Acquire Sequence” to proceed with imaging.

Figure 3. Longitudinal studies of in vivo ROS imaging. Diabetic mice are imaged for 1 minute following intraperitoneal injection with L-012 at 5 minute intervals over the course of 60 minutes. Red circles = ROI.

Figure 4. Quantifying bioluminescence. Photographs with bioluminescence overlay of diabetic wounds (A) prior to L-012 injection, (B) with wounds treated with siNS after L-012 injection, and (C) with wounds treated with siKeap1 after L-012 injection. (D) Quantification of average bioluminescence divided by surface area of the ROIs for siNS and siKeap1 treated wounds. Yellow circles = ROI. Data are represented as mean±standard deviation; *p < 0.05, n=4.

Figure 5. ROS Correlations with immunohistochemical stains. (A) H&E stains of diabetic wound tissue sections at 10 days showed reduced cellular infiltrate as evidence of reduced inflammatory morphology in the siKeap1 treated wounds as compared to the siNS-treated wounds. (B) F4/80 immunofluorescence (red) showed decreased number of macrophages in siKeap1 treated wound sections at 10 days as compared to their siNS-treated counterparts.

Table 1. Quantifying bioluminescence for defined ROIs. Bioluminescence is measured for each ROI and standardized relative to surface area. Calculations for mean, standard deviation, and standard error are calculated accordingly. ROI 1, 2, 3, and 4 represent ROI from wounds of biological repeats of siNS treated diabetic wounds and ROI 5, 6, 7, and 8 represent ROIs from biological repeats of siKeap1 treated diabetic wounds.

# Discussion:

Common techniques for measuring ROS have been limited by complex protocols requiring tissue extraction or similarly invasive techniques. In recent years, measurements of oxidative stress have been reported on the basis of innovative imaging modalities, thereby allowing for spatiotemporal assessments9-11. L-012 has several advantages as a chemiluminescent probe relative to luminol, lucigenin, and MCLA1,4. The compound is non-toxic, easily absorbed, and has much stronger bioluminescence as compared to luminol or similar probes12. Critically, L-012 can be safely administered multiple times in continuum for longitudinal analysis without any adverse effects or harm to animal models6. This strategy requires limited special training, and the equipment necessary is readily available in most research laboratories, making it a widely accessible protocol.

For optimal use, we suggest that reagents be properly up to date and protected from light to avoid degradation. Humanizing wounds through stenting allows for murine wounds to heal through migration and re-epithelialization, as opposed to by significant contraction. Sutures should be placed two thirds of the way through the stent perimeter to secure wound edges in place. Wrapping mice with transparent film dressing after gel application ensures that topical treatments remain in place. To prevent self-inflicted wounds in the mice, which may confound results, bitter-tasting spray may be applied to the periphery and suture knots to discourage biting. L-012 has limited solubility in PBS but will form a suspension by repetitive pipetting of the solution. These troubleshooting measures ensure consistency across different wounds, eliminating inter-user variability while maintaining animal comfort. Since this technique relies on the intraperitoneal injection of a solution into an animal model, there are several interfering factors inherent to the animals which cannot be controlled. For example, local blood flow and subsequent absorption and localization of L-012 to the areas of interest cannot be dictated. However, this variable can be mitigated through the use of an animal as its own internal control such that one wound can be treated with siNS and the other with the siKeap1.

We report on the utility of a strategy for the in vivo study of ROS in a cutaneous wound healing model. In our present study, treatment of wounds with Keap1 siRNA resulted in decreased oxidative burden which confirms our understanding of the significance of the Nrf2/Keap1 pathway for antioxidant handling. While this method allows for quantitative analysis, there are a number of important limitations. While L-012 is highly sensitive, it is not specific for ROS and has been shown to also react to reactive nitrogen species6. Further analysis with targeted probes and immunoassay-based methods complement this approach through enhanced specificity and subcellular localization of ROS correlates13. The proposed mechanism for L-012-based bioluminescence involves the oxidation of L-012 by molecular oxygen through the activity of peroxidase in combination with H2O2 12. This limits the use of this technique for studying antioxidant enzyme inhibitors that interact with peroxidase. More detailed analysis intended to specifically quantify ROS other than superoxide anion or reactive nitrogen species metabolites is not possible with the current strategy.

Given the high sensitivity of L-012 for detecting ROS broadly, it is readily adaptable for various cutaneous wound healing and other tissue models. We have demonstrated the expediency of this technique for assessing the redox implications of targeted therapeutics to diabetic wounds such as RTA 408 and the lipoproteoplex delivery of Keap1 siRNA14,15. Given the significant strengths of this protocol, there is immense future potential in applying similar strategies for studying ROS within deeper compartments through ex vivo approaches, focused dissections, and organoids.

# Acknowledgements:

We are grateful to the Preclinical Imaging Core at the NYU School of Medicine, with special thanks to Orlando Aristizabal and Youssef Zaim Wadghiri. The core is a shared resource partially supported by the Laura and Isaac Perlmutter Cancer Center Support Grant NIH/NCI 5P30CA016087 and NIBIB Biomedical Technology Resource Center Grant NIH P41 EB017183. This work was supported by the American Diabetes Association “Pathway to Stop Diabetes” to D.C. [grant number 1-16-ACE-08] and the NYU Applied Research Support Fund to P.R.

# Disclosures:

# We have no disclosures to report.

# References:

1	Nishinaka, Y. et al. A new sensitive chemiluminescence probe, L-012, for measuring the production of superoxide anion by cells. Biochemical and Biophysical Research Communications. 193 (2), 554-559, (1993).

2	Daiber, A. et al. Measurement of NAD(P)H oxidase-derived superoxide with the luminol analogue L-012. Free Radical Biology and Medicine. 36 (1), 101-111, (2004).

3	Imada, I. et al. Analysis of reactive oxygen species generated by neutrophils using a chemiluminescence probe L-012. Analytical Biochemistry. 271 (1), 53-58, (1999).

4	Sohn, H. Y., Gloe, T., Keller, M., Schoenafinger, K. & Pohl, U. Sensitive superoxide detection in vascular cells by the new chemiluminescence dye L-012. Journal of Vascular Research. 36 (6), 456-464, (1999).

5	Fuchs, K. et al. In vivo Hypoxia PET Imaging Quantifies the Severity of Arthritic Joint Inflammation in Line with Overexpression of Hypoxia-Inducible Factor and Enhanced Reactive Oxygen Species Generation. The Journal of Nuclear Medicine. 58 (5), 853-860, (2017).

6	Asghar, M. N. et al. In vivo imaging of reactive oxygen and nitrogen species in murine colitis. Inflammatory Bowel Diseases. 20 (8), 1435-1447, (2014).

7	Galiano, R. D., Michaels, J. t., Dobryansky, M., Levine, J. P. & Gurtner, G. C. Quantitative and reproducible murine model of excisional wound healing. Wound Repair and Regeneration. 12 (4), 485-492, (2004).

8	Soares, M. A. et al. Restoration of Nrf2 Signaling Normalizes the Regenerative Niche. Diabetes. 65 (3), 633-646, (2016).

9	Wang, X. et al. Imaging ROS signaling in cells and animals. Journal of Molecular Medicine. 91 (8), 917-927, (2013).

10	Kielland, A. et al. In vivo imaging of reactive oxygen and nitrogen species in inflammation using the luminescent probe L-012. Free Radical Biology and Medicine. 47 (6), 760-766, (2009).

11	Balke, J. et al. Visualizing Oxidative Cellular Stress Induced by Nanoparticles in the Subcytotoxic Range Using Fluorescence Lifetime Imaging. Small. 10.1002/smll.201800310 e1800310, (2018).

12	Zielonka, J., Lambeth, J. D. & Kalyanaraman, B. On the use of L-012, a luminol-based chemiluminescent probe, for detecting superoxide and identifying inhibitors of NADPH oxidase: a reevaluation. Free Radical Biology and Medicine. 65 1310-1314, (2013).

13	Dikalov, S. I. & Harrison, D. G. Methods for detection of mitochondrial and cellular reactive oxygen species. Antioxidants & Redox Signalling. 20 (2), 372-382, (2014).

14	Rabbani, P. S. et al. Targeted Nrf2 activation therapy with RTA 408 enhances regenerative capacity of diabetic wounds. Diabetes Research and Clinical Practice. 139 11-23, (2018).

15	Rabbani, P. S. et al. Novel lipoproteoplex delivers Keap1 siRNA based gene therapy to accelerate diabetic wound healing. Biomaterials. 132 1-15, (2017).