## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Bovine Pericardium (BP) patch, Supple Peri-Guard Pericardium | Synovis Surgical Innovations, USA | PC-0404SN
Bovine Jugular Vein conduits (BJV) | Contegra conduit; Medtronic Inc, USA | M333105D001
CH cryopreserved homograft | European Homograft Bank (EHB) | -
Acu-Punch | Acuderm Inc, USA | P850 (8 mm); P1050 (10 mm)
human Albumin | Flexbumin; Baxter, Belgium | BE171464 LOT:16G12C
Tryptic soy broth (TSB) | Fluka, Steinheim, Germany | 22092-500G
Heart infusion broth (BHI) | Fluka | 53286-500G
Phosphate buffered saline (PBS). | Gibco | 14190-094
5(6)-Carboxyfluorescein N-hydroxysuccinimide ester (CF) | Sigma-Aldrich, Germany | 21878-100MG-F
Peristaltic pump (MODEL ISM444B) | Ismatec BVP-Z Standard; Cole Parmer, Wertheim, Germany | 631942-2
Sonication bath | VWR Ultrasonic Cleaner; VWR, Radnor, Pa | 142-6044 | 230V/50 -60Hz 60VA; HF45kHz, 30W
ProLong Gold Antifade Mountant | Invitrogen by ThermoFisher | P36930
InCell Analyzer 2000 (fluorescence scanner) | GE Healthcare Life Sciences, Pittsburgh, Pa | 29027886
Arium Pro VF - ultrapure water - H2O MilliQ | Millipore | 87206462
Microscopic slides - Tissue Culture Chambers (1-well) | Sarstedt | 94.6140.102
1-well on Lumox detachable | Sarstedt | 94.6150.101
Stainless Steel - surgical Blades | Swann-Morton | 311
Tygon Silicone Tubing, 1/8"ID x 1/4"OD | Cole-Parmer | EW-95702-06 | Temperature range: –80 to 200°C Sterilize: With ethylene oxide, gamma irradiation, or autoclave for 30 min, 15 psi of pressure
PharMed BPT Tubing | Saint-Gobain | AY242012 | Autoclavable 30 min at 121°C
Tygon LMT-55 Tubing | Saint Gobain Performance Plastics™ | 15312022
Thermostat | BMG BIOMEDIZINTECHNIK | 300-0042 | 230V, 90VA, 50Hz