## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Vector purification and chemical modification
Argon gas | Air liquide | local gas dealer
Liquid Nitrogen | Air liquide | local gas dealer
500 mL centrifuge tubes | Corning | 431123
Stericup Express Plus 0.22 µm | Millipore | SCGPU02RE
Tris(2-carboxyethyl) phosphine (TCEP) | Sigma-Aldrich | C4706-10g
2 mL (3mL) Norm Ject (syringes) | Henke Sass Wolf | 4020.000V0
Fine-Ject needles for single use (yellow 0.9 x 40 mm) | Henke Sass Wolf | 4710009040
Caesium chloride 99.999% Ultra Quality | Roth | 8627.1
Silica gel beads | Applichem | A4569.2500
Methoxypolyethylene glycol maleimide - 750 (PEG mal-750) | Iris Biotech |  | store in silica gel beads at -80 °C
13.2 mL Ultra Clear Ultracentrifuge Tubes | Beckman Coulter | 344059 | only open in hood
PD-10 size exclusion chromatography column | GE Healthcare | 17-0851-01 | store at 4 °C
Hepes | AppliChem | A1069.1000
SDS Ultrapure | AppliChem | A1112,0500
Glycerol | AppliChem | A1123.1000
Material for cell-culture
DPBS | PAN Biotech | P04-36500
DMEM | PAN Biotech | P04-03590
Trypsin/EDTA | PAN Biotech | P10-0231SP
FBS Good | PAN Biotech | P40-37500
Penicillin/Streptomycin | PAN Biotech | P06-07100
Biosphere Filter Tips (various sizes) | Sarstedt
Serological Pipettes (various sizes) | Sarstedt
reaction tubes (various sizes) | Sarstedt
TC plates 15cm | Sarstedt | 83.3903
Material for silver staining protocol
Methanol | J.T.Baker | 8045
Ethanol absolute | AppliChem | 1613,2500PE
Acetic Acid | AppliChem | A0820,2500PE
Formaldehyde 37% | AppliChem | A0877,0250
Ethanol absolute | AppliChem | A1613,2500PE
Sodium thiosulfate | AppliChem | 1418791210
Silver nitrate | AppliChem | A3944.0025
Sodium carbonate | AppliChem | A3900,0500
Special Lab Equipment
Desiccator | Nalgene | 5311-0250
Megafuge 40 | Heraeus
Roter for Megafuge TX750 + Adapter andLlids for 500 mL tubes | Heraeus
Water bath | Conventional
Ultracentrifuge e.g. Optima XPN-80 | Beckman Coulter
suitable Ultrazentrifuge Rotor e.g. SW41 | Beckman Coulter
pH -Meter | Conventional
Stand with clamps | Conventional
Goose neck lamp | Conventional
Over-head rotor | Conventional
Thermal Block | Conventional
Photometer (OD 260) | Conventional

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=