## Sheet1
Remote Laboratory BSL-2 | Remote Laboratory BSL-3
Part I | Part I
i. Lab tech to enter through door labeled entrance and put on lab coat, which is hanging on rack next to entrance door. Open shoes are prohibited, advanced mask and protective eyewear are encouraged. | i. Lab tech to look into Glove Box window from outside of unit to insure negative pressure is activated. (Pink Ball should be visible in the unit to show the negative pressure is working).
ii. Lab tech to wash hands in sink, put on disposable gloves and begin with intake of samples. | ii. If negative pressure is working, lab tech to enter through only door and put on lab coat, which is hanging on rack next to entrance door. Open shoes are prohibited, advanced mask and protective eyewear are desirable.
iii. Samples that were dipped in hypochlorite bath prior to being dropped at pass-through window are sitting in pass through for lab tech. | iii. Lab tech to wash hands in sink, put on disposable gloves and begin with intake of samples.
iv. Received in sample reception. | iv. Samples that were previously dipped in hypochlorite bath prior to being dropped at pass through window are sitting in pass through for lab tech.
Part II | v. Received in sample reception.
v. Depending on diagnostic procedure, specimens moved to biosafety cabinet and inactivated. | Part II
vi. Specimens prepped for microscopy, centrifuge, or ROTs. | vi. Specimens inactivated in Glove Box.
vii. Appropriate diagnostic tests run. | vii. Specimens executed for nuclei acid isolation.
viii. Store specimens in 4 °C refrigerator or appropriate freezer. | viii. After extraction, specimens moved to pass-through window.
Part III | ix. Lab tech enters through entrance in PCR side of unit (positive pressure).
ix. Use sink for staining & washing of items. | x. Lab tech to put on lab coat from rack next to entrance, wash hands in sink, put on gloves.
x. Use laptop & counterpace to perform analyses and documentation. | xi. Receive samples from Glove Box room in pass-through window.
xi. Sterilize equipment by running autoclave. | xii. If necessary samples prepped in Laminar flow cabinet.
xii. Dispose of any biohazardous waste in biohazard waste container. | xiii. Appropriate diagnostics tests run.
xiii. Wash hands in sink. | xiv. Store specimens in 4 °C refrigerator or appropriate freezer.
xiv. Hang lab coat back up on rack. | Part III
xv. Exit through same door. | xv. Use sink for staining & washing of items.
xvi. Use laptop & counterpace to perform analyses and documentation.
xvii. Transfer vials into pass-through window to PCR room and sterilize equipment by running autoclave.
xviii. Dispose of any biohazardous waste in biohazard waste container.
xix. Wash hands in sink.
xx. Exit through same entrance door.