Reviewer’s Comments

Reviewer #1

This is an interesting method for the measurement of protein synthesis using a quantitative autoradiography approach in mice by which all regions of the brain are measured simultaneously. The protocol is clearly described and easy to follow. However, the method is challenging and will therefore not be used widely. I have only minor comments for the revision:

1. Could the authors comment on the resolution? The authors should show images zooming into specific brain areas.

We have specified in the text that the resolution is approximately 25µm for this method. We also include a new figure (Figure 5) with some higher resolution images.

2. Is it possible to combine the method with immunohistochemistry?

We have added a mention that this method can be combed with immunohistochemistry and provided a relevant study where these methods were done together.

Reviewer #2

Manuscript Summary:
This is a well written paper detailing the application of a method for in vivo measurement of regional cerebral protein synthesis (rCPS), by autoradiographic assessment of the incorporation into proteins of radioactively (c14) labelled amino acid leucine. The method has been developed and championed by the Beebe Smith lab and it has been used to show alterations in rCPS in several animal models of ageing, developmental disorders, anaesthesia and environmental/lifestuyle modifications including exercise. A related method is available for measuring CPS in vivo in humans, by PET, making this an important method for translating preclinical into clinical findings. The autoradiography methodology is technically challenging as it involves mouse recovery surgery and the collection of blood samples whilst requiring their physiological stability. Moreover, specialist equipment and analytical knowledge, as well as ability to work with radioactivity, are required. To this end, this manuscript (and it video counterpart) should be endorsed as an important utility that will help share the method with other labs. It is hoped that Beebe Smith lab will continue to offer expert advice to other researchers if they contact them with questions about the methodology. I have only minor comments on the manuscript which I list below.

Minor Concerns:
-58: we can measure rates in cell layers and hypothalamic nuclei

-This is a bit misleading - why just list these regions, when it is possible to measure CPS in other nuclei, and in other areas of the brain?

This comment was clarified in the manuscript’s introduction.

-65 Any remaining [14C]leucine is removed during the washing process with formalin before autoradiography
-Please explain the requirement for formalin fixation - this is unusual, why not just wash the sections in water, to remove 14C-leucine? The authors cite ref 6, but this refers to another reference (Ingvar et al) in which a slightly different method was used (overnight in formalin vapour). Could it perhaps be that formalin fixation was required in order to perform histology on some sections? Either way, a clarification would be helpful.

We wash with liquid formalin followed by DI water. This process fixes protein to tissue, while washing away free amino acids. We would not advise washing solely with water as it may wash away smaller proteins.

-153 Cauterize the ends of both catheters to create a seal.
-Cautery equipment has not been listed.

Cautery equipment has been added to the list.

-229 remove the brain and place on dry ice to freeze
-How exactly, directly onto dry ice, or with e.g. a sheet of foil between the brain and ice? It might be worth warning not to freeze the brain in liquid nitrogen, as this is too cold for subsequent cutting (tissue becomes brittle)

The brain freezing process has been clarified in the protocol, as well as an additional comment cautioning against using liquid nitrogen.

-254 along with a set of [14C]methylmethacrylate standards, which were previously calibrated against tissue of known 14C concentrations as described 28
-Why not obtain commercially-available standards from American Radiolabelled Chemicals? Given the importance of standards for calculation, making own standards in a lab that isn't otherwise equipped for radioactive chemistry work, strikes me as a major limitation to being able to do this method. The authors should suggest to either make own, or purchase commercial (unless they disaprove of these - then an explanation in the discussion would be useful) and give the appropriate range of nCi/mg

This has been clarified in the manuscript. Standards can be commercially purchased from American Radiolabelled Chemicals and customized with a specific range (2-300 nCi/g of tissue).