Submission ID #: 58538
Editor Name: Michael Linnes
Videographer name: Kara Artym
Film Date: October 8, 2018
Link: http://www.jove.com/files_upload.php?src=17854138 
Authors and Affiliations: Tyler Mrozowich1, Steffane McLennan2, Michael Overduin2, 4, Trushar Patel1, 3, 4
1Alberta RNA Research and Training Institute, Department of Chemistry and Biochemistry, University of Lethbridge, 4401 University Drive, Lethbridge 2Department of Biochemistry, University of Alberta, Edmonton 3Department of Microbiology, Immunology and Infectious Diseases, Cumming School of Medicine, University of Calgary, 2500 University Dr. NW Calgary  4DiscoveryLab, Faculty of Medicine & Dentistry, University of Alberta, Edmonton, Alberta, Canada
Title: Structural Studies of Macromolecules in Solution using Small Angle X-Ray Scattering 

Corresponding Author: 

Michael Overduin (overduin@ualberta.ca) 
Trushar Patel (trushar.patel@uleth.ca) 
Co-authors:

Tyler Mrozowich (tyler.mrozowich@uleth.ca)
Steffane McLennan (steffane@ualberta.ca)
Questionnaire:

A.  Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)____N_____   
B.   Software Usage: Does your protocol include detailed, step-by-step software usage? Y 
C.  Which steps of your protocol will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (Please do not list entire sections.)  
Authors, please answer this question with the steps listed here in the protocol section for use by the videographer.

D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) 5.1,5.2. It can be difficult to know what data to merge. Therefore each data that is chosen to merge should coincide with experimental data regarding concentrations. 
Authors, please answer this question with the steps listed here in the protocol section for use by the videographer.

E.  Will the filming need to take place in multiple locations? (Y/N) ___N 
1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words. 
A.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)   
1.1. Dr. Patel Tyler Mrozowich: This method can help answer key questions in the biochemistry field, such as size, shape and conformational changes of biomolecules and their complexes. 
1.2. Dr. Patel Tyler Mrozowich: The main advantage of this technique is that experiments can be performed under physiologically relevant buffer conditions in an environment where biomolecules are stable.   

B.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)   
1.3. Dr. Patel Tyler Mrozowich: SAXS is a complimentary technique to many other biophysical and structural biology methods. Combining SAXS with these methods can help us in developing structure-based therapeutics
1.4. Tyler Mrozowich: Though this method can provide insight into biomolecular complexes, it can also be applied to other systems such as studying nanoparticles & drug delivery vesicles.
1.5. Tyler Mrozowich: Generally, individuals new to this method will struggle because it appears as an overwhelming and complicated process to go from raw scattering data, to low resolution structures.

1.6. Dr. Patel Tyler Mrozowich : Visual demonstration of this method is critical as the pipeline of data analysis to obtain structural models from raw data is difficult to learn, because it involves the use of many different packages of software.    
Protocol: (read by voice talent at JoVE)  
2. Buffer Subtraction for Static SAXS Samples 

2.1. Tyler Mrozowich: “There are a few software packages that are useful for SAXS data analysis.  These include ScÅtter, bioXtas RAW, and the ATSAS suite. In this video we will provide an overview of the general steps to be taken when analyzing raw SAXS data using the ATSAS program suite.” [1-INT]
2.1.1. Author says above statement interview style
2.2. To begin, install and load the ATSAS program suite. [1-MED Over the Shoulder] Open the PRIMUS/qt (pronounced:  primus-q-t) program and go to the OPEN menu option.  Here, select up to 13 data files of interest. The data files must be in ASCII (pronounced:  "ass-kee" ) format, in which the first column is the s-vector axis and the second column is the intensity. [2-SCREEN]
2.2.1. Talent sits at computer and loads the program
2.2.2. Screen capture video as talent performs the above step beginning with opening the PRIMUS/qt program.  Author: Please submit this screen capture video as “58538_Patel_2_2_2.mov/mp4” to your server page.

2.3. Repeat this step for the buffer only data, inserting this data into a second TOOLS menu. [1-SCREEN]
2.3.1. Screen capture video as talent performs the above step in the order listed. Author: Please submit this screen capture video as “58538_Patel_2_3_1.mov/mp4” to your server page.
2.4. Next, navigate to the Data Processing window and select SUBTRACT.  This will generate a subtracted scattering curve representing just the scattering from the macromolecule of interest. [1-SCREEN-TXT]
2.4.1. Screen capture video as talent performs the above step in the order listed. Author: Please submit this screen capture video as “58538_Patel_2_4_1.mov/mp4” to your server page. (TEXT: Repeat this step for each concentration)

3. Guinier Analysis 

3.1. To perform Guinier analysis, start with a buffer subtracted scatter curve loaded into PRIMUS/qt. Next, click on RADIUS OF GYRATION, which will open the Primus Guinier Wizard.  At this point, a plot showing the natural log of the intensity vs scattering angle squared will be displayed. [1-SCREEN]
3.1.1. Screen capture video as talent performs the above step in the order listed. Author: Please submit this screen capture video as “58538_Patel_3_1_1.mov/mp4” to your server page. 
3.2. To obtain a preliminary radius of gyration find the command prompt window and use the AUTO-R-G function. After pushing AUTO-R-G, click the upper limit up one then down one to force the program to update the statistical measurements.   [1-SCREEN]
3.2.1. Screen capture video as talent performs the above step in the order listed. Author: Please submit this screen capture video as “58538_Patel_3_2_1.mov/mp4” to your server page.
3.3. Alternatively, input multiple files at once by clicking the same OPEN prompt and selecting multiple data files names by highlighting them in the same manner as previously described. [1-SCREEN]
3.3.1. Screen capture video as talent performs the above step in the order listed. Author: Please submit this screen capture video as “58538_Patel_3_3_1.mov/mp4” to your server page.
3.4. Tyler Mrozowich:  “Use the Guinier plot created earlier to assess the quality of the data.  [1-INT-visual] The green line under the Guinier plot shows the residuals plot representing a linearity of the fit. [2-LM-TXT] Be aware that non-linearity in the Guinier analysis could be a sign of sample aggregation and further analysis should not be performed in this case.” [1-INT][3-LM]
3.4.1. Author says the entire statement above interview style (Videographer Comment: We recorded the whole paragraph, not just the first sentence)
3.4.2. Patel_3_4_2.tif (TEXT: A linear Guinier fit gives an Rg with a small error (<5%) and suggests a high-quality sample) (Author: Please submit an image to your server page showing a Guinier plot with a green line as described in the 2nd sentence above.)
3.4.3. Patel_3_4_3.tif (Author: Please submit an image to your server page showing non-linearity in the Guinier analysis as described in the 3rd sentence above.)
4. Kratky Analysis 

4.1. To begin Kratky analysis, click to select the data file name, this will plot the data in the window and then select PLOT.  Next… below the PLOT button, click on KRATKY PLOT. [1-SCREEN]
4.1.1. Screen capture video as talent performs the above step in the order listed. Author: Please submit this screen capture video as “58538_Patel_4_1_1.mov/mp4” to your server page. 
4.2. As the result, globular proteins display a Gaussian peak, while unfolded proteins will display a plateau instead of a peak and resemble a hyperbolic plot like the one shown here.” [1-LM]
4.2.1. Patel_4_2_1- Kratky unfolded vs folded”   
5. Data Merging

5.1. Load buffer subtracted data for each concentration in PRIMUS/qt once again and under the processing tab click SCALE and inspect each curve and the i-scale number, which correlates to the dilutions made from the original sample. [1-SCREEN]
5.1.1. Screen capture video as talent performs the above step in the order listed. Author: Please submit this screen capture video as “58538_Patel_5_1_1.mov/mp4” to your server page.
5.2. Following inspection, merge the data by clicking on the MERGE button in the processing window. [1-SCREEN-TXT]
5.2.1.1. Screen capture video as talent performs the above step in the order listed. Author: Please submit this screen capture video as “58538_Patel_5_2_1.mov/mp4” to your server page.  (TEXT: *Samples at higher concentration display less noise in the tail region of the curves)

5.3. To generate the distance distribution plot, load the merged data curves into PRIMUS/qt and then click DISTANCE DISTRIBUTION in the analysis tab. [1-SCREEN]
5.3.1. Screen capture video as talent performs the above step in the order listed. Author: Please submit this screen capture video as “58538_Patel_5_3_1.mov/mp4” to your server page. 
5.4. Adjust the data range of the merged data to avoid any significant noise at the tail end of the raw data.  Also, omit data points close to the beam stop in the low-q region by selecting the lower range value and increasing the number. [1-SCREEN]  
5.4.1. Screen capture video as talent performs the above step in the order listed. Author: Please submit this screen capture video as “58538_Patel_5_4_1.mov/mp4” to your server page.
5.5. To determine the Dmax, (pronounced “ Dee-Max”) start with a range of 5 times the radius of gyration obtained from the Guinier analysis. Then, gradually decrease this value until the distance distribution plot does not abruptly drop to zero on the Y-axis and does not have a long-tail before approaching zero. [1-SCREEN]
5.5.1. Screen capture video as talent performs the above step in the order listed. Author: Please submit this screen capture video as “58538_Patel_5_5_1.mov/mp4” to your server page.
5.6. Check that the Experimental radius of gyration vs intensity plot, which is derived from the Guinier approximation, and the distance distribution radius of gyration vs intensity numbers are similar. [1-SCREEN]
5.6.1. Screen capture video as talent displays the experimental and approximation values and circles the output with their mouse. Author: Please submit this screen capture video as “58538_Patel_5_6_1.mov/mp4” to your server page.
5.7. Tyler Mrozowich: “In some cases, further manipulation on the range of data, data points, and ALPHA parameter is also required to obtain a good quality P(r) plot.”[1-INT]
5.7.1. Author says above statement interview style
6. Results: Studying Nidogen-1, Laminin ɣ-1, and their Complex using Small Angle X-Ray Scattering
6.1. Here, the intensity of scattered light is shown plotted against scattering angle, suggesting both the quality of the biomolecules nidogen-1, laminin gamma-1, and their complex as well as their shape. [1-LM]
6.1.1. Figure 2a  (Video Editor: Highlight each molecule’s color as it is mentioned)
6.2. The electron pair-distance distribution determined from the scattering data suggest that the biomolecules have an elongated shape…[1-LM] and the Kratky plot suggests that the proteins are in an unfolded state as the data tends to plateau or even increase in the larger q range and lack a bell-curve shape. [2-LM]
6.2.1. Figure 2b

6.2.2. Figure 2c

6.3. In addition, the Guinier plots, which uses data at low-scattering angle indicates the linear region for determination of the radius of gyration which is shown here for nidogen-1, laminin gamma-1 and their complex.[1-LM]
6.3.1. Figure 2d (Video Editor: Highlight each molecule’s plot as it is mentioned)
6.4. To study protein-protein complexes, MONSA (pronounced: “mon-sah”) was used to obtain the low-resolution structure of the entire nidogen-1 / laminin gamma-1 complex, suggesting that only the C-terminal region of both proteins participate in mediating interactions, whereas the rest of the domains are far apart from each other.[1-LM]
6.4.1. Complex_movie.mpg
7. Conclusion (said by authors on camera) 
7.1. Dr. Patel Tyler Mrozowich: While attempting this procedure, it’s important to remember that mono-dispersed samples are required for SAXS analysis, and analysis should not be performed if there is any doubt in the samples.
7.2. Dr. Patel Tyler Mrozowich : Following this procedure, other methods like NMR can be performed in order to answer additional questions that the low-resolution models generated through SAXS cannot answer. 
7.3. Tyler Mrozowich: After its development, this technique paved the way for researchers in the field of biochemistry to explore macromolecular structure of flexible molecules and the interactions between different macromolecules.
7.4. Tyler Mrozowich: Don't forget that working with synchrotron radiation can be extremely hazardous and precautions and safety outlined by each different beamline should always be taken while performing initial data collection.
Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

Insert your media filenames here.

General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.

( 2017, Journal of Visualized Experiments


