## Sheet1
Materials | Source | Catalog/Model number
Inducible overexpression of a histidine-tagged protein
Phusion polymerase | New England Biolabs (NEB)
M0530L
QIAEX II DNA Gel Extraction Kit | Qiagen | 20021
KpnI restriction enzyme | NEB | R0142S
PstI restriction enzyme | NEB | R0140S
T4 DNA ligase | NEB | M0202
NEB® 5-alpha Competent E. coli (High Efficiency) | NEB | C2987I
BL21 (DE3) Competent E. coli | NEB | C2527I
IPTG | Sigma-Aldrich | 10724815001
JXN-26 centrifuge with JLA 10.500 rotor | Beckman Coulter Avanti | -
Microcentrifuge with D3024/D3024R rotor | Scilogex | -
MaxQ SHKE6000 Incubator | Thermo Scientific | -
Ultrasonic processor | Sonics | VC-750
Protein purification by nickel affinity chromatography
Ni-NTA resin | G Biosciences | 786-940/941
Pierce Disposable Gravity columns, 10 mL | Thermo Scientific | 29924
1 mL Spectra/ Por float-A-lyzer G2 dialysis device (MWCO: 20-kD) | Spectrum | G235033
Mini-Protean Electrophoresis Cell | BioRad | 1658004
Protein activity assay by thin layer chromatography
Thin layer chromatograph (TLC) development tank | General Glass Blowing Company | 80-3
Polyethylenimine (PEI)-cellulose plates | Sigma-Aldrich | Z122882-25EA
(20 cm x 20 cm, 100 um thickness) with polyester support
ATP, [γ-32P]- 3000 Ci/mmol 10mCi/ml lead, 100 μCi | Perkin Elmer | NEG002A
Adenosine 5’-triphosphate (ATP) 100 mM | Bio Basic Canada | AB0311
Guanosine-5’-diphosphate disodium salt (GDP) | Alfa Aesar | AAJ61646MC/E
Storage phosphor screen | GE Healthcare Life Sciences | BAS-IP TR 2040 E Tritium Screen
Storm 860 phosphorimager | GE Healthcare Life Sciences | -