## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Percoll | GE Healthcare | 17089101
Tricine | Roth | 6977.2
Sorbitol | Roth | 6213.1
Ethylenediaminetetraacetic acid (EDTA) | Promega | H5032
NaHCO3 | Roth | 8551.1
Bovine serum albumin (BSA) | Roth | 8076.5
MgCl2 | Roth | 2189.1
Phenylmethylsulfonyl fluoride (PMSF) | Sigma | P7626
Benzamidine | Sigma | B6506
ε-amino caproic acid | Fluka | 21530
3-(N-morpholino) propane sulfonic acid (MOPS) | Roth | 6979.3
Sucrose | Roth | 9286.2
Acrylamide stock: 30% (w/v) acrylamide, 0.8% (w/v) bisacrylamide | Roth | 3029.1
Tris | Fisher | BP152-5
Sodium dodecyl sulfate (SDS) | Roth | 1057.1
Tetramethylethylenediamine (TEMED) | Sigma | T-8133
Ammonium persulfate (APS) | Roth | 9592.1
Glycerol | Roth | 3783.1
Bromophenol blue | USB | US12370
Glycin | Roth | 3908.3
Gel staining medium | Clini-sciences | GEN-QC-STAIN
Ethanol | CARLO ERBA | 528151
NaCl | Euromedex | 1112-A
Triton X-100 | Promega | H5141
Fat-free milk powder | Régilait
HCl | Fisher | H/1150/PB15
KOH pellets | Sigma | 1.05012
NaOH pellets | CARLO ERBA | 480507
Anti-HMA1 antibody |  | Seigneurin-Berny et al, 2006 | Used at a 1:1000 dilution
Anti-KARI antibody |  | Ferro et al, 2010 | Used at a 1:1000 dilution
Anti-LHCP antibody |  | Vallon et al, 1991 | Used at a 1:25,000 dilution
P-coumaric acid | Sigma | C-9008
Luminol (3-aminophalhydrazin) | Fluka | 9253
Dimethyl sulfoxide (DMSO). | Sigma | D5879
Large (30 cm × 45 cm) plastic cases | Puteaux | 162135
A. thaliana seeds |  |  | Around 30 mg of seeds for a whole case
Compost "Floragard" | Puteaux | 16311770
Growth rooms |  |  | 12-h light cycle, set at 23°C (day) / 18°C (night) with a light intensity of 150 μmol/m2/s.
Muslin or cheesecloth | Raffin | 70116 | 80-cm-large
Nylon blutex 50 μm aperture | Tripette et Renaud, Sailly Saillisel |  | 50 μm aperture
Motor-driven blender, three speeds, 1 gallon (4 L) capacity | Waring Blender
Fixed-angle rotors JLA-10.500 (6 × 500-mL plastic bottles) | Beckman Coulter
Beckman JA-20 rotor | Beckman Coulter
JA-20 (6 × 50 mL polypropylene tubes) | Sorvall instruments
Swinging-bucket rotor JS-13.1 (6 × 50 mL polycarbonate tubes) | Beckman Coulter
SW 41 Ti rotor (6 × 13.2 mL ultraclear tubes) | Beckman Coulter
SW 41 Ti rotor tubes (13.2 mL ultraclear tubes) | Beckman Coulter
Ultracentrifuge (Beckman L7) | Beckman Coulter
Centrifuge (Beckman JSE-06D18) | Beckman Coulter
Microcentrifuge | Eppendorf 5415D or equivalent
Water pump connected to a Pasteur pipette via a plastic tube.
Nitrocellulose membranes | BA85, Schleicher and Schuell
Filter paper | 3MM, Whatman, Maidstone
Liquid nitrogen
Peristaltic pump | Gilson
Gel electrophoresis apparatus with the various accessories needed for protein separation by electrophoresis (combs, plates and casting apparatus). | Bio-Rad Protean 3 or equivalent
System for protein transfer to nitrocellulose membranes | Bio-Rad Protean 3 or equivalent

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=