## Sheet1
Reagents | Company | Catalog Number | Comments/Description | Step
Tissue collection |  |  |  | 1
Tricaine methanesulfonate | Sigma-Aldrich | E10521 | An alternative to clove oil. | 1.1
RNAlater stabilization solution | Thermo Fisher Scientific | AM7020 | For storing tissues if they cannot be processed immediately | 1.3
RNA extraction |  |  |  | 2
TRIreagent | Sigma-Aldrich |  |  | 2.1
TRIzol | Thermo Fisher Scientific (Invitrogen) | 15596026
GENEzol | Geneaid | GZR100
Trisure | Bioline | BIO-38032
Homemade solution | - | - | 94.53 g/L (800 mM) guanidine thiocyanate
30.45 g/L (400 mM) ammonium thiocyanate
8.20 g/L (100 mM) sodium acetate
380 mL/L (38 % v/v) phenol
50 mL/L (5 % v/v) glycerol
1.0 g/L (0.1 % w/v) 8-quinolinol, pH 5.0
Store up to 2 years at 4oC
MagNA Lyser Green Beads | Roche | 3358941001 | An alternative tissue homogenization method used in conjunction with tissue lysing machines detailed below | 2,2
Lysing Matrix D, 2 mL Tube | MP BIOMEDICALS | 116913050
Chloroform | Sigma-Aldrich | C2432 |  | 2.3
Chloroform | RCI Labscan | AR1027E-G2.5L
1-Bromo-3-chloropropane | Sigma-Aldrich | B9673 | A less toxic alternative to chloroform
Isopropanol (GC) ≥ 99.8 % | Sigma-Aldrich | 59300 |  | 2.6
Isopropanol (ACS, ISO Reag. Ph Eur) | Merck KGaA (EMSURE) | 1.09634.2500
Glycogen, molecular biology grade (e.g., Sigma, cat. no. G1767) | Thermo Fisher Scientific (Thermo Scientific) | R0551 | Useful step if tissue starting material is small to maximise RNA precipitation | optional
Ethanol (purity (GC) ≥ 99.9 % | Sigma-Aldrich (EMD Millipore) | 1.00983 |  | 2.9
Ehtanol (ACS, ISO Reag. Ph Eur) | Merck (EMSURE) | 1.00983.2500
Nuclease-free water | Promega | P1193 |  | 2.13
Nuclease-free water | Multicell | 809-115-CL
Ambion TURBO DNA-free kit | Thermo Fisher Scientific (Invitrogen) | AM1907 | Can be performed at the end of the RNA extraction protocol | optional
cDNA synthesis |  |  |  | 4
ReverTra Ace qPCR RT MasterMix with gDNA remover | Toyobo | A1172K |  | 4.1
ReverTra Ace qPCR RT Kit | Toyobo | FSQ-101
AffinityScript Multiple Temperature Reverse Transcriptase | Agilent Technologies | 600107 | An alternative option if the above kits are not possible
PCR |  |  |  | 5
DNA polymerase systems : |  |  |  | 5.2
- Platinum II Hot-Start Green PCR Master Mix (2X) | Thermo Fisher Scientific (Invitrogen) | 14001012a
- GoTaq Mastermix | Promega | M7122
Separate PCR mixture components:
10mM dNTP Mix | Vivantis | NP2409
25mM MgCl2 | Thermo Fisher Scientific | R0971
10X Taq Buffer with KCl | Thermo Fisher Scientific | 00348114
Taq DNA polymerase | Vivantis | PL1202
- Verso 1-step RT-PCR ReddyMix with ThermoPrime Taq | Thermo Fisher Scientific | AB1454 | One step RT-PCR exemplified in Figure 3B
Gel electrophoresis: |  |  | For visulation of PCR products from steps 5.1-5.4
Ethidium Bromide solution (10 mg/mL) | Thermo Fisher Scientific | 17898 |  | 5.5
Tris/Acetic/EDTA (TAE) buffer:
- Tris | Vivantis | PR0612-1KG
- Acetic acid (glacial) (ACS, ISO, Reag. Ph Eur) | Merck KGaA (EMSURE) | 1.00063.2500
- Ethylenediaminetetraacetic acid (EDTA) | BIO-RAD | 161-0729
Agarose | Vivantis | PC0701-100G
DNA ladders and markers | Vivantis | NL1405
DNA gel loading dye (6X) | Thermo Fisher Scientific | R0611
qPCR |  |  |  | 6
PowerUP SYBR Green Master Mix | Thermo Fisher Scientific (Applied Biosystems) | A25779 | Exemplified in Figures4-6B | 6.2
iTaq Universal SYBR Green Supermix | BIO-RAD | 1725120 | Exemplified in the video and in Figures 4-6A
Equipment
Dounce tissue grinder pestle | Sigma-Aldrich | P1110 | Protocol 2 | 2.2
MagNA Lyser Instrument | Roche | 3358976001 | An alternative tissue homogenizing option for protocol 2 which are used in conjunction with the lysing beads detailed above
FastPrep-24 5G Homogenizer | MP BIOMEDICALS | 116005500
Refrigerated microcentrifuge | Eppendorf | Eppendorf 5427R | Protocol 2 | 2.4, 2.7 & 2.10
Refrigerated microcentrifuge | Eppendorf | Eppendorf 5418R
Heat box | Labnet | AccuBlock Digital Dry Bath | Protocol 2 | 2.13
Microvolume spectrophotometer | Thermo Fisher Scientific (Applied Biosystems) | Nanodrop 2000 | Protocol 3 | 3.1-3.4
PCR machine | BIO-RAD | T100 Thermal Cycler | Protocol 5 | 5.4
Power supply | BIO-RAD | PowerPac HC | Protocol 5 | 5.5
Horizontal gel electrophoresis | BIO-RAD | Mini ReadySub-Cell GT Cell #1704487edu | Protocol 5
Mini microcentrifuge | Corning | LSE 6766 | Useful to quickly spin down PCR reaction tubes in protocols 5 & 6 | 6.5.1
Microcentrifuge | LioFuge | LM-60
qPCR machine and software | Thermo Fisher Scientific | 7500 Fast Real-Time PCR System with 7500 Software v2.0 | Protocol 6 | 6.6-6,8
qPCR machine and software | BIO-RAD | CFX96 Touch Real-Time PCR Detection System with CFX Manager software
General Materials |  |  |  | 1.2
Mayo scissors
Forceps
Pipette | Rainin | Pipette-Lite XLS
Aerosol-barrier pipette tips | Sigma-Aldrich | Z333328, Z333336, Z333344
Nuclease-free 1.5-ml microcentrifuge tubes | Eppendorf

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=