## Sheet1
Name of Material | Company | Catalog Number | Comments/Description
Silicon wafer with 50 nm silicon dioxide (Bephore substrate) | Siegert Wafer |  | Thickness (µm): 525 ±25, Diameter (mm): 100
Silicon wafer (for PDMS master mold) | Siegert Wafer |  | Thickness (µm): 525 ±25, Diameter (mm): 76.2 (3”)
Glass slides no. 4 | Menzel |  | 22 mm x 50 mm
Glass slides no. 1.5 | Assistent |  | 24 mm x 24 mm
Biotin-PEG-Silane | Laysan Bio |  | MW 5,000
Anhydrous toluene | Sigma Aldrich (Merck) | 244511
Streptavidin | Thermo-Fisher Scientific | S888
DNA | Integrated DNA Technologies (IDT)
Phusion High-Fidelity PCR Master Mix with HF Buffer | New England Biolabs | M0531S | PCR kit
Wizard SV Gel and PCR Clean-Up System | Promega | A9281 | Spin-column PCR clean-up kit
PURExpress | New England Biolabs | E6800S | Cell-free expression system
PDMS | Dow Corning | Slygard 184
FluoSpheres | Thermo-Fisher Scientific | F8771
PTFE tubing (ID: 0.8mm, OD: 1.6 mm) | Bola | S 1810-10
EpoCore 20 | micro resist technology GmbH |  | Photoresist
mr-Dev 600 | micro resist technology GmbH |  | Photoresist developer
Ti-Prime | MicroChemicals |  | Adhesion promoter
Two-component silicon glue | Picodent | Twinsil
UV-protection yellow foil | Lithoprotect (via MicroChemicals) | Y520E212
Name of Equipment | Company | Catalog Number | Comments/Description
Masks for photolithography | Zitzmann GmbH |  | 64.000 dpi, 180x240 mm
Upright microscope | Olympus | BX51 | Photolithography and fluorescence imaging
60x water immersion objective | Olympus | LumPlanFl | Used with Olympus BX51, NA 0.9
20x water immersion objective | Olympus | LumPlanFl | Used with Olympus BX51, NA 0.5
Camera | Photometrics | Coolsnap HQ | Used with Olympus BX51
Ligtht source | EXFO | X-Cite 120Q | Used with Olympus BX51
Inverted microscope | Nikon | Ti2-E | Fluorescence imaging of gene expression
4x objective | Nikon | CFI P-Apo 4x Lambda | Used with Nikon Ti2-E
Camera | Andor | Neo5.5 | Used with Nikon Ti2-E
Light source | Lumencor | SOLA SM II | Used with Nikon Ti2-E
Cage incubator | Okolab | bold line | Used with Nikon Ti2-E
Pressure Controller | Elveflow | OB1 MK3
NanoPhotometer | Implen |  | DNA concentration measurement
Plasma cleaner | Diener | Femto | 200 W, operated at 0.8 mbar with the sample in a Faraday cage

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=