Submission ID #: 58663
Editor Name: Bridget Colvin
Videographer Name: Lu Liu
Film Date: 

Submission Link: http://www.jove.com/files_upload.php?src=17892263
Authors & Affiliations: Zilan Xiong1, Shasha Zhao2, and Xu Yan3
1State Key Laboratory of Advanced Electromagnetic Engineering and Technology, Huazhong University of Science and Technology

2College of Life Science and Health, Wuhan University of Science and Technology

3Department of Pathophysiology, Beijing Neurosurgical Institute/Beijing Tiantan Hospital, Capital Medical University
Title: Nerve Stem Cell Differentiation by a One-Step Cold Atmospheric Plasma Treatment In Vitro
Corresponding Author:
Zilan Xiong


zilanxiong@hust.edu.cn 

Tel: +86 18271401226

Shasha Zhao


zhaoshasha@wust.edu.cn 

Tel: +86 13554362819

Co-authors: devil-yx@163.com 
A. Microscopy: Does your protocol involve video microscopy? N
B. Does your protocol include software usage? N
C. Which steps of from the protocol section below will viewers benefit most from having filmed? 
2.4., 3.4., 3.5., 4.3., 4.4.
D. What is the single most difficult aspect of this procedure and what do you do to ensure success? 
4.3. is the most difficult aspect of this procedure, because long time and intense plasma treatment will induce cell apoptosis or necrosis. To ensure success, proper plasma dosage have been determined by cytotoxicity test.
E. Will the filming need to take place in multiple locations? N
1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the significance of your method to the viewer. Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words. 
A.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)  

1.1. Zilan Xiong: This method has the potential to enhance the differentiation of neural stem cells in vitro and to contribute to the treatment of neurogenic diseases, such as Parkinson's disease. 
1.2. Shasha Zhao: The main advantage of this technique is that the cold atmospheric plasmas may be applied in one step for the safe, directed differentiation of neural stem cells for tissue transplantation.
B.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)  

1.3. Xu Yan: Cold atmospheric plasma can enhance neural stem cell differentiation within a short treatment period and with minimal damage to the cells, providing the desired cells for transplantation.  

C. Introduction of Demonstrator: (Said by you on camera. Don’t forget to smile!)
D. Ethics title card: (for human subjects or animal work, does not count toward word length total)
Protocol: (read by voice talent at JoVE)
2. Murine Neural Stem Cell (NSC) Culture and Pre-Differentiation
2.1. Begin by seeding about 5 x 105 murine neural stem cells in a 25 centimeters-squared-flask [1-WIDE] containing 5 milliliters of complete DMEM for 2-3 days at 37 degrees Celsius and 5% carbon dioxide [2-MED-TXT].

2.1.1. Talent adding cells to flask, with medium container visible in frame (TEXT: See text for all medium/reagent preparation details)

2.1.2. Talent placing flask into incubator

2.2. When the cells reach 85% confluency, wash the culture with 1 milliliter of PBS [1-MED] before treatment with 1 milliliter of 0.25% trypsin for 1 minute [2-CU].
2.2.1. Talent washing cells, with PBS container visible in frame

2.2.2. Trypsin being added to flask, with trypsin container label visible in frame

2.3. When the cells have detached, stop the reaction with 1 milliliter of culture medium [1-MED] and pipette several times to generate a single cell suspension [2-CU].
2.3.1. Talent adding medium to flask, with medium container visible in frame

2.3.2. Cells being pipetted

2.4. After counting, dilute the cells to a 2 x 104 cells/milliliter concentration [1-MED] and seed 1 milliliter of stem cells onto one poly-D-lysine-coated coverslip per well in 9 wells of a 12-well cell culture plate [2-CU].
2.4.1. Talent adding medium to cells, with medium container visible in frame

2.4.2. Cells being added to coverslip
2.5. Check the cell density under a microscope [1-LM] and return the cells to the incubator for 12 hours [2-MED-over the shoulder].
2.5.1. Cell density
2.5.2. Talent placing plate into incubator
2.6. When the cells have attached, wash the coverslips two times with 1 milliliter of PBS per wash [1-CU] and treat the cells with differentiation medium for 48 hours [2-MED-over the shoulder].
2.6.1. Coverslip being washed, with PBS container label visible in frame

2.6.2. Talent adding medium to well(s), with medium container visible in frame

3. Jet Acquisition 
3.1. For jet acquisition, first connect the output wire of the power supply to the plasma jet device [1-WIDE] and the tip of the high-voltage probe with the output wire to detect the voltage [2-MED].
3.1.1. Talent connecting output wire to jet device

3.1.2. Talent connecting probe tip with output wire

3.2. Then connect the other end of the high-voltage probe to the oscilloscope to record the information from the output voltage [1-CU].
3.2.1. Probe being connected to oscilloscope
3.3. Check the whole circuit to make sure that the power supply, the oscilloscope, and the high-voltage probe are all grounded [1-MED] and check the gas line to make sure that the gas tube is connected to the plasma jet device [2-CU].

3.3.1. Talent checking circuit

3.3.2. Shot of gas tube connected to device
3.4. Next, open the helium and oxygen gas valves [1-MED] and set the gas flow to a 1 liter to 0.01 liters/min ratio of helium to oxygen [2-CU].
3.4.1. Talent opening valves

3.4.2. Gas flow being set

3.5. Then check the circuit again [1-MED] and press the output button to create a plasma jet [2-CU-TXT].
3.5.1. Talent checking circuit

3.5.2. Output button being pressed (TEXT: Caution: Do not touch high-voltage wire) 

4. NSC Plasma Treatment and Differentiation
4.1. To plasma treat the neural stem cells, set the distance between the syringe nozzle and the first well of cells to 15 millimeters [1-WIDE]. 
4.1.1. Talent adjusting nozzles

4.2. Replace the supernatants in the neural stem cell cultures with 800 microliters of fresh differentiation medium [1-MED-over the shoulder] and place the plate under the plasma jets [2-MED], making sure that the syringe nozzle is fixed over the center of each well [3-CU].
4.2.1. Talent adding medium to at least one well, with medium container visible in frame

4.2.2. Talent placing plate under jets

4.2.3. Shot of nozzle(s) over center of well

4.3. Treat three wells with plasma for 60 seconds per treatment [1-CU] and three wells with 1% helium and oxygen gas for 60 seconds per treatment [2-CU], leaving three wells untreated as controls [3-CU].

4.3.1. Shot of well(s) being treated with plasma

4.3.2. Shot of well(s) being treated with gas

4.3.3. Shot of well(s) not being treated

4.4. Then replace the supernatants with 1 milliliter of fresh differentiation medium [1-MED] and return the cells to the incubator for 6 days [2-CU-TXT], checking the differentiation status of the different groups daily under an inverted phase-contrast light microscope [3-LM].

4.4.1. Talent adding medium to well(s)

4.4.2. Plate being placed into incubator (TEXT: Change medium every other day)

4.4.3. Fig.2.tif: no animation

4.5. Shasha Zhao: “After the treatments, allow the cells to fully equilibrate in the conditioned medium for about 1 hour before replacing the supernatants with fresh differentiation medium.” [1-MED-interview style] 
5. Immunofluorescence Staining
5.1. For immunofluorescent analysis, fix the cultures with 500 microliters of 4% paraformaldehyde per well for 20 minutes at room temperature [1-WIDE] followed by three, gentle, 5-minute rinses with 1 milliliter of PBS per wash [2-CU].
5.1.1. Talent adding PFA to well(s), with PFA container visible in frame
5.1.2. Well being washed, with PBS container label visible in frame

5.2. Next, permeabilize the fixed samples with 0.2% TritonX-100 in PBS for 10 minutes at room temperature [1-MED] followed by gentle rinsing as demonstrated [2-CU].

5.2.1. Talent adding TritonX-100 to well(s), with TritonX-100 container visible in frame

5.2.2. Well being washed, with PBS container label visible in frame

5.3. After the last wash, block any non-specific binding with 1 milliliter of 10% goat serum in PBS per sample for 1 hour at room temperature [1-MED-TXT].
5.3.1. Talent adding goat serum to slide, with serum container visible in frame (TEXT: Do not use lab shaker)
5.4. At the end of the incubation, label the cells in each well with 300 microliters of the primary antibody of interest overnight at 4 degrees Celsius [1-MED-over the shoulder-TXT] followed by three washes in PBS as demonstrated [2-CU].
5.4.1. Talent adding antibody to well(s), with antibody container(s) visible in frame (TEXT: See text for all Ab suggestion/concentration details)

5.4.2. Well being washed, with PBS container label visible in frame

5.5. After the last wash, label the cells with 300 microliters of the appropriate secondary antibodies [1-MED] for a 2-hour incubation at room temperature protected from light [2-CU].

5.5.1. Talent adding antibody to well(s), with antibody container(s) visible in frame
5.5.2. Plate being covered/placed in dark

5.6. Then rinse the cells gently with 1 milliliter of PBS per well for 10 minutes at room temperature [1-MED] and image the cells on a fluorescence microscope equipped with the appropriate filters [2-MED].
5.6.1. Talent washing well, with PBS container visible in frame

5.6.2. Talent at microscope, imaging cells in one well
6. Results: Representative NSC Fate Specification 
6.1. Plasma-treated neural stem cells exhibit an accelerated differentiation rate [1-LM] and a higher differentiation ratio compared to untreated control [2-LM] and gas flow-treated stem cells [3-LM].
6.1.1. Fig.2.tif: Video Editor: please emphasize Plasma cell image column
6.1.2. Fig.2.tif: Video Editor: please emphasize Control cell image column
6.1.3. Fig.2.tif: Video Editor: please emphasize Gas Flow cell image column
6.2. After plasma treatment, Nestin decreases [1-LM], beta-Tubulin three significantly increases [2-LM], and O4 slightly increases [3-LM] compared to control untreated [4-LM] and gas flow-treated stem cells [5-LM]. 
6.2.1. Fig.A.psd: Video Editor: please emphasize green signal in Nestin Gas Flow and Plasma images

6.2.2. Fig.A.psd: Video Editor: please emphasize red signal in beta-Tubulin Gas Flow and Plasma images

6.2.3. Fig.A.psd: Video Editor: please emphasize green signal in O4 Gas Flow and Plasma images

6.2.4. Figure3B.psd: Video Editor: please emphasize white Con data bars
6.2.5. Figure3B.psd: Video Editor: please emphasizes grey Gas Flow data bars

6.3. Further, after 60 seconds of plasma treatment, a robust expression of mature neuron [1-LM], cholinergic neuron [2-LM], and motor neuron markers is observed [3-LM], with very few GABAergic and serotonergic neurons [4-LM] and no dopaminergic neurons detected [5-LM].
6.3.1. Fig.5.tif: Video Editor: please emphasize red signal in NF200 image 
6.3.2. Fig.5.tif: Video Editor: please emphasize red signal in ChAT image 

6.3.3. Fig.5.tif: Video Editor: please emphasize red signal in LHX3 image 

6.3.4. Fig.5.tif: Video Editor: please emphasize red signal in GABA and Serotonin images 

6.3.5. Fig.5.tif: Video Editor: please emphasize red signal in TH image 
7. Conclusion (said by authors on camera):
7.1. Zilan Xiong: While attempting this procedure, it’s important to remember to treat the cells with the proper plasma dosage, because a long and intense plasma treatment period will induce cell apoptosis or necrosis. Remember, to also pre-test the cell viability before downstream application.
7.2. Shasha Zhao: Following this procedure, other methods, like using mouse models of nerve injury, can be performed to evaluate the effects of plasma treatment in vivo.

7.3. Shasha Zhao: After its development, this technique paved the way for researchers in the field of neuroscience in exploring new methods for neurological disease therapy.

7.4. Zilan Xiong: Don't forget that when working with high voltages, you must make sure that the wires are grounded and insulated before their use and to never touch the high voltage wire with bare hands.   
Provided Media

Authors, please list all images, movie files, or 3-D rendered animations that are to be included in the video per editor’s request. The step in the script/video where the files will be inserted should be indicated before the file name (please do not name files with step number, as step numbers may change with revisions). For example:

3.1.1. Figure1.tif - dual color imaging of tumor angiogenesis at 40X 

3.1.2. Figure2.tif - dual color imaging of tumor angiogenesis at 100X

Formats: For static images, we prefer .tiff, .eps, Illustrator, PowerPoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi. The higher resolution, the better. Likewise, any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files. 
cell density.tif

Fig.2.tif

Fig.3A.psd

Figure3B.psd

Fig.5.tif
General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.  

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples. 
All tubes/flasks should be pre-labeled neatly before we arrive. 
Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions in the email accompanying the finalized script.

( 2018, Journal of Visualized Experiments


