## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
GEM 532 | Laser Quantum |  | Green laser with adjustable power between 50 mW and 2 W
Lateral Effect Position Sensor | THOR Lab | PDP90A | PSD to sensor the position of the droplet in the pipette
Advanced Educational Spectrometer Kit, Metric | THOR Lab | EDU-SPEB1/M | Mirrors and other elements to control the laser beam
Pipette | Self made |  | The chamber were the droplet is trapped was specially made for this setup
AC/DC Power supply | Keithley Instruments, Inc. | 2380-500-30 | A power supply to generate the electric field (0V - 500V DC)
Power Distribution Unit | APC | AP7900 | A PDU to remotelly connect the lab instrumentation

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=