There are numerous scatterer grammatical and typographical errors. Please thoroughly review the manuscript and edit any errors.
We have thoroughly reviewed the manuscript and corrected the typos and errors, hoping not to have overlooked any of them.
References? (l. 66)
Added (Proctor et al. 2007).
References? (l. 120)
Added (Bowker 2007, Elbert et al. 2012).
References? (l. 122)
Added (Fontaneto & Hortal 2012).
This section fits better in the introduction due to JoVE’s style requirements.
Actually, this section is the last part of the introduction. We wrote a general, more biological first part of the introduction to put into context the need and usefulness of this datalogger, and a second part focused on the design of the datalogger.
Please remove or replace (with “microcontroller”) the recurring instances of the comercial name. 1 instance is okay in the introduction.
We initially kept the Arduino name in the text because one of the main strengths of this datalogger is that it is design in an open-source environment. However, according to your suggestions, we have replaced it by “microcontroller” in the following instances in the text.
The citation should be added to the reference list and cited using a superscripted number.
Done.
The citation should be added to the reference list and cited using a superscripted number, in the order of appearance.
Done.
This information includes overt comercial names, this sentence can be moved to the table of materials instead.
We have rewritten this sentence to avoid the use of comercial names.
A circuit diagram would be useful here. If this is published elsewhere please cite a reference here.
We have referenced a circuit diagram in the text.
To what length?
Depending on each component’s size, the pin header strips will have different lengths.
BTM data logger board or Arduino? 
It is the Arduino microcontroller, we have changed it in the text.
Table of material?
It is the table of materials, we have corrected it in the text.
Not defined so far.
We have replaced it with microcontroller.
Add to the table of materials.
Done.
Use superscripted citation number and moe this to the reference list.
Done.
This statement should be moved into the table of materials.
We have moved it to the table of materials.
Use superscripted citation number and moe this to the reference list.
Done.
Use superscripted citation number and moe this to the reference list.
Done.
Highlighted for continuity and because it is referenced in section 4.
Ok.
Where is this measured?
As it is seen in figure 3, in the calibration process the measurements reach a maximum at some point, which corresponds to the maximum  conductance values.
Please describe what is done to start the measurements.
The only required actions is to turn on the datalogger. We have added a specification in the text to make this detail more patent. 
Gel?
It was gel, we have corrected it in the text.
Example?
We have added an example in the text.
What is the moss weight or volumen?
It is the quantity of water added, a volume (0.1 mL).
There are no panels a and b on fig 4. The description does not match what is shown in fig 4 and its legend. It likley should be fig 6. Please list all figures in the order that they are referenced.
As noted, it was fig. 6 (now figure 5). We have corrected the reference in the text and renumbered the figures to list them in the correct order.
No labels on fig 5 and the ordering is incorect, e.g. the bottom panel shows precipitation.
We have corrected the numbering of the panels, and have added labels in the y axis.
Needs superscripted citation.
Although it may seem confusing, the citation is not needed, since Syntrichia ruralis (Hedw.) F. Weber & D. Mohr is the right way of citing the name of this species according to botanical nomenclature rules (International Code of Nomenclature for algae, fungi and plants, ICN, https://www.iapt-taxon.org/nomen/main.php).
I cannot understand this statement. Please revise. The patterns follow precipitation but are not similar to it.
We have rewritten these sentences to make them easier to understand.
Please expand the legend to adequately describe the figures/table. Each figure or table must have an accompanying legend including a short title, followed by a short description of each panel and/or a general description. (Fig. 1)
Done.
Please expand the legend to adequately describe the figures/table. Each figure or table must have an accompanying legend including a short title, followed by a short description of each panel and/or a general description. (Fig. 2)
Done.
Please expand the legend to adequately describe the figures/table. Each figure or table must have an accompanying legend including a short title, followed by a short description of each panel and/or a general description. (Fig. 4)
Done.
Define error bars.
Corrected. 
Please avoid the use of bullet points in this section.
Corrected in the text.
Citation number?
Added.
