- Only the protocol section have to be under 10 pages and the highlighted section which will be the part of the video needs to be 2.75 pages in length. This limit is not meant for the entire manuscript.

Ansewer) OK.

- Jove does allow the use of graphical user interface, button clicks etc without naming the trademark or copyrighted name of the software. E.g.,

To perform numerical analysis using a commercial software (listed in the Table of Materials), click Enter, then click Analysis.

Answer) we revised the Protocol. The setting of the numerical analysis software is limited in video production. I moved it to introduction.

- How do you do this?

Answer) we revised the Protocol. The setting of the numerical analysis software is limited in video production. I moved it to introduction.

- Please include how? e.g. manually adjust the differential pressure knob to keep the differential pressure to -100Pa.

Answer) we revised the Protocol. The setting of the numerical analysis software is limited in video production. I moved it to introduction.

- Manually set the inflow rate?

Answer) we revised the Protocol.

- What is being done in the mixing chamber. Please provide hard/discrete experimental steps for filming.

Answer) The mixing chamber is integral with the chamber. The only role for the mixing.

- Do you add NaCl to the atomizer before? Please detail these part as well.

Answer) I mentioned in line 188. Note: Use a 0.1%wt NaCl solution to generate the NaCl nanoparticles.

- Supply how?

Answer) we revised the Protocol.

- How do you visually figure this out… please include a one liner note for this.

Answer) we added to the Reference.

- Measure what and how? Please write all details to make the sentence full proof.

Answer) we revised the Protocol.

- There is no B. Please just put the step number : e.g. according to step 1.1.2

Answer) we revised the Protocol.

- Measure what and how?

Answer) we revised the Protocol.

- Please just mention the step number – no need of detailing the step.

Answer) we revised the Protocol.

- Again measure what and how?

Answer) we revised the Protocol.

- Please reword the representative result in a way it corroborates the protocol detailed above. ..the numerical analysis part is not described. However the entire result is based on this.

Answer) we revised the Representative Results.

- As we are a methods journal, please revise the Discussion to explicitly cover the following in detail in 3-6 paragraphs with citations:

- Critical steps within the protocol

Answer) in Line 373 ~ 377

- Any modifications and troubleshooting of the technique

Answer) none

- Any limitations of the technique

Answer) in Line 363 ~ 365

- The significance with respect to existing methods

Answer) in Line 373 ~ 377

e) Any future applications of the technique

Answer) in Line 365 ~ 367