## Tables
Table 2
Acquisition parameters
Sensitivity (%) | 85
Shutter | 70
Min. Brightness | 20
Max. Size (nm) | 500
Min. Size (nm) | 20
Polarity | Negative
Voltage | Off
Particle drift at 0 V (µm/s) | < 5
Positions | 11
Cycles | 10
Multiple acquisitions | 3-5
Time delay (min) | 0