# Submission ID #: 58745

# Scriptwriter Name: Michael Linnes

# Project Page Link: http://www.jove.com/files_upload.php?src=17917273

# Title:  An Unbiased Approach of Sampling TEM Sections in Neuroscience

# Authors and Affiliations:  Stefan Wernitznig1, Florian Reichmann2, Mariella Sele1, Christoph Birkl3, Johannes Haybäck4,5, Florian Kleinegger4, Anna Birkl-Töglhofer4, Stefanie Krassnig4, Christina Wodlej4, Peter Holzer2, Daniel Kummer1, Elisabeth Bock1, Gerd Leitinger1

1Department of Cell Biology, Histology and Embryology, Gottfried Schatz Research Center, Medical University of Graz, Graz, Austria 2Department of Pharmacology, Otto Loewi Research Center, Medical University of Graz, Graz, Austria 3Division of Neurogeriatrics, Department of Neurology, Medical University of Graz, Graz, Austria 4Institute of Pathology, Medical University of Graz, Graz, Austria 5Department of Pathology, Medical Faculty, Otto von Guericke University Magdeburg, Magdeburg, Germany

# Corresponding Author:

Gerd Leitinger

# gerd.leitinger@medunigraz.at

# Email addresses for Co-authors:

# florian.reichmann@medunigraz.at

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) N

2. Does your protocol include software usage? (Y/N) Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

3.1.1

3.1.2

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

To recognise the structures to be quantified. 4.2.1

5. Will the filming need to take place in multiple locations? (Y/N) N

# Section - Introduction

- REQUIRED Interview Statements:

# Why is your protocol significant? OR What key questions can this method help answer?

  - Gerd Leitinger: An unbiased sampling protocol is vital for electron microscopy, if you would like to quantify the numerical density of synapses or other structures in a certain brain area.

# What is the main advantage of this technique?

  - Gerd Leitinger: The main advantage of this technique is that it is unbiased and enables to automatically produce electron micrographs with minimal user intervention.

OPTIONAL Interview Statements:

# Are there any specific areas of research that this method could provide insight into?

  - Mariella Sele: This technique is also valuable in other research areas such as neuroscience where it can be used in assessing the strength of a neuronal network.

# How would you expect an individual who has never performed this technique to struggle?

  - Mariella Sele: In order to apply our protocol it is necessary to have experience in electron microscopic techniques such as sample preparation and operating a transmission electron microscope.

# Introduction of Demonstrator:

  - Gerd Leitinger: Demonstrating the procedure will be Dr. Stefan Wernitznig, a post doc from my laboratory.

    - Interview style: Author saying the above

    - The named post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Section - Protocol

- TEM Preparation – Embedding, Ultra-Thin Sectioning and Staining

  - This protocol consists of preparing brain samples for electron microscopy, cutting pairs of thin sections. [1] Next, it will describe how to automatically produce a defined number of electron micrographs in an area of interest. [2] Then, it will use a counting frame to assess the numerical density of structural features.[3]

    - LABMEDIA: Figure 1a

    - LABMEDIA: Figure 1b

    - LABMEDIA: Figure 1c

  - To begin, dissect, fix, post-fix, and embed samples of interest into embedding resin by following along with the accompanying text protocol. [1] Then, place the sample onto an ultramicrotome and produce 55 nm ultra-thin serial sections. [2]

    - MED: Talent works with sample, embedding it

    - CU: Show microtomy

  - Place the sections onto a slot grid with a 1 millimeter by 2 millimeter grid pattern, coated with pioloform. [1]

    - ECU: Talent places section onto grid

  - Then, counterstain the ultra-thin sections on the slot grids using 2% uranyl acetate for 30 minutes [1] followed by lead citrate for 30 seconds at room temperature. [2]

    - CU: Talent places drop of stain on parafilm (exchange for any other method used)

    - ECU: Talent places grid onto drop of stain

- Imaging of Corresponding ROIs on the Reference and Look-Up Sections on TEM with Software Packages

  - Place the grid into the TEM [1] and examine the sections on the grid with the TEM using a low magnification to orient and evaluate the quality of the sections. [2]

    - MED: Talent inserts grid into the TEM

    - MED Over the Shoulder: Talent examines low-mag images

    - [Added Shot]: SCREEN: sections in low magnification (Editor: This shot could likely be shown along with 3.1.2, either as an inlay or split-screen)

  - Then, start the TEM Serial Section software, select Section, and choose Insert to add the corner points for the reference and look-up section. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - Follow the instructions of the pop-up window. Start with the reference section and then continue with the look-up section. Make sure that the edges of the section are parallel to the next section as points 1 and 2 are entered. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - Next, visualize the reference section under low magnification to identify the region of interest and move the microscope stage using TEM image analysis on the reference section to multiple corner points of the ROI to create an outline of the ROI. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - Record the coordinates of the resulting polygon using random point sampling software. For this, press Add coordinates in the dialog box of the random point sampling software at each point of the polygon that is needed to outline the ROI in the section. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - Next, define and enter a suitable size for the sampling areas and distances between the areas into random point sampling software. Then, press Calculate Raster to generate coordinates in a systematic uniform random fashion for the micrograph’s positions within the polygon. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

    - [Added Shot]: SCREEN: visualization of the region of interest and the montage sampling areas {Comment: could be shown as additional screen} (Editor: I’m not sure exactly when this is supposed to take place because the scriptwriter did not properly shotlist these actions. The authors may need to provide additional clarification)

  - Store the sampling points on the reference and look-up sections using the random point sampling software and the TEM Serial Section software. These are the coordinates of the montages which are recorded afterwards. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page. [Shots 3.7.1 and 3.8.1 combined] {Comment: Screen capture for 3.7.1 and 3.8.1 in one screen capture. Described procedure repeats after 0:56}

  - In the random point sampling software, press Go to next position to move the microscope stage to x/y coordinates of each sampling area in the reference section. Then, select Location /and choose Insert to import these coordinates in the TEM Serial Section software in the reference section. Repeat this for all coordinates. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - To mirror the coordinates from the reference section onto the look-up section, select Section and choose Go to Section. Enter the number of the look-up section in the dialog window.  [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - For the recording of the montages, switch between the reference and look-up section as described before and change the position on the reference section with Location and Go to Number. Choose the next coordinate in the dialog window. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - For the SerialEM montages at each sampling coordinate, go to File and choose New Montage from the drop-down menu. Select the right number of tiles and percentage of overlap in the dialog window. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - Stefan Wernitznig: “For the present study, a magnification of 5000 is sufficient to recognize the synaptic features under study, but the limited field of view of the CCD camera required making montages of 2 x 2 images. The montages are made with the SerialEM” [1]

    - INTERVIEW: Author says the statement above in an interview-style shot, looking slightly off-camera.

  - Before recording each montage, readjust the focus… [1] or activate the autofocus option in the recording software. Choose the folder to save the montage file and start the recording of the montage by pressing Start in the montage submenu on the left in SerialEM. [2]

    - MED: Talent adjusts focus manually

    - SCREEN: To be provided by the authors – Talent activates autofocus, then chooses the save folder and begins recording. Authors, please upload this screen capture to your project page.

- Analyze the TEM images with ImageJ to Document Ultrastructural Features.

  - Start the macro Dissector and define the size of the counting frame and the number of segments as needed. [1-TXT]

    - SCREEN: To be provided by the authors – Talent performs the above step in the order listed. Authors, please upload this screen capture to your project page. TEXT: See text protocol for installation instructions

  - Count the synapse density using the Dissector macro. Using the Multipoint Tool located in the Toolbar, omit those synapses that intersect with the two ‘forbidden lines’ of the dissector; but do count synapses on the opposite ‘acceptance lines’. Mark every synapse within the counting frame that is visible in the reference section, but not visible in the lookup section with an oval selection. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page. {Comment: Third sentence refers to video position 1:19 – 1:29}

  - For measuring synapse parameters, select only the synapses with a synaptic cleft oriented in cross section which is on the reference section.  This should be within the same image frames used for the dissector. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - Next, go to Plugins and then to Analyze and start the plugin ObjectJ from the drop-down menu. Open a new project from the ObjectJ drop-down dialog. This will open a window that allows the user to outline and mark structures with the Marker Tool. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page. [Shots 4.4.1 and 4.5.1 combined] {Comment: Screen capture for 4.4.1 and 4.5.1 in one screen capture. 4.5.1 starts at 0:48}

  - First, use the marker tool to measure the length of the presynaptic membrane and postsynaptic density length by drawing a line along the structure. Then, obtain the mean width of the synaptic cleft by drawing a polygon covering both the pre- and postsynaptic membrane. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

    - [Added Shot]: SCREEN: additional measured synapse {Comment: could be shown as additional screen} (Editor: Not sure when this should be shown, if at all)

  - To determine the number of docked vesicles, count all vesicles that have a maximum distance from the presynaptic membrane of one vesicle diameter or less. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

    - [Added Shot]: SCREEN: additional measured synapse {Comment: could be shown as additional screen} (Editor: Not sure when this should be shown, if at all)

  - Then, determine the number of undocked vesicles, by counting the vesicles with a maximum distance of one vesicle diameter from docked or other undocked vesicles at the same synapse. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

    - [Added Shot]: SCREEN: additional measured synapse {Comment: could be shown as additional screen} (Editor: Not sure when this should be shown, if at all)

- Using SerialEM Script to Optimize Elemental Analysis in Brain Samples in Combination with DigitalMicrograph

  - An adapted version of the protocol allows elemental analyses at unbiasedly obtained locations within the thin section. For this, in TEM imaging mode, start SerialEM and open a new project.  Then, open the navigator and check the settings for the camera in Camera & Script Controls for VIEW and RECORD and start VIEW. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - To make a corner map of the ultra-thin section, choose Add points in the Navigator window.  Then, set the corner points at the edges of an ultra-thin section. Move the stage to a corner point by holding down the right-mouse-key. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - When a corner of the section is reached, add a corner point with left-mouse-click. Repeat the procedure to add 3 more corner points. Make sure that in the navigator window the box C for corner points is ticked for the stored points. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - To start the corner montage, go to Navigator in the SerialEM menu-bar and choose Montaging & Grids and Setup Corner Montage from the drop-down menu. Choose Add Polygon in the navigator window and outline the region of interest with multiple right-mouse-clicks. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - Next, choose Add grid of points in the navigator drop-down menu and define a distance between the points. Start the EFTEMSerialEM script and follow the script commands and enter the number of grid points as shown in the navigator and enter the number of acquisition points. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - Then, set the illumination threshold so that the script can avoid grid bars. Follow the script commands and move the stage manually to cover the field of view by one quarter with a grid-bar. According to the displayed value, enter a threshold illumination value that is higher than the value displayed. [1]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page.

  - Wait until the points for acquisition are selected and the cooking routine is finished. This takes a long time and can be done overnight  [1-TXT]. After setting up for energy filtered TEM elemental analysis, acquire an elemental map with element specific settings. [2]

    - SCREEN: To be provided by the authors – Talent performs the above steps in the order listed. Authors, please upload this screen capture to your project page. TEXT: See text protocol for setup details {Comment: speed up if needed; 8:38 start of cooking routine}

    - [Added Shot]: SCREEN: elemental analysis {Comment: vital timeframes in the video are: 4:08 - 4:26, 5:58 - 6:02, 6:46 - 6:50, 7:32 - 8:47. The rest can be omitted}

# Section – Results

- Results: Unbiased Approach of Sampling TEM Sections

  - The unbiased sampling approach is useful for counting and analyzing synaptic features in specific brain regions. [1]

    - LABMEDIA: Figure 2b

  - Additionally, the EFTEMSerialEM script for the SerialEM software allows one to randomly choose the points of acquisition from within a whole ultrathin section, with the aim of obtaining an energy filtered electron micrograph at each of these points. [1]

    - LABMEDIA: Figure 3a

  - The script randomly selected a number of points predefined by the user from those marked with a grating. By producing a test micrograph and checking its gray levels, the script checked if the chosen points were located on a visible part of the section, rejecting the points that landed on grid bars. [1]

    - LABMEDIA: Figure 3b - Video Editor: Highlight the grey areas with the words “located on a visible part of the section” and the black lines with the words “rejecting the points that landed on grid bars”

  - Most of the workflow was handled by the script with minimal interaction of the user. However, with the sample shown here, [1] there was too little light for the autofocus routine of SerialEM. [2]

    - LABMEDIA: Figure 4a

    - LABMEDIA: Figure 4b - Video Editor: Expand Figure 4b from the box in Figure 4a

  - Therefore, as soon as the script moved the stage to each point, the focus was adjusted hand,[1] and an elemental map was made of iron.[2]

    - LABMEDIA: Figure 4b-c  - Video Editor: Fade from Figure 4b to Figure 4c with the 2nd part of the sentence

    - LABMEDIA: Figure 4d

# Section - Conclusion

- Conclusion Interview Statements:

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Gerd Leitinger: (Step: 3.4-3.6). It is important to carefully select the region of interest and to ensure the same number of sampling points falls into each area of interest.

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take.

  - Gerd Leitinger: Do not forget that many of the chemicals used for specimen preparation are toxic.  Wear a lab coat and protective gloves and work under a fume hood when required.