## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Cy5-labled 16- / 18-bp DNA-oligomers | Eurofins |  | Custom synthesis
16- / 18-bp DNA-oligomers | Eurofins |  | Custom synthesis
Nile Blue A | Sigma | N5632-25G
Sensoplate plus microplate 96- or 384-well, PS | Greiner | 655891 | 175 µm thick glass bottom
384 Well Sensoplate, black | Greiner | 788896
Agarose, low gelling temperature | Sigma | A9414-50G
Sodium Chloride | Merck | 1.06404.1000
Tween-20 | Sigma | P1379-1L
Di-Potassium hydrogen phosphate trihydrate | Merck | 1.05099.1000
Potassium dihydrogen phosphate | Merck | 1.04873.1000
Q-POD Element | Merck Millipore | ZMQSP0DE1
Millipak 40 Gamma Gold Filter | Merck Millipore | MPGL04GK2
Milli-Q Integral 3 Water Purification System | Merck Millipore | ZRXQ003WW
Quantum TIX | Merck Millipore | QTUMOTIX1
DL-Dithiothreitol | Sigma | 43815-1G
Mastercycler gradient | Eppendorf | Z316083
SafeSeal tube 1.5 mL | Sarstedt | 72.706.200
Tube 15 mL | Sarstedt | 62.554.502
Multiply-Pro cup 0.2 mL PP | Sarstedt | 72.737.002
MICROSCOPY SETUP:
Automated widefield microscope | LEICA | DMI6000
Long distance objective | LEICA | HCX PL FLUOAR L 60x/0.60 N.A. Dry
638 nm line continuous diode laser | Omicron | PHOxX 638-40, 40mW
Back-illuminated EM-CCD Camera | Andor | iXon DV897
Dichroic mirror | AHF | 640nm cut-off
Bandpass filter | AHF | ET bandpass 700/75
Linear polarizer | Thorlabs | LPVISC050-MP2
Polarizing beam splitter | Thorlabs | BS010
Achromatic lens | Thorlabs | 200 mm focal length
Multimode optical fiber | Optronis | FVP600660710
ROBOTIC SYSTEM:
Our robotic system includes a Biomek NXP workstations with a 96-channel head and with Span-8 pipettors, connected with a servo-shuttle, are used for all liquid transfer steps. In addition, the system is equipped with orbital shakers and a microplate reader (Paradigm, Molecular device) served by the Span-8 gripper | Beckman Coulter | Biomek NXP
SOFTWARE:
Programming language | National Instruments | Labview 9.0
Script for the HiP-FA software available at |  |  | https://github.com/GeneCenterMunich/HiP-FA