## Sheet1
Name of Equipment / Material | Company | Suggested Catalog number / Models
upright microscope with large working volume | Thorlabs | CERNA
| Scientifica | SliceScope
optomechanical components | Thorlabs | n/a
needle hydrophone | ONDA Corporation | HNP/C/R/A/T series + AH/G pre-amplifier
| Precision Acoustics | n/a
fiber optic hydrophone | ONDA Corporation | HFO series
| Precision Acoustics | n/a
oscilloscope | Keysight Technology | DSOX2004A (4-channels 70MHz)
function generator | Keysight Technology | 33500B (20MHz single-channel)
RF power amplifier | Electronic Navigation Industries (ENI) | 325LA, 525LA, 240L, 350L, A075, 2100L, 3100LA
Electronics & Innovation (E&I)
immersion ultrasound transducer | Olympus | focused immersion transdcuers
| Benthowave Instrument | HiFu transducer BII-76 series
| Precision Acoustics | Piezo-ceramic or HiFu transducers
| Ultrasonic-S-lab | HiFu transducers made to order
high-density Matrigel | Corning | VWR 80094-330
Mylar film 2.5 microns | Chemplex | CAT.NO:107