
Submission ID #: 58785
Editor Name: Bridget Colvin
Videographer Name:

Film Date: 

Submission Link: http://www.jove.com/files_upload.php?src=17929473
Authors & Affiliations: Pierre Dillard*, Hakan Köksal*, Else-Marit Inderberg, and Sébastien Wälchli
*These Authors contributed equally to the work
Department of Cellular Therapy, Department of Oncology, Oslo University Hospital-Radiumhospitalet
Title: A Spheroid Killing Assay by CAR T Cells

Corresponding Author:
Sébastien Wälchli

sebastw@rr-research.no 

Co-authors: pierre.dillard@rr-research.no, hakan.koksal@rr-research.no, suso.else.marit.inderberg@rr-research.no 
Authors, please fill out the unanswered questions below.  
A. Microscopy: Does your protocol require JoVE to film through your microscope? N
B. Does your protocol include software usage? Y 
If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

C. Which steps of from the protocol section below will viewers benefit most from having filmed? Please list 4-6 individual steps using the step numbers listed in this document. (You do not need to include steps that will be screen captured. Please do not list entire sections.) 2.14, 3.1, 4.3, 4.8, 4.10
Authors, please answer this question with the steps listed here in the protocol section for use by the videographer.

D. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) 
2.4 the number of starting tumor cells is crucial.
4.4 to 4.6, the analysis requires time and rigor to obtain the best ratio between sensitivity and specificity.
Authors, please answer this question with the steps listed here in the protocol section for use by the videographer.

E. Will the filming need to take place in multiple locations? N (Y? do we move everything to the common cell lab (perfectly feasible))
1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the significance of your method to the viewer. Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words. 
A.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)  

Authors: Below are statements we would like you to complete that provide additional information about the significance of your protocol. You may revise the given prompts as necessary to improve the sentence flow.

Please complete the following two statements and indicate the name of the author who will give the statement. If only one author is giving interview statements, the same author may speak both statements. Please restrict the length of each statement to no more than 30 words.

1.1. Sebastien/Hakan: This method can help answer key questions in the immunotherapy field, such as the assessment of immune cells cytotoxicity against 3D structured tumor cells. 
1.2. Else Marit/Pierre: The main advantage of this technique is that It is straight-forward and combine advanced imaging techniques and sensitive immunological assay.    
B.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)  

Authors: The following statements may be spoken by additional authors if desired. These statements must be completed by different authors than those who gave the required statements, and no more than one statement can be spoken by each additional author. Please restrict the length of each statement to no more than 30 words. You may revise the given prompts as necessary to better fit your protocol, but please remember that the total introduction length cannot exceed 150 words. 

1.3. Author Name: The implications of this technique extend toward therapy (or diagnosis) of_______, because ________.  

1.4. Author Name: Though this method can provide insight into ____________, it can also be applied to other systems (model organisms, studies of disease, organ systems), such as ____________.

1.5. Author Name: Generally, individuals new to this method will struggle because ______________.

1.6. Author Name: Visual demonstration of this method is critical as the ______________ steps are difficult to learn, because _______________.   

C. Introduction of Demonstrator: (Said by you on camera. Don’t forget to smile!)
Authors: If any individuals will be doing demonstrations on camera but are not assigned a speaking part in the introduction section, please use statement 1.7. to introduce these individuals (for example, the PI introduces a student not speaking on camera). Please use this statement ONLY if the demonstrator has not given an interview statement and limit the statement to no more than 30 words.
1.7. ** Author Name: Demonstrating the procedure will be NAME, a (technician, post doc, grad student) from my laboratory. (Add additional mention of demonstrators as necessary). 
1.7.1. Interview style: Author saying the above 

1.7.2. The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.
*Note to the Authors: Goal and interview statements will be edited to conform to the specified number and length restrictions. I am happy to help if you have any questions.
D. Ethics title card: (for human subjects or animal work, does not count toward word length total)
1.8. Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at (insert Institutional Name).
OR
Procedures involving human subjects have been approved by the Institutional Review Board (IRB) or equivalent body at (insert Institutional Name).
Protocol
: (read by voice talent at JoVE)
Authors: To ensure that your protocol can be filmed in a single day, the protocol text must be limited to 30 steps (marked with two-digit numbers, e.g. 2.1., 2.2.) and/or 60 "shots" (designated by a three-digit number, e.g. 2.1.1, 2.2.2). The scope of the scripted protocol text should include only those aspects of the procedure that require visualization to be well understood.     
2. Colorectal Cancer Cell Line Spheroid Generation
2.1. Begin by washing the colorectal cancer cell line of interest with 5 mL of PBS [1-WIDE-TXT] and removing the cells from the flask bottom with 0.5 mL of trypsin for 5 minutes at 37 °C [2-MED-TXT].

2.1.1. Talent adding PBS to 25 cm2 flask, with PBS container visible in frame (TEXT: e.g. here HCT 116 cells stably-transduced for CD19 + GFP expression are used)

2.1.2. Talent adding trypsin to flask, with trypsin container visible in frame (TEXT: See text for 75 cm2 flask culture manipulation details)

2.2. Confirm cell detachment under a microscope [1-MED] and neutralize the cell dissociation enzyme with 10 mL of complete medium [2-CU-TXT].
2.2.1. Talent at microscope, looking at flask
2.2.2. Medium being added to cells, with medium container label visible in frame (TEXT: See text for all medium/reagent preparation details)
2.3. Collect the cells by centrifugation [1-MED-TXT] and resuspend the pellet in 5 mL of fresh complete medium [2-CU].
2.3.1. Talent adding tube(s) to centrifuge (TEXT: 5 min, 500 x g, Room temperature)
2.3.2. Shot of pellet if visible, then medium being added to cells, with medium container label visible in frame
2.4. After counting, resuspend the cells at a 5 x 103 cells/mL concentration [1-MED] and seed 200 microliters of cells into each well of a 96-well round bottom plate [2-MED-over the shoulder].

2.4.1. Talent adding medium to cells, with medium container label visible in frame

2.4.2. Talent adding cells to well(s), with cell container visible in frame

2.5. Then place the plate in an automated imaging apparatus inside a 37 °C-incubator with 5% CO2 and a 95% humidity [1-MED].
2.5.1. Talent placing plate into imager
2.6. Log into the acquisition software of the apparatus [1-MED-over the shoulder], select “Schedule To Acquire”, “Launch Add Vessel”, “Scan On Schedule”, and “Create Vessel – New” [2-SCREEN]. 
2.6.1. Talent logging into software, with monitor visible in frame

2.6.2. *To be provided by Authors: Schedule To Acquire, Launch Add Vessel, Scan On Schedule, and Create Vessel – New being selected
2.7. Next, select “Scan Type – Spheroid” and select the appropriate brightfield and fluorescence channels of interest [1-SCREEN].

2.7.1.  *To be provided by Authors: Scan Type – Spheroid being selected, then at least on channel being selected
2.8. Set the magnification to 10x and select the plate model and its position within the imaging apparatus drawer [1-SCREEN]. 
2.8.1. *To be provided by Authors: Magnification being set, then plate model and position being selected

2.9. Select the position of the wells to be imaged and enter the description of the experiment, including the name, type of cells, number of cells [1-SCREEN].
2.9.1. *To be provided by Authors: Well position(s) being selected, then description being entered 

2.10. For the analysis setup, select “Defer Analysis Until Later”, right click on the timeline and select “Set Selected Scan Group Interval” and set “Add scans every” to 4 hours and “For a total of” to 24 hours [1-SCREEN].
2.10.1.  *To be provided by Authors: Defer Analysis Until Later being selected, Set Selected Scan Group Interval being selected, then Add scans every being set to 4 hours and For a total of being set to 24 hours

2.11. Then set the starting time to at least 1 hour after the incubation in the automated imaging apparatus [1-SCREEN].
2.11.1.  *To be provided by Authors: Starting time being set
2.12. To check the spheroid growth progress, every two days, log into the imaging software [1-MED-over the shoulder] and select “View Recent Scans” [2-SCREEN].
2.12.1.  Talent at computer, logging into software, with monitor visible in frame

2.12.2.  *To be provided by Authors: View Recent Scans being selected
2.13. Double-click on the experiment of interest and select “Brightfield” in the image channels panel [1-SCREEN].

2.13.1.  *To be provided by Authors: Experiment being double-clicked, then Brightfield being selected

2.14. Then use the “Measure image features” tool to measure the diameter of the spheroids [1-SCREEN-TXT], adding 50 microliters of complete medium per well at day 4 to limit any medium evaporation effects [2-CU].
2.14.1.  *To be provided by Authors: Spheroid(s) being measured (TEXT: 0.5-mm spheroids form ≥6 d)
2.14.2. Medium being added to well(s), with medium container label visible in frame

3. 3D Tumor Spheroid Killing Assay

3.1. When the spheroids reach the appropriate experimental size, carefully angle the plate [1-WIDE] and use a multichannel pipette to gently remove 150 microliters of complete medium from each well without disturbing the spheroids [2-CU].
3.1.1. Talent angling plate

3.1.2. Medium being removed

3.2. Next, replace the discarded medium with 50 microliters of a 1:200 solution of Annexin V red [1-MED] and place the plate in a cell culture incubator for 15 minutes [2-CU].

3.2.1. Talent adding dye to well(s), with stock dye container visible in frame

3.2.2. Plate being placed into incubator

3.3. Centrifuge the transduced CAR 

CD19 T cells in a 15-mL conical tube [1-MED-TXT] and resuspend the pellet in 2 mL of complete medium [2-CU].
3.3.1. Talent adding tube(s) to centrifuge (TEXT: See text for CAR CD19 T cell preparation details)

3.3.2. Shot of pellet if visible, then cells being resuspended in medium, with medium container label visible in frame
3.4. After counting, dilute the cells to a 2x105 cells/mL of complete medium concentration [1-MED] and add the cells to a sterile reservoir [2-CU].

3.4.1. Talent adding medium to tube, with medium container visible in frame

3.4.2. Cells being added to reservoir

3.5. Then add 100 microliters of CAR CD19 T cells to each spheroid-containing well [1-MED-over the shoulder] and place the plate back into the

 automated imaging apparatus [2-CU].

3.5.1. Talent adding T cells to well(s)

3.5.2. Plate being placed into apparatus

3.6. In the acquisition software, select “Schedule To Acquire” and right click on the “Scan” time line [1-SCREEN].
3.6.1. *To be provided by Authors: Schedule to Acquire being selected, the Scan being clicked
3.7. Select “Edit Timeline” and right-click on the scan group to delete it [1-SCREEN].
3.7.1. *To be provided by Authors: Edit Timeline being selected, then scan group being right clicked and deleted
3.8. Right-click on the timeline again and select “Set Selected Scan Group Interval” and set “Add scans every” to 1.5 hours and “For a total of” to 24 hours [1-SCREEN].
3.8.1. *To be provided by Authors: Timeline being right clicked, then Set Selected Scan Group Interval being selected, then Add scans every being set to 1.5 hours and “For a total of” being set to 24 hours
3.9. Then set the imaging start time to at least 1hour after incubation in the automated imaging apparatus and select “Save schedule scans” [1-SCREEN].
3.9.1. *To be provided by Authors: Starting time being set, then Save schedule scans being selected
4. Automated Image Analysis

4.1. For automated image analysis, in the scan software [1-WIDE], select “View Recent Scans” and select “Launch Analysis” [2-SCREEN].
4.1.1. Talent at computer, selecting View Recent Scans, with monitor visible in frame

4.1.2. *To be provided by Authors: View Recent Scans and Launch Analysis being selected
4.2. Select “Create New Analysis Definition” and “Analysis Type – Spheroid” and set the Image channels to be analyze [1-SCREEN].
4.2.1. *To be provided by Authors: Create New Analysis Definition, Analysis Type – Spheroid, and Image channel(s) being set
4.3. Select at least 10 representative images and preview the default analyze procedure on the entire image stack [1-SCREEN-TXT].

4.3.1. *To be provided by Authors: Image(s) being selected (TEXT: 1 image/condition + ≥3 time points)
4.4. Modify the parameters for the brightfield mask and preview the image stack, confirming that the selected parameters detect the spheroids accurately [1-SCREEN-TXT].

4.4.1. *To be provided by Authors: Parameter(s) being set, then stack being previewed (TEXT: See text for all suggested image stack parameter setting details)
4.5. Modify the parameters for green mask and preview the image stack to confirm that the selected parameters detect the spheroids accurately [1-SCREEN].
4.5.1. *To be provided by Authors: Parameter(s) being set, then stack being previewed
4.6. Modify the parameters for red mask and preview the image stack to confirm that the selected parameters detect the spheroids accurately [1-SCREEN].
4.6.1. *To be provided by Authors: Parameter(s) being set, then stack being previewed
4.7. Then launch the analyzer [1-SCREEN].
4.7.1. *To be provided by Authors: Analysis being launched 

4.8. When the analysis is complete, extract the measurement of interest and select the analyzed file and the “Graph Metrics” option [1-SCREEN].
4.8.1. *To be provided by Authors: Measurement being extracted, file being selected, then Graph Metrics being selected

4.9. Select the metrics of interest, the scan and the well [1-SCREEN].
4.9.1. *To be provided by Authors: Metrics of interest, scan, and well being selected

4.10. Click “Export Data” to extract the selected metrics in several file formats [1-SCREEN].

4.10.1.  *To be provided by Authors: Export Data being selected, metrics being extracted

4.11. To extract the images, select the analyzed file and select “Export Images and Movies” [1-SCREEN-TXT].

4.11.1.  *To be provided by Authors: Analyzed file being selected and Export Images and Movies being selected (TEXT: Optional: Retrieve images “As Displayed” or “As Stored”)
OPTIONAL: Author Protocol Interviews: In this section, please submit a brief statement stressing the required technique for the single most critical step of the procedure. This will be an interview style shot, interjected into the appropriate point of the protocol section of the video. If there is no single critical step, then there is no need to fill this out. If there are two critical steps, please fill out two statements, but this is the maximum. Each statement, should be 40 words or less. Please specify who will speak these parts and which step(s) in the protocol the statement pertains to. Use the step numbers given above.
Pierre, Step 4.4 to 4.6: The analysis is the most crucial step. One need to achieve the best possible signal over noise and sensitivity over specificity ratios. Remember that you will never be able to find a set of parameters that will be able to capture every single events at every timepoint. 
Author name, Step      :   (write your 2nd optional statement here)  
5. Results
: Representative Spheroid Killing Analysis
5.1. CD19 CAR expression on transduced T cells [1-LM] and CD19 expression on transduced colorectal cancer cells can be confirmed by flow cytometry [2-LM].

5.1.1. Authors: please upload the graphs from Figure 1 through the submission link together in a new .ai or .psd file without the A or B labels: Video Editor: please emphasize peach peak in histogram

5.1.2. Figure 1: Video Editor: please emphasize cells in top right quadrant of right dot plot

5.2. Here the outcome of a typical spheroid experiment can be observed [1-LM].
5.2.1. Figure 2v2.png: no animation

5.3. Unlike Mock T cells, CD19 CAR T cells [1-LM] are able to specifically kill the colorectal cancer cell line-derived spheroids, greatly diminishing the number of live tumor cells [2-LM].
5.3.1. Authors: please upload the Tumor, Apoptosis and Composite Mock and CD19 CAR T cell images together in a new .ai or .psd file (without the Brightfield and Phase images) through the submission link: Video Editor: please emphasize Mock Composite images row
5.3.2. Figure 2 TAC: Video Editor: please emphasize CD19 CAR Composite images row

5.4. Tracking of the evolution of the total green and red signals within the spheroid boundaries over time reveals that shortly after CD19 CAR T cell injection [1-LM] the size of the spheroids shrinks quickly [2-LM] and the apoptosis signal increases quickly [3-LM].
5.4.1. Figure 3.png: no animation
5.4.2. Figure 3.png: Video Editor: please emphasize green data lines

5.4.3. Figure 3.png: Video Editor: please emphasize red data lines
RESULTS INSTRUCTIONS FOR AUTHORS:

Please ensure that the representative results narration is appropriate and correctly describes your images, movies, or figures. Our editors will ensure that the results are written in our format.  

We consider this section a critical aspect of the video, because here is where you provide validation for your experiments. For example, if this is a cell culture preparation, this section is where the video will show your cells at various time points following culturing. If this is an imaging prep, then this part is where you will show examples of your imaging experiments. 
Please limit the extent of narration to no more than 2-3 lines of text per image or movie file being described. The results section is limited to 200 words total. If your results section contains more than 3-4 figures, please choose the most important figures to illustrate your results. Figures with multiple panels submitted with the original protocol should be broken up so that each panel is a separate image. Each image or movie file supplied for the video results section should be referenced by its specific file name.
Below is an example of results text:

EXAMPLE REPRESENTATIVE RESULTS

5. Evaluation of Morpholino Injection and Knockdown

5.1  Representative results of both morpholino injection and mRNA injection are shown here. The  
    uninjected control at 48 hours post fertilization looks normal, as expected 

     45678_Figure1.tif (Replace 45678 with your Jove video number)

5.2  However, embryos injected with the morpholino heg_e3i3_egfr1, which knocks down Heg isoforms

           containing the first of two EGF-like repeats, exhibit brain edema.


     45678_Figure2.tif


5.3  Injection of heart of glass mRNA also produced an obvious phenotype. At 24 hours post fertilization, 

    the heads of the uninjected controls look normal 

    45678_ Figure3.tif

5.4  Conversely, some of the embryos injected with the mRNA exhibit cyclopia   

           45678_ Figure4.jpg

Please visit the following URL to see an example of how the results will look when complete:
http://www.jove.com/video/1597/results-example-mably?status=a3603k
6. Conclusion (said by authors on camera):
Authors: Below are statements we would like you to complete that summarize and conclude the video. Please choose the statement(s) you wish to conclude the video and indicate the name of the author who will give the statement. Please restrict the length of each statement to no more than 40 words. You may revise the given prompts as necessary to better fit your protocol.

6.1. Author Name: While attempting this procedure, it’s important to remember to ___________.

6.2. Hakan: Following this procedure, other methods like toxicity assays, cell migration assays, spheroids structuration measurements can be performed in order to answer additional questions regarding drug screening, T-cell motility or spheroids formation.
6.3. Author Name: After its development, this technique paved the way for researchers in the field of __________ to explore _____________ (subdivision of field, disease, natural phenomenon) in __________ (model organism, patient demographic, organ system).

6.4. Author Name: Don't forget that working with _____________ (reagent, pathogen, instrumentation) can be extremely hazardous and precautions such as ____________ should always be taken while performing this procedure.   

*Note to the Authors: Interview statements will be edited to conform to the length restrictions. I am happy to help if you have any questions.
Provided Media

Authors, please list all images, movie files, or 3-D rendered animations that are to be included in the video per editor’s request. The step in the script/video where the files will be inserted should be indicated before the file name (please do not name files with step number, as step numbers may change with revisions). For example:

3.1.1. Figure1.tif - dual color imaging of tumor angiogenesis at 40X 

3.1.2. Figure2.tif - dual color imaging of tumor angiogenesis at 100X

Formats: For static images, we prefer .tiff, .eps, Illustrator, PowerPoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi. The higher resolution, the better. Likewise, any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files. 
Insert the filenames of all the media to be included into the video here.
General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.  

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples. 
All tubes/flasks should be pre-labeled neatly before we arrive. 
Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions in the email accompanying the finalized script.

�Authors: Each section must contain a minimum of 5 steps, so some sections were combined.


�Authors: Do you say “car” or “C-A-R” or other?


�Car like the vehicle


�Authors: The wells already contain 200 microliters of medium + Annexin V, so there is not room for an additional 100 microliters of T cells.


�It is because in the course of 6 days, there is quite some medium evaporation. So when we introduce the Annexin there is never 200µL remaining. I changed the protocol to resolve this issue.


�Authors: The Results section is restricted to ~200 words of narrative. If you would like to highlight other data, please revise this section accordingly, keeping in mind the word count restriction. Please note that we cannot include narrative without an accompanying visual.





( 2018, Journal of Visualized Experiments


